# COMMISSION ACTION MATRIX – 45-DAY
accessibility (access) CODE ADVISORY COMMITTEE

## 2025 california building code, title 24, part 2
AGENCY: division of the state architect, DSA-AC 01/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
Chapter 2, definitions

Add and amend definitions listed below.

| DSA-AC 01/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 1-1 | EDUCATIONAL ENTITY IN RECEIPT OF PUBLIC FUNDS. | Disapprove | Disagree |  | Add new definition. CAC: 9 Point Criteria # 6 There was discussion about several potential concerns: what public funds are included, identifying specific grant programs, definition may be unnecessary, suggestion to mirror ADA language, may violate AB 130. After CAC: See ISOR for explanations. DSA revised the definition for greater clarity. |  |
| - 1-2 | HOUSING AT A PLACE OF EDUCATION | Approve | Accept |  | Propose to amend definition to provide pointer. After CAC: ISOR is revised. |  |

### ITEM 2
Chapter 2, definitions

Amend definition listed below.

| DSA-AC 01/25 ITEM 2 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 2-1 | PLACE OF PUBLIC ACCOMMODATION. | Approve | Accept |  | Amend item # 10 in the definition to include housing facilities provided by private schools and made available to students or employees. After CAC: ISOR is revised. |  |

### ITEM 3
Chapter 2, definitions

Amend definition listed below.

| DSA-AC 01/25 ITEM 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 3-1 | PUBLIC HOUSING. | Approve | Disagree |  | Amend existing language in item # 3 referencing social service center establishments. After CAC: See revised ET and ISOR. |  |
| - 3-2 | PUBLIC HOUSING. | Approve | Disagree |  | Delete existing language in item # 4 referencing transient lodging. Add Reserved. After CAC: See revised ET and ISOR. |  |
| - 3-3 | PUBLIC HOUSING. | Approve | Disagree |  | Add new item #6, including housing provided for employees, or employees and their families. After CAC: See revised ET and ISOR. |  |
| - 3-4 | PUBLIC HOUSING. | Further Study Required | Accept |  | Amend existing language in item # 5. CAC: 9 Point Criteria # 6 Discussion about possibility of other types of funding, may violate AB 130. After CAC: See revised ET and ISOR. |  |

### ITEM 4
Chapter 2, definitions

Add definition listed below.

| DSA-AC 01/25 ITEM 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 4-1 | SOCIAL SERVICE CENTER ESTABLISHMENT. | Further Study Required | Accept |  | Add new definition for Social Service Center Establishment. CAC: 9 Point Criteria # 6 Recommended to take out of 11B and move to Chapter 2 with all other definitions. After CAC: See revised ET and ISOR. |  |

### ITEM 4.1 [Added AFTER CAC]
Chapter 11B, ACCESSIBILITY TO PUBLIC BUILDINGS, PUBLIC ACCOMMODATIONS, COMMERCIAL BUILDINGS AND PUBLIC HOUSING, Section 11B-106.5

Amend section listed below.

| DSA-AC 01/25 ITEM 4.1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 4.1-1 | 11B-106.5 Defined Terms. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. DSA added this item to coordinate with proposals in Items 1-1 and 4-1. |  |

### ITEM 5
Chapter 11B, Section 11B-202.4

Amend section listed below.

| DSA-AC 01/25 ITEM 5 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 5-1 | 11B-202.4 Path of travel requirements in alterations, additions and structural repairs. | Approve | Disagree |  | In exception # 1, delete existing language and replace with new language referencing additions or alterations to public housing facilities. After CAC: See revised ET and ISOR. |  |

### ITEM 6
Chapter 11B, Section 11B-203.8 Residential facilities

Amend section listed below.

| DSA-AC 01/25 ITEM 6 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 6-1 | 11B-203.8 Residential facilities. | Further Study Required | Withdraw |  | Delete existing language and replace with new language for residential facilities. CAC: 9 Point Criteria # 1 Discussion about “equivalent” vs “same”. After CAC: DSA is proposing to relocate the requirements for common use areas in public housing facilities to Section 11B-233.2.2 (Item 16-1.4). |  |

### ITEM 7
Chapter 11B, Section 11B-205.1 General

Amend section listed below.

| DSA-AC 01/25 ITEM 7 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 7-1 | 11B-205.1 General. Exception 9 and Figure 11B-205.1 Ex. 9 | Further Study Required | Disagree |  | Delete exception # 9 and related figure. These are being relocated. CAC: 9 Point Criteria # 6 and 7 Discussion about where the 36” came from and should it maybe be 36” minimum After CAC: There are no changes in ET. See revised ISOR for explanation. |  |

### ITEM 8
Chapter 11B, SectionS 11B-206.2.1 and 11B-206.2.2

Amend sections listed below.

| DSA-AC 01/25 ITEM 8 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 8-1 | 11B-206.2.1 Site arrival points. | Disapprove | Withdraw |  | Amend exception # 2 to specify it is for non-residential facilities. CAC: 9 Point Criteria # 6 and AB 130 Recommended to look at 2010 ADA Standards and determine what is required for accessible route. After CAC: Similar item is now proposed in Section 11B-233.2.1. See Item 16-1.3. |  |
| - 8-2 | 11B-206.2.2 Within a site. | Approve | Withdraw |  | Amend the exception to specify it is for non-residential facilities. After CAC: Similar item is now proposed in Section 11B-233.2.1. See Item 16-1.3. |  |

### ITEM 9
Chapter 11B, Section 11B-206.2.3 Multistory buildings and facilities

Amend section listed below.

| DSA-AC 01/25 ITEM 9 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 9-1 | 11B-206.2.3 Multistory buildings and facilities. | Approve | Withdraw |  | Exception # 4 amend language to specify it applies to residential facilities that are required to comply with Section 11B-233. After CAC: Related item is now proposed in Section 11B-233.2.2. See Item 16-1.4. |  |

### ITEM 10
Chapter 11B, Section 11B-206.2.8 Employee work areas

Amend sections listed below.

| DSA-AC 01/25 ITEM 10 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 10-1 | 11B-206.2.8 Employee work areas. | Disapprove | Withdraw |  | Amend language to provide pointer existing language on common use areas and employee work areas. CAC: 9 Point Criteria # 6 Discussion questioning whether this is the right place for this amendment. |  |
| - 10-2 | Exception # 2 and 3 | Disapprove | Disagree |  | Amend language to specify it applies to facilities that are not public housing CAC: 9 Point Criteria # 4 and AB 130 It was suggested that this goes well beyond 2010 ADA Standards and is not necessary. After CAC: There are no changes in ET. See revised ISOR for explanation. |  |

### ITEM 11
Chapter 11B, Section 11B-214 Washing machines and clothes dryers

Amend sections listed below.

| DSA-AC 01/25 ITEM 11 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 11-1 | 11B-214.2 Washing machines. | Disapprove | Disagree |  | Add new exception for public housing facilities common use washing machines. CAC: 9 Point Criteria # 6 Discussion about it being hard to find accessible machines and also a need to consider clear floor space. Will increase the size of laundry rooms, comments on AB 130 compliance. After CAC: See revised ET and ISOR. Also see related Item 16-1.6. |  |
| - 11-2 | 11B-214.3 Clothes dryers. | Disapprove | Disagree |  | Add new exception for public housing facilities common use clothes dryers. CAC: 9 Point Criteria # 6 Discussion about it being hard to find accessible machines and also a need to consider clear floor space. Will increase the size of laundry rooms, comments on AB 130 compliance. After CAC: See revised ET and ISOR. Also see related Item 16-1.6. |  |

### ITEM 12
Chapter 11B, Section 11B-215.1 General

Amend section listed below.

| DSA-AC 01/25 ITEM 12 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 12-1 | 11B-215.1 General. | Approve | Withdraw |  | Amend language in the exception to specify it applies to facilities that are not public housing. After CAC: Substantially similar item is now proposed in Section 11B-233.2.3. See Item 16-1.5. |  |

### ITEM 13
Chapter 11B, Section 11B-223.2.3 On-call rooms

Amend section listed below.

| DSA-AC 01/25 ITEM 13 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 13-1 | 11B-223.2.3 On-call rooms. | Approve | Accept |  | Delete existing referenced sections and replace with a reference to 11B-805.2. |  |

### ITEM 13.1 [Added AFTER CAC]
Chapter 11B, SECTION 11B-224 TRANSIENT LODGING GUEST ROOMS

Amend section listed below.

| DSA-AC 01/25 ITEM 13.1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 13.1-1 | SECTION 11B-224 – TRANSIENT LODGING GUEST ROOMS, HOUSING AT A PLACE OF EDUCATION AND SOCIAL CENTER ESTABLISHMENT | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. DSA added this item to coordinate with proposals in Items 14-1 and 15-1. |  |

### ITEM 14
Chapter 11B, Section 11B-233.4 Housing at a place of education

Amend section listed below.

| DSA-AC 01/25 ITEM 14 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 14-1 | 11B-224.7 11B-233.4 Housing at a place of education. | Approve | Disagree |  | Amend language to update referenced sections and delete references to transient lodging. After CAC: DSA proposes to relocate the requirements for housing at a place of education to Section 11B-233.4, to align with other proposed items. See revised ET and ISOR. |  |
| - 14-1.1 | 11B-233.4.1 Housing at a place of education as public housing. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. |  |
| - 14-1.2 | 11B-233.4.1 Exception: | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. |  |
| - 14-1.3 | 11B-233.4.2 Housing provided by an educational entity that is not an educational entity in receipt of financial assistance. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. |  |
| - 14-1.4 | 11B-233.4.2 Exception | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. |  |
| - 14-1.5 | 11B-224.7.1 11B-233.4.3 Multibedroom housing units with mobility features. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. |  |
| - 14-1.6 | 11B-224.7.2 Accessible dwelling unit with adaptable features. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. |  |

### ITEM 15
Chapter 11B, Section 11B-233.5 Social service center establishments

Amend sections listed below.

| DSA-AC 01/25 ITEM 15 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 15-1 | 11B-224.8 11B-233.5 Social service center establishments. | Further Study Required | Accept |  | Delete references to group homes, halfway houses, shelters… and replace with new defined term “Social Service Center Establishments”. CAC: 9 Point Criteria # 1 and 6 Discussion about Transient Housing/Lodging After CAC: See revised ET and ISOR. |  |
| - 15-1.1 | 11B-224.8.1 11B-233.5.1 More than 25-bed sleeping rooms. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. |  |
| - 15-1.2 | 11B-224.8.2 11B-233.5.2 More than 50-bed facilities. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. |  |

### ITEM 16
Chapter 11B, Section 11B-233 RESIDENTIAL FACILITIES

Amend sections listed below.

| DSA-AC 01/25 ITEM 16 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 16-1.1 | SECTION 11B-233—PUBLIC HOUSING RESIDENTIAL FACILITIES 11B-233.1 General. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. |  |
| - 16-1.2 | 11B-233.2 Reserved. Public housing facilities. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. |  |
| - 16-1.3 | 11B-233.2.1 Accessible routes. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. Substantially similar to formerly proposed Items 8-1 and 8-2. |  |
| - 16-1.4 | 11B-233.2.2 Common Use Areas. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. Related to formerly proposed Item 9-1. |  |
| - 16-1.5 | 11B-233.2.3 Fire alarm systems. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. Substantially similar to formerly proposed Item 12-1. |  |
| - 16-1.6 | 11B-233.2.4 Washing machines and clothes dryers. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. Substantially similar to formerly proposed Items 11-1 and 11-2. |  |
| - 16-1.7 | 11B-233.2.5 Additions. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. Substantially related to Items 16-1 through 16-4. |  |
| - 16-1 | 11B-233.2.5.1 Entrances. [formerly proposed as section 11B-233.3.3.1] | Disapprove | Disagree |  | Add new section with requirements for entrances where there is an addition to an existing building. CAC: 9 Point Criteria # 1 and AB 130 Comments that scoping doesn’t address percentages of units from federal provisions which may lead to a lot of confusion and misapplication. After CAC: DSA proposes to relocate the proposed language to a new subsection, 11B-233.2.5.1. See revised ET and ISOR. |  |
| - 16-2 | 11B-233.2.5.2 Accessible route. [formerly proposed as section 11B-233.3.3.2] | Disapprove | Disagree |  | Add new section with requirements for accessible routes where there is an addition to an existing building. CAC: 9 Point Criteria # 1 and AB 130 Comments that scoping doesn’t address percentages of units from federal provisions which may lead to a lot of confusion and misapplication. After CAC: DSA proposes to relocate the proposed language to a new subsection, 11B-233.2.5.2. See revised ET and ISOR. |  |
| - 16-3 | 11B-233.2.5.3 Toilet and bathing facilities. [formerly proposed as section 11B-233.3.3.3] | Disapprove | Disagree |  | Add new section with requirements for toilet and bathing facilities where there is an addition to an existing building. CAC: 9 Point Criteria # 1 and AB 130 Comments that scoping doesn’t address percentages of units from federal provisions which may lead to a lot of confusion and misapplication. After CAC: DSA proposes to relocate the proposed language to a new subsection, 11B-233.2.5.3. See revised ET and ISOR. |  |
| - 16-4 | 11B-233.2.5.4 Elements, spaces, and common use areas. [formerly proposed as section 11B-233.3.3.4] | Disapprove | Disagree |  | Add new section with requirements for elements, spaces, and common use areas where there is an addition to an existing building. CAC: 9 Point Criteria # 1 and AB 130 Comments that scoping doesn’t address percentages of units from federal provisions which may lead to a lot of confusion and misapplication. After CAC: DSA proposes to relocate the proposed language to a new subsection, 11B-233.2.5.4. See revised ET and ISOR. |  |
| - 16-5 | 11B-233.3.4.1 Alterations to vacated buildings. | Disapprove | Withdraw |  | Amend language to specify this section applies to a building or facility. CAC: 9 Point Criteria # 1 and AB 130 Comments that scoping doesn’t address percentages of units from federal provisions which may lead to a lot of confusion and misapplication. After CAC: DSA is removing this specific item. |  |
| - 16-5.1 | 11B-233.2.6 Alterations. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. |  |
| - 16-6 | 11B-233.2.6.1 Substantial facility alterations. [formerly proposed as section 11B-233.3.4.4 Substantial Alterations.] | Disapprove | Disagree |  | Add new section that specifies what a substantial alteration is and referenced sections with which they shall comply. CAC: 9 Point Criteria # 1 and AB 130 Comments that scoping doesn’t address percentages of units from federal provisions which may lead to a lot of confusion and misapplication. After CAC: DSA proposes to relocate the proposed language to a new subsection, 11B-233.2.6.1. See revised ET and ISOR. |  |
| - 16-6.1 | 11B-233.2.6.1.1 Residential dwelling units. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. |  |
| - 16-6.2 | 11B-233.2.6.1.1. Exception: | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. |  |
| - 16-7 | 11B-233.2.6.1.2 Accessible route. [formerly proposed as section 11B-233.3.4.4.1] | Disapprove | Disagree |  | Add new section with requirements for an accessible route to substantially altered floors or areas. CAC: 9 Point Criteria # 1 and AB 130 Comments that scoping doesn’t address percentages of units from federal provisions which may lead to a lot of confusion and misapplication. After CAC: DSA proposes to relocate the language from Section 11B-233.3 into Section 11B-233.2.6.1.2. See revised ET and ISOR. |  |
| - 16-8 | 11B-233.2.6.1.3 Entrances. [formerly proposed as section 11B-233.3.4.4.2] | Disapprove | Disagree |  | Add new section with requirements for entrances when a facility is substantially altered. CAC: 9 Point Criteria # 1 and AB 130 Comments that scoping doesn’t address percentages of units from federal provisions which may lead to a lot of confusion and misapplication. After CAC: DSA proposes to relocate the language from Section 11B-233.3 into Section 11B-233.2.6.1.3. See revised ET and ISOR. |  |
| - 16-9 | 11B-233.2.6.1.4 Toilet facilities. [formerly proposed as section 11B-233.3.4.4.4] | Disapprove | Disagree |  | Add new section with requirements for toilet facilities on substantially altered floors. CAC: 9 Point Criteria # 1 and AB 130 Comments that scoping doesn’t address percentages of units from federal provisions which may lead to a lot of confusion and misapplication. After CAC: DSA proposes to relocate the language from Section 11B-233.3 into Section 11B-233.2.6.1.4. See revised ET and ISOR. |  |
| - 16-10 | 11B-233.2.6.1.5 Bathing facilities. [formerly proposed as section 11B-233.3.4.4.5] | Disapprove | Disagree |  | Add new section with requirements for bathing facilities on substantially altered floors. CAC: 9 Point Criteria # 1 and AB 130 Comments that scoping doesn’t address percentages of units from federal provisions which may lead to a lot of confusion and misapplication. After CAC: DSA proposes to relocate the language from Section 11B-233.3 into Section 11B-233.2.6.1.4. See revised ET and ISOR. |  |
| - 16-10.1 | 11B-233.3 Public housing facilities. Facilities with residential dwelling units. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. Based on comments received at the CAC, DSA proposes to separate public housing facilities from other facilities with residential dwelling units. DSA proposes to rename this section and language within to align with that change. |  |
| - 16-10.2 | 11B-233.3.1.1 Residential dwelling units with mobility features. Exception: | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. |  |
| - 16-10.3 | 11B-233.3.1.3 Residential dwelling units with communication features. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. Based on comments received at the CAC, DSA proposes to separate public housing facilities from other facilities with residential dwelling units. DSA proposes to amend language within this section to align with that change. |  |
| - 16-10.4 | 11B-233.3.1.3. Exception: | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. |  |
| - 16-10.5 | 11B-233.3.5 Dispersion. | N/A | N/A |  | After CAC: This item was added after CAC meeting and was not heard by CAC. See ISOR for explanation. This item is added as a second exception to existing dispersion requirements, and is a pointer for the requirements for housing at a place of education, which is now proposed to be located at Section 11B-233.4. See also Item 14-1. |  |

### ITEM 17
Chapter 11B, Section 11B-233.3.1.2.6 Public housing facility site impracticality

Repeal section listed below.

| DSA-AC 01/25 ITEM 17 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 17-1 | 11B-233.3.1.2.6 Public housing facility site impracticality. | Approve | Accept |  | Repeal adoption of this section. After CAC: DSA revised ISOR, but ET remains unchanged. |  |

### ITEM 18
Withdrawn prior to CAC

### ITEM 19
Chapter 11B, Section 11B-308.1.2 Electrical receptacle outlets

Amend section listed below.

| DSA-AC 01/25 ITEM 19 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 19-1 | 11B-308.1.2.1. Electrical receptacle outlets at corners. FIGURE 11B-308.1.2.1 | Further Study Required | Disagree |  | Add new section for electrical receptacle outlets at corners. This language and figure has been relocated here. CAC: 9 Point Criteria # 6 and 7 Concerns with a possibility of losing scoping without further modification. After CAC: No changes in ET. See ISOR for explanation. |  |

### ITEM 20
Chapter 11B, Section 11B-403.5 Clearances

Amend section listed below.

| DSA-AC 01/25 ITEM 20 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 20-1 | 11B-403.5 Clearances. | Disapprove | Disagree |  | Amend language to specify this section applies to employee work areas in facilities that are not public housing. CAC: 9 Point Criteria # 4 and AB 130 Discussion about employee work area and exactly what is required. Comments that employee work areas are not public use areas. After CAC: No changes in ET. See ISOR for explanation. |  |

### ITEM 21
Chapter 11B, Section 11B-805.2 Patient bedrooms, resident sleeping rooms and on-call rooms

Amend section listed below.

| DSA-AC 01/25 ITEM 21 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 21-1 | 11B-805.2 Patient bedrooms, and resident sleeping rooms, and staff on-call rooms. | Approve | Disagree |  | Amend the title to include staff on-call rooms. Amend existing language to include staff on-call rooms. After CAC: See revised ET and ISOR. |  |

### ITEM 22
Chapter 11B, Section 11B-809.12 Electrical receptacles, controls and switches

Amend sections listed below.

| DSA-AC 01/25 ITEM 22 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 22-1 | 11B-809.12 Electrical receptacles, controls and switches. | Further Study Required | Disagree |  | Add new section references. CAC: 9 Point Criteria # 6 and 7 Lost scoping, 36” language problematic, look at similar ICC provisions, possible improper location within chapter. After CAC: No changes in ET. See ISOR for explanation. |  |
| - 22-2 | Items # 1, 2 and 4 | Further Study Required | Disagree |  | Delete items # 1, 2, and 4 CAC: 9 Point Criteria # 6 and 7 Lost scoping, 36” language problematic, look at similar ICC provisions, possible improper location within chapter. After CAC: No changes in ET. See ISOR for explanation. |  |
| - 22-3 | Item # 3 | Further Study Required | Accept |  | Item # 3 is renumbered to item # 5, and the language is amended to delete the reference to when the reach is over a kitchen work surface and replace with where the receptacles, controls and switches are located over a work surface and base cabinet. CAC: 9 Point Criteria # 6 and 7 Lost scoping, 36” language problematic, look at similar ICC provisions, possible improper location within chapter. After CAC: No changes in ET. See ISOR for explanation. |  |
| - 22-4 | Exceptions b and e | Further Study Required | Disagree |  | These exceptions are deleted. CAC: 9 Point Criteria # 6 and 7 Lost scoping, 36” language problematic, look at similar ICC provisions, possible improper location within chapter. After CAC: No changes in ET. See ISOR for explanation. |  |
| - 22-5 | Exception a, c, d, and f | Further Study Required | Disagree |  | Exception “a” is renamed item # 1; “c” is renamed item # 2; “d” is renamed item # “3”; “f” is renamed item # 4. CAC: 9 Point Criteria # 6 and 7 Lost scoping, 36” language problematic, look at similar ICC provisions, possible improper location within chapter. After CAC: No changes in ET. See ISOR for explanation. |  |
| - 22-6 | FIGURE 11B-809.12 ELECTRICAL RECEPTACLES AT CORNER WORKSURFACES | Further Study Required | Disagree |  | Figure 11B-809.12 is deleted. CAC: 9 Point Criteria # 6 and 7 Lost scoping, 36” language problematic, look at similar ICC provisions, possible improper location within chapter. After CAC: No changes in ET. See ISOR for explanation. |  |

### ITEM 23
Chapter 11B, Section 11B-812.4 Vertical clearance

Amend section listed below.

| DSA-AC 01/25 ITEM 23 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 23-1 | 11B-812.4 Vertical clearance. | Approve | Accept |  | New exception for existing multistory parking facilities. After CAC: Further clarification is provided in ISOR. |  |

### ITEM 24
Chapter 35 referenced standards, Section asme

Amend sections listed below.

| DSA-AC 01/25 ITEM 24 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 24-1 | A17.1—2019/CSA B44—19: Safety Code for Elevators and Escalators | Further Study Required | Disagree |  | Delete 11B sections listed. CAC: 9 Point Criteria # 6 Creates conflict with referenced standards elsewhere in Title 24, questions about AB 130 compliance, also affects DIR for elevator safety, ISOR explanation may be misleading. After CAC: No changes in ET. See ISOR for explanation. |  |
| - 24-2 | A17.1-13 CSA B44-2013: Safety Code for Elevators and Escalators | Further Study Required | Disagree |  | Correct printing error, ASME for “Safety Code for Elevators and Escalators” with 11B referenced sections. CAC: 9 Point Criteria # 6 Creates conflict with referenced standards elsewhere in Title 24, questions about AB 130 compliance, also affects DIR for elevator safety, ISOR explanation may be misleading. After CAC: No changes in ET. See ISOR for explanation. |  |
| - 24-3 | A18.1—2020: Safety Standard for Platform Lifts and Stairway Chairlifts | Further Study Required | Disagree |  | Delete reference to Section 1110.9. CAC: 9 Point Criteria # 6 Creates conflict with referenced standards elsewhere in Title 24, questions about AB 130 compliance, also affects DIR for elevator safety, ISOR explanation may be misleading. After CAC: No changes in ET. See ISOR for explanation. |  |
| - 24-4 | A18.1-2008: Safety Standard for Platform Lifts and Stairway Chairlifts | Further Study Required | Disagree |  | Correct printing error, AMSE for “Safety Standards for Platform Lifts and Stairway Chairlifts” with an 11B-410.1 reference. CAC: 9 Point Criteria # 6 Creates conflict with referenced standards elsewhere in Title 24, questions about AB 130 compliance, also affects DIR for elevator safety, ISOR explanation may be misleading. After CAC: No changes in ET. See ISOR for explanation. |  |

### ITEM 25
Chapter 35, Section bhma

Amend sections listed below.

| DSA-AC 01/25 ITEM 25 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 25-1 | A 156.10—2017: Power Operated Pedestrian Doors | Further Study Required | Disagree |  | Delete references to 11B sections. CAC: 9 Point Criteria # 6 Creates conflict with referenced standards elsewhere in Title 24, questions about AB 130 compliance, ISOR explanation may be misleading. After CAC: No changes in ET. See ISOR for explanation. |  |
| - 25-2 | A 156.19—2019: Standard for Power Assist and Low Energy Power Operated Doors | Further Study Required | Disagree |  | Delete references to 11B sections. CAC: 9 Point Criteria # 6 Creates conflict with referenced standards elsewhere in Title 24, questions about AB 130 compliance, ISOR explanation may be misleading. After CAC: No changes in ET. See ISOR for explanation. |  |
| - 25-3 | A 156.10—2011: Power Operated Pedestrian Doors | Further Study Required | Disagree |  | Correct printing error, BHMA standard with references to sections 11B-404.2.9 and 11B-404.3 CAC: 9 Point Criteria # 6 Creates conflict with referenced standards elsewhere in Title 24, questions about AB 130 compliance, ISOR explanation may be misleading. After CAC: No changes in ET. See ISOR for explanation. |  |
| - 25-4 | A 156.19—2013: Standard for Power Assist and Low Energy Power Operated Doors | Further Study Required | Disagree |  | Correct printing error, BMHA standard with references to sections 11B-404.2.9, 11B-404.3, 11B-408.3.2.1, 11B-409.3.1 CAC: 9 Point Criteria # 6 Creates conflict with referenced standards elsewhere in Title 24, questions about AB 130 compliance, ISOR explanation may be misleading. After CAC: No changes in ET. See ISOR for explanation. |  |