# COMMISSION ACTION MATRIX – 45-DAY
BUILDING, FIRE AND OTHER – STRUCTURAL DESIGN/LATERAL FORCES AD-HOC (bfo/sdlf) CODE ADVISORY COMMITTEE

## 2025 CALIFORNIA EXISTING BUILDING CODE, TITLE 24, PART 10
AGENCY: division of the state architect, dsa-ss 03/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
Chapter 1, Section 1.9 – DIVISION OF THE STATE ARCHITECT

Amend sections listed below.

| DSA-SS 03/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 1-1 | 1.9.2.1.2 Applicable building standards. 1.9.2.2.2 Applicable building standards. | Approve | Accept |  | Amend these sections to coordinate with DSA continued adoption of chapter 16 and selected definitions in chapter 2, which were first adopted by DSA with the 2022 CEBC during the 2021 triennial code adoption cycle. |  |

### ITEM 2
Chapter 3, Section 319 – SEISMIC CRITERIA SELECTION FOR EXISTING BUILDINGS

Amend section listed below.

| DSA-SS 03/25 ITEM 2 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 2-1 | 319.2 Existing conditions. | Approve as Amended | Accept |  | Editorial changes to clean up the existing language, which is awkward and contains incorrect punctuation. Maintain alignment with changes proposed by BSC, with whom DSA co-adopts this section. CAC: Approve as Amended under criteria #6 Post CAC: ET amended per CAC recommendation by adding the words “, but not limited to,”. |  |