# COMMISSION ACTION MATRIX – 45-DAY
HEALTH FACILITIES (HF) CODE ADVISORY COMMITTEE – January 28, 2026

## 2025 CALIFORNIA ADMINISTRATIVE CODE, TITLE 24, PART 1
AGENCY: Office of Statewide Hospital Planning and Development, OSHPD 01/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout and ellipsis.

- Existing California amendments appear upright

- Amended or new California amendments appear underlined

- Repealed California language appears upright and in strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
Chapter 7 SAFETY STANDARDS FOR HEALTH FACILITIES, ARTICLE 3 APPROVAL OF CONSTRUCTION DOCUMENTS, SECTION 7-118

Amend section listed below.

| OSHPD 01/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 1-1 | 7-118. Building energy efficiency program. | Approve | Accept |  | Amendment to add the California Energy Code healthcare facility documentation requirements to align with current plan review policy and the TIO program (new subsection (a)), including Certificate of Compliance (new item 1.), Certificate of Installation (new item 2.) and Certificate of Acceptance (new item 3.). |  |

### ITEM 2
Chapter 7, ARTICLE 3, SECTION 7-119

Amend section listed below.

| OSHPD 01/25 ITEM 2 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 2-1 | 7-119(a)1. Functional Program Requirement. | Approve | Accept |  | Amendment to add an exception that a functional program is required for projects for imaging, dietary and pharmacy sterile compounding to conform with Title 22 requirements. |  |

### ITEM 3
Chapter 7, ARTICLE 3, SECTION 7-126

Amend section listed below.

| OSHPD 01/25 ITEM 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 3-1 | 7-126. Deferred submittals. | Approve | Accept |  | Amendment to add subsection (f) as a clarification that the plan review time for deferred submittals shall be subject to the same requirements associated with final construction documents. |  |

### ITEM 4
Chapter 7, ARTICLE 3, SECTION 7-129

Amend section listed below.

| OSHPD 01/25 ITEM 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 4-1 | 7-129. Time limitations. | Approve | Accept |  | Repeal item (b)3 dealing with obsolete process of physical plan review and make editorial changes to account for the use of electronic plan review. |  |

### ITEM 5
Chapter 7, ARTICLE 3, SECTION 7-133

Amend section listed below.

| OSHPD 01/25 ITEM 5 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 5-1 | 7-133. Fees. | Approve | Accept |  | Amendment within subsection (o) to replace the singular reference to HSC Section 130060(g) with a general HSC reference to account for the multiple HSC sections that contain seismic compliance categories. |  |

### ITEM 6
Chapter 7, ARTICLE 4 CONSTRUCTION, SECTION 7-137

Amend section listed below.

| OSHPD 01/25 ITEM 6 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 6-1 | 7-137. Notice of start of construction. Reserved. | Approve | Accept |  | Repeal section to strike outdated physical form submittal requirements which are no longer used due to the electronic building permit process. Save section as reserved. |  |

### ITEM 7
Chapter 7, ARTICLE 4, SECTION 7-153

Amend section listed below.

| OSHPD 01/25 ITEM 7 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 7-1 | 7-153. Changes to the approved work. | Approve | Accept |  | Repeal “to rooms” from item (b)4. to clarify that dimensional changes are not specific to room dimensions and that more than one type of dimension may be included in the scope of the parent section. |  |