# COMMISSION ACTION MATRIX – 45-Day
BUILDING, FIRE AND OTHER – STRUCTURAL DESIGN/LATERAL FORCES aD-hoc (bfo/SDlF) CODE ADVISORY COMMITTEE

## 2025 California BUILDING CODE, TITLE 24, PART 2
AGENCY: Office of the state fire Marshal, SFM 01/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
Chapter 2 – DEFINITIONS

SFM proposes to amend definitions listed below.

| SFM 01/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 1-1 | CARBON MONOXIDE SOURCE Carbon Monoxide Source, Direct Carbon Monoxide Source, Forced-indirect | Approve | Accept |  | Amend the model code definition to clarify and differentiate between direct and indirect CO sources. |  |
| 1-2 | CHILD CARE CENTER. DAY CHILD-CARE HOME, FAMILY. DAY CHILD-CARE HOME, LARGE FAMILY. DAY CHILD-CARE HOME, SMALL FAMILY. DAY-CARE, ADULT. | Further Study Required | Accept |  | Amend to align with other existing regulations and laws. CAC: Further Study Required, 9-Point Criteria 1, 6. Recommendation to consider whether deletion of DAY-CARE definition (making it the same as CHILD-CARE) is appropriate. SFM to consider possible conflict between definitions of CHILD-CARE and Adult DAY-CARE elsewhere in the Code. Additional ISOR rationale is requested to explain the proposal. POST CAC: Added definition for Day-Care, Adult, to keep it separate and distinct. |  |
| 1-3 | COMBUSTIBLE LIQUID. FLAMMABLE LIQUID. | Approve | Accept |  | Amend model definitions to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS). |  |
| 1-4 | COMPRESSED GAS. COMPRESSED GAS, DISSOLVED. COMPRESSED GAS, GASEOUS. COMPRESSED GAS, LIQUEFIED. | Approve | Accept |  | Amend model definitions to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS). |  |
| 1-5 | CORROSIVE. | Approve | Accept |  | Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS). |  |
| 1-6 | CRYOGENIC FLUID. CRYOGENIC FLUID, FLAMMABLE. CRYOGENIC FLUID, INERT. CRYOGENIC FLUID, OXIDIZING. FLAMMABLE CRYOGENIC FLUID. OXIDIZING CRYOGENIC FLUID. | Approve | Accept |  | Amend model definitions to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS). |  |
| 1-7 | EXPLOSIVE. | Approve | Accept |  | Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS). |  |
| 1-8 | FLAMMABLE GAS. | Approve | Accept |  | Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS). |  |
| 1-9 | FLAMMABLE SOLID. | Approve | Accept |  | Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS). |  |
| 1-10 | HIGHLY TOXIC. TOXIC. | Approve | Accept |  | Amend model definitions to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS). |  |
| 1-11 | INFANT. | Approve | Accept |  | Amend to align with Title 22. |  |
| 1-12 | NONPATIENT-CARE SUITE. | Approve | Accept |  | Editorial modification to avoid misunderstanding. |  |
| 1-13 | ORGANIC PEROXIDE. | Approve | Accept |  | Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS). |  |
| 1-14 | OXIDIZER. | Approve | Accept |  | Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS). |  |
| 1-15 | OXIDIZING GAS | Approve | Accept |  | Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS). |  |
| 1-16 | PYROPHORIC. | Approve | Accept |  | Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS). |  |
| 1-17 | UNSTABLE (REACTIVE) MATERIAL. | Approve | Accept |  | Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS). |  |
| 1-18 | WATER-REACTIVE MATERIAL. | Approve | Accept |  | Amend model definition to align with the federal Occupational Safety and Health Administration (OSHA) hazardous materials regulations and Globally Harmonized System of Classification and Labelling of Chemicals (GHS). |  |

### ITEM 2
Chapter 3 – OCCUPANCY CLASSIFICATION AND USE

SFM proposes to amend sections listed below.

| SFM 01/25 ITEM 2 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 2-1 | 305.2 Group E, child-care facilities. 305.2.2 Six Five or fewer children. 305.2.3 Six Five or fewer children in a dwelling unit. | Approve | Accept |  | Amend to align with Title 22 and to align references to “six or fewer” persons in Part 2 and Part 9. |  |
| 2-2 | 308.5 Institutional Group I-4, day care and child care facilities. 308.5.2 Within places of worship. 308.5.3 Six Five or fewer persons receiving care. 308.5.4 Six or fewer persons receiving care in a dwelling unit. | Approve | Accept |  | Amend to include child care facilities, align with existing statutes, align references to “six or fewer” persons in Part 2 and Part 9 and clarify the application of the code when the number of care recipients is limited, thereby reducing hazard levels. |  |

### ITEM 3
Chapter 7 – FIRE AND SMOKE PROTECTION FEATURES

SFM proposes to amend section listed below.

| SFM 01-25 ITEM 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 3-1 | 708.1 General. | Approve | Accept |  | Amend in collaboration with OSHPD to reserve item 6 regarding conditions for 1-hour fire barrier and walls separating ambulatory care facilities. |  |

### ITEM 4
Chapter 9 – FIRE PROTECTION AND LIFE SAFETY SYSTEMS, SECTION 907 FIRE ALARM AND DETECTION SYSTEMS

SFM proposes to amend sections listed below.

| SFM 01-25 ITEM 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 4-1 | 907.2.5.1 Group H occupancies located on the 11th story and above. 907.2.6.3.4 System annunciation. 907.2.28.1 Group L occupancies located on the 11th story and above. 907.6.4 Zones. | Approve | Accept |  | Repeal or relocate outdated or duplicative amendments as these requirements already addressed in adopted referenced standards. Amend to clarify and align with national standards. |  |

### ITEM 5
Chapter 9 – FIRE PROTECTION AND LIFE SAFETY SYSTEMS, SECTION 915 – CARBON MONOXIDE (CO) DETECTION

SFM proposes to amend sections listed below.

| SFM 01/25 ITEM 5 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 5-1 | SECTION 915 – CARBON MONOXIDE (CO) DETECTION with all the subsections | Further Study Required | Accept |  | Amend Section 915 replacing model code language and existing the majority of SFM amendments with new language. CAC: Further Study Required, 9-Point Criteria 1. Further Study was requested by SFM to resolve issues with HCD co-adoption of existing amendments language proposed for modifications by SFM. POST CAC: Excluded the sections adopted by HCD, added the clarifying requirements, renumbered and made editorial corrections. |  |

### ITEM 6
Chapter 10 – MEANS OF EGRESS

SFM proposes to amend section listed below.

| SFM 01/25 ITEM 6 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 6-1 | 1010.2.12 Delayed egress. | Approve | Accept |  | Delete model language “or heat” in the first paragraph. |  |
| 6-2 | Table 1006.3.4(1) Stories and occupiable roofs with one exit or access to one exit for R-2 and R-3 occupancies | Approve | Accept |  | Amend to carry forward an existing amendment to this table footnote a which was erroneously omitted during the printing of the code. |  |

### ITEM 7
Chapter 35 – REFERENCED STANDARDS

SFM proposes to amend referenced standard listed below.

| SFM 01/25 ITEM 7 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| 7-1 | NFPA 72-25 National Fire Alarm Signaling Code, Section 12.4.2 Pathway Survivability 1. | Approve | Accept |  | Add amendment to clarify requirements for “Pathway Survivability Level 1.” |  |
| 7-2 | NFPA 72-25 National Fire Alarm Signaling Code, Section 26.2.11.3 | Approve | Accept |  | Add amendment to delete NFPA 72-25 Section 26.2.11.3. |  |