# COMMISSION ACTION MATRIX – 45-DAY
GREEN BUILDING – PLUMBING, ELECTRICAL, MECHANICAL & ENERGY AD-HOC (GREEN/PEME) CODE ADVISORY COMMITTEE

## 2025 CALIFORNIA GREEN BUILDING STANDARDS CODE, TITLE 24, PART 11
AGENCY: DIVISION OF THE STATE ARCHITECT, DSA-SS 04/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout and ellipsis.

- Existing California amendments appear upright

- Amended or new California amendments appear underlined

- Repealed California language appears upright and in strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
Chapter 2, Section 202 DEFINITIONS

Adopt new definition listed below.

| DSA-SS 04/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 1-1 | SALVAGED MATERIAL OR PRODUCT | Further Study Required | Withdraw |  | Add new definition for the term used in proposed embodied carbon reduction regulations in Chater 5. This definition has been coordinated with BSC and will be co-adopted. CAC: Recommend further study under criteria 6 to reference the sections where the term is used, as well as a note to specify compliance with all parts of Title 24. Post CAC: DSA has withdrawn the proposed definition. The exception in Section 5.409.3 have been revised to include an explanation for the use of “salvaged materials”. |  |

### ITEM 2
Chapter 3 Green Building, Section 301.4 Mandatory Measures for Public Schools and Community Colleges

Amend sections listed below.

| DSA-SS 04/25 ITEM 2 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 2-1 | 301.4 Mandatory measures for public schools and community colleges. [DSA-SS] 301.4.1 and 301.4.2 301.4.2.1 through 301.4.2.6 Table 301.4.2 | Approve | Accept |  | Repeal the word “New” in Section 301.4 and propose amendments for clarity and consistency throughout these sections. Reformat language from repealed Sections 301.4.2.1 through 301.4.2.6 into new table to clarify mandatory measures. |  |
| - 2-2 | 301.4.3 | Approve | Accept |  | Repeal this section and move the language to Section 5.106.13 with minor modifications for clarity. See ITEM 4-1. |  |

### ITEM 3
Chapter 5 Nonresidential Mandatory Measures, Section 5.105 DECONSTRUCTION AND REUSE OF EXISTING STRUCTURES

Amend sections listed below.

| DSA-SS 04/25 ITEM 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 3-1 | 5.105.1 Scope Reserved 5.105.2 Reuse of existing building. 5.105.2.1 Verification of compliance | Approve | Accept |  | Relocate embodied carbon reduction provisions related to reuse of existing building option to Section 5.409 where the other two options for compliance are located and provide reference to that section. |  |

### ITEM 4
Chapter 5 Nonresidential Mandatory Measures, Section 301.4.3 Minimum Rehabilitated Landscape Area

Amend sections listed below.

| DSA-SS 04/25 ITEM 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 4-1 | 301.4.3 5.106.13 Minimum rehabilitated landscape area requirement. [DSA-SS] | Approve | Accept |  | Relocate Section 301.4.3 from the scoping section to the site development Section 5.106.13. Amend to clarify what a rehabilitated landscape area is and what qualifies an existing landscape area to be rehabilitated. Reformat some language to become an exception. |  |

### ITEM 5
Chapter 5 Nonresidential Mandatory Measures, Section 5.304 Outdoor Water Use

Amend sections listed below.

| DSA-SS 04/25 ITEM 5 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 5-1 | 5.304.6 Outdoor potable water use in landscape areas. Note: | Approve as Amended | Disagree |  | Add section to address ‘Nonfunctional Turf’ and add a note regarding nonfunctional turf provisions applicable to nonresidential applications for schools and community colleges. CAC: Approve as Amended under criteria 6. Recommended to add reference to Water Code Section 10608.12, as this section provides the definition of nonfunctional turf. Post CAC: ET has been revised as recommended by CAC, but DSA proposed additional changes also. |  |

### ITEM 6
Chapter 5 Nonresidential Mandatory Measures, Section 5.304.6 Outdoor potable water use in landscape areas

Amend sections listed below.

| DSA-SS 04/25 ITEM 6 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 6-1 | 5.304.6 Outdoor potable water use in landscape areas. Exception: | Approve | Accept |  | Amend the exception to conform with DWR MWELO regulations. |  |

### ITEM 7
Chapter 5 Nonresidential Mandatory Measures, Section 5.402 Definitions

Amend sections listed below.

| DSA-SS 04/25 ITEM 7 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 7-1 | 5.402.1 Definitions SALVAGED MATERIAL OR PRODUCT | Approve | Withdraw |  | Add this term to the list of defined terms that are used in Section 5.402. This definition is proposed to be added to Chapter 2, Section 202, Definitions. Post CAC: See annotation for ITEM 1-1. |  |

### ITEM 8
Chapter 5 Nonresidential Mandatory Measures, Section 5.407.1 Weather Protection

Repeal section listed below.

| DSA-SS 04/25 ITEM 8 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 8-1 | 5.407.1 Weather Protection Reserved | Approve | Accept |  | Repeal this section as it is redundant to CBC provisions regarding weather protection. |  |

### ITEM 9
Chapter 5 Nonresidential Mandatory Measures, Section 5.409 Life Cycle Assessment (renamed to Embodied Carbon Reduction)

Amend sections listed below.

| DSA-SS 04/25 ITEM 9 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 9-1 | 5.409 Life Cycle Assessment Embodied Carbon Reduction | Approve | Accept |  | Rename the section to clarify that there are three options for embodied carbon reduction compliance. |  |
| - 9-2 | 5.409.1 Scope | Approve | Accept |  | Renumber sections referenced in the language to align with reorganization of embodied carbon reduction regulations and clean-up the language. |  |
| - 9-3 | 5.105409.2 Reuse of existing building option 5.105409.2.1 Verification of compliance. | Approve | Accept |  | Relocate sections as part of the reorganization effort. |  |
| - 9-4 | 5.409.3 Product GWP compliance - prescriptive path option 5.409.3.1 | Approve | Accept |  | Consolidate language in one section for clarity. |  |
| - 9-5 | 5.409.3, Exception 1 | Approve | Disagree |  | Add an exception for Salvaged materials and products. Post CAC: The exception has been revised to incorporate the language from the formerly proposed definition of “salvaged materials and products” eliminating the need for a new defined term in ITEM 1-1. |  |
| - 9-6 | 5.409.3.1, Exception 2 | Approve | Accept |  | Amend Exception 2 for coordination with other section amendments, and to clarify that concrete mixes may be considered individually or as a weighted average for compliance. |  |
| - 9-7 | Table 5.409.3 Product GWP Limits | Approve | Accept |  | Correct the unit of measurement for flat glass and edit subscript notes to coordinate with proposed footnotes amendments. |  |
| - 9-8 | Table 5.409.3, Footnotes 1 & 2 | Approve | Accept |  | Repeal footnotes 1 & 2, as they were intended as purely informational, and have been misconstrued as instructional by stakeholders. |  |
| - 9-9 | 5.409.3.21 Verification of compliance. … | Approve | Accept |  | Renumber section for coordination with the overall reorganization of the sections related to embodied carbon reduction. |  |
| - 9-10 | 5.409.24 Whole building life cycle assessment – Performance Option 5.409.24.1 5.409.24.2 5.409.24.3 | Approve | Accept |  | Renumber these sections and add “Performance Option” to the section name to clarify that it is the third of three options for compliance with Section 5.409 Embodied Carbon Reduction. |  |

### ITEM 10
Chapter 8 Compliance Forms, Worksheets and Reference Material

Amend Worksheets listed below.

| DSA-SS 04/25 ITEM 10 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 10-1 | WORKSHEET (WS-3) 5.105.2SECTION 5.409.2 BUILDING REUSE OF EXISTING BUILDING OPTION | Approve | Accept |  | Amend for coordination with the proposed renumbering and renaming amendments. Additionally, correct the typo in the last column from “SF” to “%”. |  |
| - 10-2 | WORKSHEET (WS-4) Section 5.409.42 WHOLE BUILDING LIFE CYCLE ASSESSMENT – PERFORMANCE OPTION | Approve | Accept |  | Amend to clarify that the term “location” is intended to mean “geographic location”, and for coordination with the proposed renumbering and renaming amendments. |  |
| - 10-3 | WORKSHEET (WS-5) Section 5.409.3 PRODUCT GWP COMPLIANCE—PRESCRIPTIVE OPTION PATH | Approve | Accept |  | Amend for coordination with the proposed renumbering and renaming amendments. Amend the language of the statement to align with the requirements in Section 5.409.3. |  |
| - 10-4 | WORKSHEET (WS-9) Section 5.409.24 and Section A5.409. 24 WHOLE BUILDING LIFE CYCLE ASSESSMENT – PERFORMANCE OPTION | Approve | Accept |  | Amend for coordination with the proposed renumbering and renaming amendments. |  |