# COMMISSION ACTION MATRIX – 45-day
GREEN BUILDING – Plumbing, electrical, mechanical & energy AD-HOC (GREEN/PEME) CODE ADVISORY COMMITTEE

## 2025 CALIFORNIA GREEN BUILDING STANDARDS CODE, TITLE 24, PART 11
AGENCY: CALIFORNIA DEPARTMENT OF HOUSING AND COMMUNITY DEVELOPMENT, HCD 01/25

### LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout and ellipsis.

- Existing California amendments appear upright

- Amended or new California amendments appear underlined

- Repealed California language appears upright and in strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
Chapter 3, Section 301.1.1

Amend sections listed below.

| HCD 01/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 1-1 | 301.1.1 Additions and alterations | Approve | Accept |  | Amend existing language to add “hotels and motels” and revise the referenced section number from “4.106.4.3” to “4.106.4.5”. |  |

### ITEM 2
Chapter 4, Section 4.106.5

Amend sections listed below.

| HCD 01/25 ITEM 2 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 2-1 | 4.106.4.3 4.106.5 Electric vehicle charging for additions and alterations of parking facilities serving existing multifamily buildings, hotels and motels. | Approve | Accept |  | Renumbered this existing code section to relocate EV charging provisions for additions and alterations out of the section for new construction and into its own section to create a distinction. |  |

### ITEM 3
Chapter 4, Section 4.106.6

Amend sections listed below.

| HCD 01/25 ITEM 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 3-1 | 4.106.4.4 4.106.6 Bicycle parking. 4.106.4.4.1 4.106.6.1 Short-term… 4.106.4.4.2 4.106.6.2 Long-term… 4.106.4.4.3 4.106.6.3 Long-term… | Approve | Accept |  | Renumbered this section and all the subsections to relocate bicycle parking provisions out of the section for EV charging and into its own section to create a distinction. |  |

### ITEM 4
Chapter 4, Section 4.408.2

Amend sections listed below.

| HCD 01/25 ITEM 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 4-1 | 4.408.2 Construction waste management plan. Note: | Approve | Accept |  | Amend this section to provide an informational note, which directs the code user to resources located on CalRecycle’s webpage for preparing and diverting waste materials. |  |

### ITEM 5
Chapter 4, Section 4.507.2

Amend sections listed below.

| HCD 01/25 ITEM 5 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 5-1 | 4.507.2 Heating and air-conditioning system design. (1) & (3) & Exception | Approve | Accept |  | Amend this section to remove outdated reference manuals and provide pointers to the California Energy Code. Remove an exception that references alternate design temperatures. |  |

### ITEM 6
APPENDIX A4, SECTION A4.602

Amend sections listed below.

| HCD 01/25 ITEM 6 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 6-1 | A4.602 Residential Occupancies Application Checklist | Approve | Accept |  | Amend the checklist to coordinate with the proposed sections renumbering. |  |