# COMMISSION ACTION MATRIX – 45 day
GREEN Building – PLUMBING, ELECTRICAL, MECHANICAL & ENERGY AD-HOC (GREEN/PEME) CODE ADVISORY COMMITTEE

## 2025 california plumbing code, TITLE 24, PART 5
AGENCY: office of statewide hospital planning and development, OSHPD 06/25

## LEGEND:

CAC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Agency Responses: Accept, Disagree, Withdraw

CBSC Actions: Approve, Disapprove, Approve as Amended, Further Study Required

Matrix Paper Color (for commission action only): GREEN = uncontested items, YELLOW = challenged items, SALMON = withdrawn, no action required

If using assistive technology, please adjust your settings to recognize underline, strikeout, italic and ellipsis.

- Model Code language appears upright

- Existing California amendments appear in italic

- Amended model code or new California amendments appear underlined & italic

- Repealed model code language appears upright and in strikeout

- Repealed California amendments appear in italic and strikeout

- Ellipses (…) indicate existing text remains unchanged

### ITEM 1
Chapter 2 definitions, Section 210.0 - H

OSHPD proposes to amend definition listed below.

| OSHPD 06/25 ITEM 1 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 1-1 | Handwashing Fixture (1)c. | Approve | Accept |  | Amend to align with public lavatory fixture flow rate in Title 20. |  |
| - 1-2 | Handwashing Fixture (1)d. & (1)e. | Approve | Accept |  | Consolidate 2 requirements in one sentence. |  |
| - 1-3 | Handwashing Fixture (2)c. | Approve | Accept |  | Coordinate minimum size of lavatory with national standard. |  |

### ITEM 2
Chapter 3 general regulations, Section 310.0 prohibited fitting and practices

OSHPD proposes to amend section listed below.

| OSHPD 06/25 ITEM 2 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 2-1 | 310.15 Telephone and Data Equipment Room | Approve | Disagree |  | Revise OSHPD banner to add OSHPD 2 designation to the requirements. Post CAC: OSHPD added a reference to Section 1225.5.1.1. |  |

### ITEM 3
Chapter 4 plumbing fixtures and fixture fittings, Section 422.0 minimum number of required fixtures

OSHPD proposes to amend sections listed below.

| OSHPD 06/25 ITEM 3 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 3-1 | 422.2 Separate Facilities – Exceptions | Approve | Accept |  | Repeal banner stating [Not adopted for OSHPD 1, 2, 3, 4 & 5]. |  |
| - 3-2 | 422.2 Exception 2 | Approve | Accept |  | Add banner stating [EXCEPTION 2 NOT ADOPTED BY OSHPD 1, 2, 3 ,4 & 5]. |  |
| - 3-3 | 422.2 Exception 5 | Approve | Accept |  | Add a new exception to allow staff to share a toilet facility that can be used by both sexes. |  |
| - 3-4 | 422.2 Exception 6 | Approve | Accept |  | Relocate Exception 2 from Section 422.3.1 to 422.2 Exception 6. |  |
| - 3-5 | 422.3.1 | Approve | Accept |  | Revise Exception 1 to align with similar amendment in the California Building Code (CBC). Relocate Exception 2. |  |

### ITEM 4
Chapter 4, table 4-2 minimum plumbing facilities

OSHPD proposes to amend Table 4-2 as listed below.

| OSHPD 06/25 ITEM 4 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 4-1 | Sterile compounding anteroom Sterile compounding area | Approve | Accept |  | Amend handwashing requirements to coordinate with CBC. |  |
| - 4-2 | Rehabilitation Therapy Space: Training toilet/bathtub | Approve | Accept |  | Add bathtub based on the revised requirement in CBC. |  |
| - 4-3 | Cancer treatment/infusion therapy treatment | Approve | Accept |  | Format fix for clarification. |  |
| - 4-4 | Central Sterile Supply: Soiled work area Clean work area | Approve | Accept |  | Add new entries to closely associate the functions with the service of the same name as in the CBC. |  |
| - 4-5 | Primary care clinic and specialty clinics: Exam/treatment Exam/treatment patient toilet Staff Toilet Waiting area public toilet | Approve | Accept |  | Add clinic spaces to more clearly identify the requirements. |  |
| - 4-6 | Alternative Birthing Clinic: Birthing room toilet room Waiting area | Approve | Accept |  | Add alternative birthing clinic spaces to more clearly identify the requirements as required per CBC. |  |
| - 4-7 | Footnote 1 | Approve | Accept |  | Amend to note that service sinks are required in housekeeping rooms as required by CBC and remove conflicting information. |  |
| - 4-8 | Footnotes 14 & 22 | Approve | Accept |  | Revise the term clinic sink to clinical sink. |  |
| - 4-9 | Footnote 23 | Approve | Accept |  | Repeal footnote which has not been used since 2007 edition of the code. Add requirements for sinks. |  |
| - 4-10 | Footnote 38 | Approve | Accept |  | Add new footnote to coordinate with CBC for alternative birthing clinics. |  |

### ITEM 5
Chapter 7 sanitary drainage, Section 727 emergency sanitary drainage

OSHPD proposes to amend sections listed below.

| OSHPD 06/25 ITEM 5 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 5-1 | 727.1 | Approve | Accept |  | Split into two paragraphs and restate the minimum tank sizing criteria found in CPC 616.1. |  |
| - 5-2 | 727.1 Exception | Approve | Accept |  | Revise to coordinate with the sizing requirements for the water tank sizing in Section 616.1. |  |

### ITEM 6
Chapter 13 health care facilities and medical gas and medical vacuum systems, Sections 1304.0 medical gas and medical vacuum piping systems, 1305.0 system performance

OSHPD proposes to amend sections listed below.

| OSHPD 06/25 ITEM 6 | Code Section | CAC Action | Agency Response | Public Comments | Annotations | CBSC Action |
| --- | --- | --- | --- | --- | --- | --- |
| - 6-1 | 1304.1.1 | Approve | Accept |  | Repeal the sentence directing the code user to the CA Fire Code as NFPA 99 was adopted. |  |
| - 6-2 | 1305.3 Minimum Station Outlets and Inlets | Approve | Accept |  | Amend section to add a reference to the CBC Table 1224.4.6.1. |  |