# CALIFORNIA BUILDING STANDARDS COMMISSION
September 1, 2026
CALGREEN EV WORKSHOP #1

Agenda Item 3e
CALIFORNIA GREEN BUILDING STANDARDS CODE,
(CALGreen), PART 11,
CALIFORNIA BUILDING STANDARDS CODE,
TITLE 24, CALIFORNIA CODE OF REGULATIONS

## AGENDA ITEM 3e

The state agency shall draft the regulations in plain, straightforward language, avoiding technical terms as much as possible and using a coherent and easily readable style. The agency shall draft the regulation in plain English. A notation shall follow the express terms of each regulation listing the specific statutes authorizing the adoption and listing specific statutes being implemented, interpreted, or made specific (Government Code Section 11346.2(a)(1)).

If using assistive technology, please adjust your settings to recognize underline, strikeout and ellipsis.

## LEGEND for EXPRESS TERMS

- Existing California language appears upright.

- Proposed amendments appear in underline and strikeout.

- Ellipses ( ...) indicate existing text remains unchanged.

- Rationale: The justification for the change is shown after each section or series of related changes.

### ITEM 33
Chapter 5, NONRESIDENTIAL MANDATORY MEASURES,
DIVISION 5.5 – ENVIRONMENTAL QUALITY,
SECTION 5.508 – OUTDOOR AIR QUALITY

BSC proposes to repeal Section 5.508.1 and Reserve.

5.508.1 Reserved. Ozone depletion and greenhouse gas reductions. Installations of HVAC, refrigeration and fire suppression equipment shall comply with Sections 5.508.1.1 and 5.508.1.2.

5.508.1.1 Chlorofluorocarbons (CFCs). Install HVAC, refrigeration and fire suppression equipment that do not contain CFCs.

5.508.1.2 Halons. Install HVAC, refrigeration and fire suppression equipment that do not contain Halons.

#### RATIONALE:

BSC-CG is proposing to repeal Section 5.508.1 and its contents and to add the word Reserved for the section numbering.

BSC-CG coordinated with the California Air Resources Board and DSA to determine the relevancy and application of Section 5.508.1 regarding the installation of HVAC and refrigeration equipment that do not contain Chlorofluorocarbons (CFCs) and Halons.

Based on information from ARB staff, CFC and halon systems for new installations have been prohibited for a few decades. While there are still a small number of existing CFC/halon systems in operation that may allow recycled CFCs, they do not affect the requirements in Section 5.508.1 for new installations.

Repealing this existing code section will provide clarity for the code user by repealing vague, ambiguous and unnecessary code language.