# CALIFORNIA BUILDING STANDARDS COMMISSION
September 1, 2026
CALGREEN WORKSHOP #1

Agenda Item 3i
CALIFORNIA GREEN BUILDING STANDARDS CODE,
(CALGreen), PART 11,
CALIFORNIA BUILDING STANDARDS CODE,
TITLE 24, CALIFORNIA CODE OF REGULATIONS

### AGENDA ITEM 3i

Subject: Chapter 5 / Appendix Chapter A5
PROPOSED CLEANUP DRAFT

RATIONALE:
BSC is proposing to remove sections marked “reserved” from Nonresidential Chapter 5 and Appendix A5 where the reserved sections do not appear to benefit the overall organization of the code. A longstanding organizational principle of CALGreen has been that the voluntary sections in Appendix A5 follow the same section numbering as the mandatory sections in Chapter 5. This proposal follows that organizational principle, but will apply this principle only at the highest level of organization, and allow subsections to be renumbered to avoid unnecessary gaps in the code.

The intention of this change is to make the code more intuitive to navigate, and to reduce unnecessary and potentially confusing “reserved” section numbers. Section numbers which are reserved in order to preserve the overall organization of CALGreen will not be removed. This change is intended to have no material regulatory effect.

The following document shows the proposed changes to Chapter 5 and Appendix A5 side-by-side for ease of comparison.

LEGEND:

- Existing sections appear in black.

- Amended or added sections appear red and underlined.

- Deleted sections appear red and in strikeout.

| CHAPTER 5 NONRESIDENTIAL MANDATORY MEASURES | APPENDIX A5 NONRESIDENTIAL VOLUNTARY MEASURES |
| --- | --- |
| Division 5.1 – Planning and Design | Division A5.1 – Planning and Design |
| N/A | PREFACE |
| SECTION 5.101 – GENERAL | SECTION A5.101 – GENERAL |
| 5.101.1 Scope. | A5.101.1 Scope. |
| SECTION 5.102 – DEFINITIONS | SECTION A5.102 – DEFINITIONS |
| 5.102.1 Definitions. | A5.102.1 Definitions. |
| SECTION 5.103 – SITE SELECTION (RESERVED) | SECTION A5.103 – SITE SELECTION |
| N/A | A5.103.1 Community connectivity. |
| N/A | A5.103.2 Brownfield or greyfield site redevelopment or infill area development. |
| N/A | A5.103.2.1 Brownfield redevelopment. |
| SECTION 5.104 – SITE PRESERVATION (RESERVED) | SECTION A5.104 – SITE PRESERVATION |
| N/A | A5.104.1 Reduce development footprint and optimize open space. |
| N/A | A5.104.1.1 Local zoning requirement in place. |
| N/A | A5.104.1.2 No local zoning requirement in place. |
| N/A | A5.104.1.3 No open space required in zoning ordinance. |
| SECTION 5.105 – DECONSTRUCTION AND REUSE OF EXISTING STRUCTURES | SECTION A5.105 – DECONSTRUCTION AND REUSE OF EXISTING STRUCTURES |
| 5.105.1 Scope. | A5.105.1 Scope. |
| 5.105.2 Reuse of existing buildings. | A5.105.2 Reuse of existing buildings. |
| 5.105.3 Deconstruction (Reserved). | A5.105.3 Deconstruction (Reserved). |
| SECTION 5.106 – SITE DEVELOPMENT | SECTION A5.106 – SITE DEVELOPMENT |
| 5.106.1 Stormwater pollution prevention for projects that disturb less than one acre of land. | A5.106.1 Reserved. A5.106.1 A5.106.2 Storm water design. |
| 5.106.1.1 Local ordinance. | N/A |
| 5.106.1.2 Best management practices (BMP’s). | N/A |
| 5.106.2 Stormwater pollution prevention for projects that disturb one or more acres of land. | A5.106.2 A5.106.3 Low Impact Development (LID). |
| N/A | A5.106.2.1 A5.106.3.1 Implementation. |
| N/A | A5.106.2.2 A5.106.3.2 Greyfield or infill site. |
| 5.106.3 Reserved. 5.106.3 5.106.8 Light pollution reduction. [N] Outdoor | A5.106.4 Reserved. A5.106.4.1 Reserved. A5.106.4.2 Reserved. A5.106.3 A5.106.4.3 Changing rooms. |
| 5.106.3.1 5.106.8.1 and 5.106.3.2 5.106.8.2 | N/A |
| TABLE 5.106.3 TABLE 5.106.8 [N] – MAXIMUM ALLOWABLE BACKLIGHT, UPLIGHT AND GLARE (BUG) RATINGS | TABLE A5.106.3 TABLE A5.106.4.3 (Changing Rooms) |
| 5.106.4 Bicycle parking. | A5.106.4 A5.106.5.1 Designated parking for clean air vehicles. |
| 5.106.4.1 Bicycle parking. | A5.106.4.1 A5.106.5.1.1 Tier 1. |
| 5.106.4.1.1 Short-term bicycle parking. | N/A |
| 5.106.4.1.2 Long-term bicycle parking. | N/A |
| 5.106.4.1.2.1 through 5.106.4.1.2.3 | N/A |
| 5.106.4.2 Bicycle parking. [DSA-SS] | A5.106.4.2 A5.106.5.1.2 Tier 2. |
| 5.106.4.2.1 Student bicycle parking. | N/A |
| 5.106.4.2.2 Staff bicycle parking. | N/A |
| N/A | A5.106.4.3 A5.106.5.1.3 Future charging spaces. |
| N/A | A5.106.4.4 A5.106.5.1.4 Parking stall marking. |
| N/A | A5.106.4.5 A5.106.5.1.5 Vehicle designations. |
| 5.106.5 Electric vehicle (EV) charging. | A5.106.5 Reserved. A5.106.5 Electric vehicle (EV) charging. |
| 5.106.5.1 Reserved. 5.106.5.2 Reserved. 5.106.5.1 5.106.5.3 Electric vehicle (EV) charging. [N] [BSCG] | A5.106.5.1 (relocated to A5.106.4 above) A5.106.5.2 Reserved. A5.106.5.1 A5.106.5.3 Electric vehicle (EV) charging. [N] |
| 5.106.5.1.1 5.106.5.3.1 EV capable spaces. [N] | A5.106.5.1.1 A5.106.5.3.1 Tier 1. |
| TABLE 5.106.5.1.1 TABLE 5.106.5.3.1 EV CAPABLE SPACES AND EVCS | TABLE A5.106.5.1.1 TABLE A5.106.5.3.1 TIER 1 EV CAPABLE SPACES AND EVCS |
| 5.106.5.1.2 5.106.5.3.2 Electric vehicle charging stations (EVCS). | A5.106.5.1.2 A5.106.5.3.2 Tier 1 Electric vehicle charging stations (EVCS)—Power allocation method. |
| N/A | TABLE A5.106.5.1.2 TABLE A5.106.5.3.2 TIER 1 EVCS – POWER ALLOCATION METHOD |
| 5.106.5.1.2.1 5.106.5.3.2.1 Receptacle configurations. | N/A |
| 5.106.5.1.2.2 5.106.5.3.2.2 EV charging connectors. | N/A |
| 5.106.5.1.2.3 5.106.5.3.2.3. DCFC incentive. (Currently no title) | N/A |
| 5.106.5.1.2.4 5.106.5.3.2.4. Power level 2 incentive. (Currently no title) | N/A |
| 5.106.5.1.2.4.1 5.106.5.3.2.4.1 Raceway capacity requirements. | N/A |
| 5.106.5.1.3 5.106.5.3.3 Use of automatic load management systems (ALMS). | A5.106.5.1.3 A5.106.5.3.3 Tier 2. |
| N/A | TABLE A5.106.5.1.3 TABLE A5.106.5.3.3 TIER 2 EV CAPABLE SPACES AND EVCS |
| 5.106.5.1.4 5.106.5.3.4 Accessible electric vehicle charging station (EVCS). | A5.106.5.1.4 A5.106.5.3.4 Tier 2 Electric vehicle charging stations (EVCS)—power allocation method. |
| N/A | TABLE A5.106.5.1.4 TABLE A5.106.5.3.4 TIER 2 EVCS – POWER ALLOCATION METHOD |
| 5.106.5.1.5 5.106.5.3.5 Electric vehicle charging station signage. | N/A |
| 5.106.5.1.6 5.106.5.3.6 Electric vehicle charging stations (EVCS)—power allocation method. | N/A |
| TABLE 5.106.5.1.6 TABLE 5.106.5.3.6 EVCS – POWER ALLOCATION METHOD | N/A |
| 5.106.5.1.6.1 5.106.5.3.6.1 Receptacle configurations. | N/A |
| 5.106.5.1.6.2 5.106.5.3.6.2 EV charging connectors. | N/A |
| 5.106.5.1.6.3 5.106.5.3.6.3 Raceway capacity requirements. | N/A |
| 5.106.5.2 5.106.5.4 Additions or alterations to existing buildings or parking facilities [A]. [BSC-CG] | N/A |
| 5.106.5.2.1 5.106.5.4.1 Existing buildings or parking areas without previously installed EV capable infrastructure [A]. | N/A |
| 5.106.5.2.2 5.106.5.4.2 Existing buildings or parking areas with previously installed EV capable infrastructure [A]. | N/A |
| 5.106.5.2.3 5.106.5.4.3 Accessible electric vehicle charging station (EVCS). | N/A |
| 5.106.5.3 5.106.5.5 Electric vehicle (EV) charging: medium-duty and heavy-duty. [N] [BSG-CG] | N/A |
| 5.106.5.3.1 5.106.5.5.1 Electric vehicle charging readiness requirements for warehouses, grocery stores, office buildings, and manufacturing facilities and retail stores with planned off-street loading spaces. [N] | N/A |
| TABLE 5.106.5.3.1 TABLE 5.106.5.5.1 – RACEWAY CONDUIT AND PANEL POWER REQUIREMENTS FOR MEDIUM- AND HEAVY-DUTY EVSE [N] | N/A |
| 5.106.5.4 5.106.5.6 Electric vehicle (EV) charging at public schools and community colleges. [DSA-SS] | N/A |
| 5.106.5.4.1 5.106.5.6.1 EV capable spaces. | N/A |
| TABLE 5.106.5.4.1 TABLE 5.106.5.6.1 | N/A |
| 5.106.5.4.2 5.106.5.6.2 Electric vehicle charging stations (EVCS). | N/A |
| 5.106.5.4.2.1 5.106.5.6.2.1 Reduced number of EV capable spaces. | N/A |
| 5.106.5.4.2.2 5.106.5.6.2.2 Multiple connectors. | N/A |
| 5.106.5.4.2.3 5.106.5.6.2.3 Use of automatic load management systems (ALMS). | N/A |
| 5.106.5.4.3 5.106.5.6.3 EVCS alternative compliance. | N/A |
| TABLE 5.106.5.4.3 TABLE 5.106.5.6.3 | N/A |
| 5.106.5.4.4 5.106.5.6.4 EVCS for alterations of or additions to parking facilities. | N/A |
| 5.106.5.4.4.1 5.106.5.6.4.1 Alterations of and additions to parking facilities. | N/A |
| 5.106.5.4.4.2 5.106.5.6.4.2 Alterations consisting of the installation of photovoltaic systems. | N/A |
| 5.106.5.4.5 5.106.5.6.5 Requirement to install EVSE. | N/A |
| 5.106.6 Reserved. 5.106.7 Reserved. 5.106.8 (Relocated to 5.106.3) 5.106.9 Reserved. 5.106.6 5.106.10 Grading and Paving. | A5.106.6 Parking capacity. |
| N/A | A5.106.6.1 Reduce parking capacity. |
| 5.106.11 Reserved. 5.106.7 5.106.12 Shade trees. [DSA-SS] | A5.106.7 Exterior Wall shading. |
| 5.106.7.1 5.106.12.1 Surface parking areas. | A5.106.7.1 Fenestration. |
| N/A | A5.106.7.1.1 East and west walls. |
| N/A | A5.106.7.1.2 South walls. |
| 5.106.7.2 5.106.12.2 Landscape areas. | A5.106.7.2 Opaque wall areas. |
| 5.106.7.3 5.106.12.3 Hardscape areas. | N/A |
| N/A | A5.106.8 Reserved. A5.106.9 Reserved. A5.106.10 Reserved. A5.106.8 A5.106.11 Reduction of heat island effect. |
| N/A | A5.106.8.1 A5.106.11.1 Hardscaped alternatives. |
| N/A | A5.106.8.2 A5.106.11.2 Cool roof. |
| N/A | A5.106.8.2.1 A5.106.11.2.1 Solar reflectance. |
| N/A | TABLE A5.106.8.2.1 TABLE A5.106.11.2.1 VALUES OF SOILING RESISTANCE, ß, BY PRODUCT TYPE |
| N/A | A5.106.8.2.2 A5.106.11.2.2 Thermal emittance. |
| N/A | TABLE A5.106.8.2.2 TABLE A5.106.11.2.2 [BSC]—TIER 1 (Thermal Emittance Values) |
| N/A | A5.106.8.2.3 A5.106.11.2.3 Solar reflectance index alternative. |
| N/A | TABLE A5.106.8.2.3 TABLE A5.106.11.2.3 [BSC]—TIER 2 (Thermal Emittance Values) |
| N/A | A5.106.8.2.4 A5.106.11.2.4 Verification of compliance. (Cool roof requirements) |
| N/A | A5.106.8.3 A5.106.11.3 Shade trees. |
| N/A | SECTION A5.107 – BIRD FRIENDLY BUILDING DESIGN |
| N/A | A5.107 Bird-friendly building design. |
| N/A | A5.107.1 Required elevation treatment. |
| N/A | A5.107.2 Special conditions. |
| N/A | A5.107.3 Nighttime conditions. |
| N/A | A5.107.3.1 Systems or operation and maintenance manual. |
| Division 5.2 – Energy Efficiency | Division A5.2 – Energy Efficiency |
| SECTION 5.201 – GENERAL | SECTION A5.201 – GENERAL |
| 5.201.1 Scope. | A5.201.1 Scope. |
| N/A | SECTION A5.202 – DEFINITIONS |
| N/A | A5.202.1 Definitions. |
| N/A | SECTION A5.203 – PERFORMANCE APPROACH FOR NEWLY CONSTRUCTED BUILDINGS |
| N/A | A5.203.1 Energy efficiency. |
| N/A | A5.203.1.1 Tier 1 and Tier 2 prerequisites. |
| N/A | A5.203.1.1.1 Outdoor lighting. |
| N/A | A5.203.1.1.1.1 |
| N/A | A5.203.1.1.1.2 |
| N/A | A5.203.1.1.2 Service water heating in restaurants. |
| N/A | A5.203.1.1.3 Warehouse dock seal doors. |
| N/A | A5.203.1.1.4 Daylight Design Power Adjustments Factors (PAFs). |
| N/A | A5.203.1.1.5 Exhaust air heat recovery. |
| N/A | A5.203.1.2 Performance standard. |
| N/A | A5.203.1.2.1 Tier 1. |
| N/A | A5.203.1.2.2 Tier 2. |
| N/A | SECTION A5.204 – MANDATORY REQUIREMENTS FOR ALTERATIONS TO EXISTING BUILDINGS |
| N/A | A5.204.1 Energy efficiency. |
| N/A | A5.204.1.1 Altered pool and/or spa heating for existing nonresidential buildings. |
| N/A | SECTION A5.211 – RESERVED SECTION A5.205 SECTION A5.212 – ELEVATORS, ESCALATORS AND OTHER EQUIPMENT |
| N/A | A5.205.1 A5.212.1 Elevators and escalators. |
| N/A | A5.205.1.1 A5.212.1.1 Elevators. |
| N/A | A5.205.1.1.1 A5.212.1.1.1 Car lights and fan. |
| N/A | A5.205.1.2 A5.212.1.2 Escalators. |
| N/A | A5.205.1.3 A5.212.1.4 Controls. |
| N/A | SECTION A5.206 SECTION A5.213 – ENERGY EFFICIENT FRAMING |
| N/A | A5.206.1 A5.213.1 Steel framing. |
| Division 5.3 – Water Efficiency and Conservation | Division A5.3 – Water Efficiency and Conservation |
| SECTION 5.301 – GENERAL | SECTION A5.301 – GENERAL |
| 5.301.1 Scope. | A5.301.1 Scope. |
| SECTION 5.302 – DEFINITIONS | SECTION A5.302 – DEFINITIONS |
| 5.302.1 Definitions. | 5.302.1 Definitions. |
| SECTION 5.303 – INDOOR WATER USE | SECTION A5.303 – INDOOR WATER USE |
| 5.303.1 Meters. | A5.303.1 A5.303.5 Dual plumbing. |
| 5.303.2 Reserved. 5.303.2 5.303.6 Standards for plumbing fixtures and fittings | A5.303.2 Tier 1 and Tier 2 water savings. |
| N/A | A5.303.2.1 A5.303.2.3.1 Tier 1 – 12-percent savings. |
| N/A | TABLE A5.303.2.1.1 TABLE A5.303.2.3.1 – FIXTURE FLOW RATES (PRESCRIPTIVE METHOD) |
| N/A | TABLE A5.303.2.1.2 TABLE A5.303.2.2 – WATER USE BASELINE (PERFORMANCE METHOD) |
| N/A | A5.303.2.2 A5.303.2.3.2 Tier 2 – 20-percent savings |
| N/A | A5.303.2.3 A5.303.2.3.3 25-percent savings. |
| N/A | A5.303.2.4 A5.303.2.3.4 Nonpotable water systems for indoor use. |
| 5.303.3 Water conserving plumbing fixtures and fittings. | A5.303.3 Appliances and fixtures for commercial application. |
| N/A | TABLE A5.303.3 – COMMERCIAL DISHWASHER WATER USE |
| 5.303.3.1 Water closets. | N/A |
| 5.303.3.2 Urinals. | N/A |
| 5.303.3.2.1 Wall-mounted urinals. | N/A |
| 5.303.3.2.2 Floor-mounted urinals. | N/A |
| 5.303.3.3 Showerheads. | N/A |
| 5.303.3.3.1 Single showerhead. | N/A |
| 5.303.3.3.2 Multiple showerheads serving one shower. | N/A |
| 5.303.3.4 Faucets and fountains. | N/A |
| 5.303.3.4.1 Nonresidential lavatory faucets. | N/A |
| 5.303.3.4.2 Kitchen faucets. | N/A |
| 5.303.3.4.3 Wash fountains. | N/A |
| 5.303.3.4.4 Metering faucets. | N/A |
| 5.303.3.4.5 Metering faucets for wash fountains. | N/A |
| 5.303.3.4.6 Pre-rinse spray valve. | N/A |
| 5.303.4 Commercial kitchen equipment. | A5.303.4 Water conserving plumbing fixtures and fittings. |
| 5.303.4.1 Food waste dispensers. | A5.303.4.1 Nonwater urinals. |
| 5.303.5 Areas of additions or alterations. 5.303.6 (Relocated to A5.303.2). | A5.303.5 (Relocated to A5.303.1). |
| SECTION 5.304 – OUTDOOR WATER USE | SECTION A5.304 – OUTDOOR WATER USE |
| 5.304.1 Outdoor potable water use in landscape areas. | A5.304.1 Reserved. A5.304.1 A5.304.2 Outdoor water use. |
| 5.304.2 Nonfunctional Turf. [BSC-CG] | A5.304.2 A5.304.6 Restoration of areas disturbed by construction. |
| 5.304.3 Reserved. 5.304.4 Reserved. 5.304.5 Reserved. 5.304.3 5.304.6 Outdoor potable water use in landscape areas. | A5.304.3 A5.304.7 Previously developed areas. |
| 5.304.3.1 5.304.6.1 Newly constructed landscapes. | N/A |
| 5.304.3.2 5.304.6.2 Rehabilitated landscapes. | N/A |
| N/A | A5.304.4 A5.304.8 Graywater irrigation systems. |
| SECTION 5.305 – WATER REUSE SYSTEMS (RESERVED) | SECTION A5.305 – WATER REUSE |
| N/A | A5.305.1 Nonpotable water systems. |
| N/A | A5.305.2 Irrigation systems. |
| Division 5.4 – Material Conservation and Resource Efficiency | Division A5.4 – Material Conservation and Resource Efficiency |
| SECTION 5.401 – GENERAL | SECTION A5.401 – GENERAL |
| A5.401.1 Scope. | A5.401.1 Scope. |
| SECTION 5.402 – DEFINITIONS | SECTION A5.402 – DEFINITIONS |
| 4.402.1 Definitions. | A5.402.1 Definitions. |
| SECTION 5.403 – FOUNDATION SYSTEMS (RESERVED) SECTION 5.403 5.410 – BUILDING MAINTENANCE AND OPERATION | SECTION A5.403 – BUILDING MAINTENANCE AND OPERATION FOUNDATION SYSTEMS (RESERVED) |
| 5.403.1 5.410.1 Recycling by occupants. | N/A |
| 5.403.1.1 5.410.1.1 Additions. | N/A |
| 5.403.1.2 5.410.1.2 Sample ordinance. | N/A |
| 5.403.2 5.410.2 Commissioning. [N] New buildings 10,000 square feet and over. | N/A |
| 5.403.2.1 5.410.2.1 Owner’s or Owner representative’s | N/A |
| 5.403.2.2 5.410.2.2 Basisi of Deign (BOD). [N] | N/A |
| 5.403.2.3 5.410.2.3 Commissioning plan. [N] | N/A |
| 5.403.2.4 5.410.2.4 Functional performance testing. [N] | N/A |
| 5.403.2.5 5.410.2.5 Documentation and training. [N] | N/A |
| 5.403.2.5.1 5.410.2.5.1 System manual. | N/A |
| 5.403.2.5.2 5.410.2.5.2 Systems operations training. | N/A |
| 5.403.2.6 5.410.2.6 Commissioning report. | N/A |
| 5.410.3 Reserved. 5.403.3 5.410.4 Testing and adjusting. New buildings less than 10,000 square feet. | N/A |
| 5.403.3.1 5.410.4.1 Reserved. | N/A |
| 5.403.3.2 5.410.4.2 Systems. | N/A |
| 5.403.3.3 5.410.4.3 Procedures. | N/A |
| 5.403.3.3.1 5.410.4.3.1 HVAC balancing. | N/A |
| 5.403.3.4 5.410.4.4 Reporting. | N/A |
| 5.403.3.5 5.410.4.5 Operation and maintenance (O & M) manual. | N/A |
| 5.403.3.5.1 5.410.4.5.1 Inspections and reports. | N/A |
| SECTION 5.404 – EFFICIENT FRAMING TECHNIQUES (RESERVED) | SECTION A5.404 – EFFICIENT FRAMING TECHNIQUES |
| N/A | A5.404.1 Wood framing. |
| N/A | A5.404.1.1 Structural or fire-resistance integrity. |
| N/A | A5.404.1.2 Framing specifications. |
| SECTION 5.405 – MATERIAL SOURCES (RESERVED) | SECTION A5.405 – MATERIAL SOURCES |
| N/A | A5.405.1 Regional materials. |
| N/A | A5.405.2 Bio-based materials. |
| N/A | A5.405.2.1 Certified wood components—sustainability standards. |
| N/A | A5.405.2.2 Rapidly renewable materials. |
| N/A | A5.405.3 Reused materials. |
| N/A | A5.405.4 Recycled content. |
| N/A | Tier 1. The RCV shall not be less than 10 percent of the total material cost of the project . . . |
| N/A | (Equation A5. 4-1) |
| N/A | Tier 2. The RCV shall not be less than 15 percent of the total material cost of the project . . . |
| N/A | (Equation A5. 4-2) |
| N/A | TABLE A5.405.4 – MINIMUM RECYCLED CONTENT LEVELS |
| N/A | A5.405.4.1 Total material cost. |
| N/A | (Equation A5.4-3A) |
| N/A | (Equation A5.4-3B) |
| N/A | A5.405.4.2 Determination of total recycled content value (RCV). |
| N/A | (Equation A5.4-4) |
| N/A | (Equation A5.4-5) |
| N/A | A5.405.4.3 Determination of recycled content value of materials (RCVM). |
| N/A | (Equation A5.4-6) |
| N/A | (Equation A5.4-7) |
| N/A | A5.405.4.4 Determination of recycled content value of assemblies – (RCVA) |
| N/A | (Equation A5.4-8 through Equation A5.4-13) |
| N/A | A5.405.4.5 Alternate method for concrete. |
| N/A | A5.405.5 Cement and concrete. |
| N/A | A5.405.5.1 Cement. |
| N/A | A5.405.5.2 Concrete. |
| N/A | A5.405.5.2.1 Supplementary cementitious materials (SCM). |
| N/A | A5.405.5.2.1.1 Mix design equation. |
| N/A | (Equation A5.4-14) |
| N/A | A5.405.5.3 Concrete manufacture. |
| N/A | A5.405.5.3.1 Recycled aggregates. |
| N/A | A5.405.5.3.2 Mixing water. |
| N/A | A5.405.5.3.3 High strength concrete. |
| N/A | A5.405.5.3.4 Later stages of maturity. |
| N/A | A5.405.5.3.5 Returned fresh concrete. |
| SECTION 5.406 – ENHANCED DURABILITY AND REDUCED MAINTENANCE (RESERVED) | SECTION A5.406 – ENHANCED DURABILITY AND REDUCED MAINTENANCE |
| N/A | A5.406.1 Choice of materials. |
| N/A | A5.406.1.1 Service life. |
| N/A | A5.406.1.2 Reduced maintenance. |
| N/A | A5.406.1.3 Recyclability. |
| SECTION 5.407 – WATER RESISTANCE AND MOISTURE MANAGEMENT | SECTION A5.407 – WATER RESISTANCE AND MOISTURE MANAGEMENT (RESERVED) |
| 5.407.1 Reserved. 5.407.1 5.407.2 Moisture control. | N/A |
| 5.407.1.1 5.407.2.1 Sprinklers. | N/A |
| 5.407.1.2 5.407.2.2 Entries and openings. | N/A |
| 5.407.1.2.1 5.407.2.2.1 Exterior door protection. | N/A |
| 5.407.1.2.2 5.407.2.2.2 Flashing. | N/A |
| SECTION 5.408 – CONSTRUCTION WASTE REDUCTION, DISPOSAL AND RECYCLING | SECTION A5.408 – CONSTRUCTION WASTE REDUCTION, DISPOSAL AND RECYCLING |
| 5.408.1 Construction waste management. | A5.408.1. Enhanced construction waste reduction voluntary tiers. |
| 5.408.1.1 Construction waste management plan. | A5.408.1.1 A5.408.3.1 Enhanced construction waste reduction – Tier 1. |
| 5.408.1.2 Waste management company. | A5.408.1.2 A5.408.3.1.1 Enhanced construction waste reduction – Tier 2. |
| 5.408.1.3 Waste stream reduction alternative. | A5.408.1.3 A5.408.3.1.2 Verification of compliance. |
| 5.408.1.4 Documentation. | N/A |
| 5.408.2 Universal waste. [A] | N/A |
| 5.408.3 Excavated soil and land clearing debris. | N/A |
| SECTION 5.409 – EMBODIED CARBON REDUCTION | SECTION A5.409 – EMBODIED CARBON REDUCTION |
| 5.409.1 Scope. | A5.409.1 Scope. |
| 5.409.2 Whole Building Life Cycle Assessment. | A5.409.2 Whole Building Life Cycle Assessment. |
| 5.409.2.1 Building components. | A5.409.2.1 Tier 1. |
| 5.409.2.2 Referenced study period. | A5.409.2.2 Tier 2. |
| 5.409.2.3 Verification of compliance. | A5.409.2.3 Verification of Compliance. |
| 5.409.3 Product GWP compliance–prescriptive path. Exception 2 EQUATION 5.409.3 | A5.409.3 Product GWP compliance–prescriptive path. Exception 2 EQUATION 5.409.3 |
| TABLE 5.409.3 – PRODUCT GWP LIMITS | TABLE A5.409.3 – PRODUCT GWP LIMITS, TIER 1 AND TIER 2 |
| 5.409.3.1 | A5.409.3.1 |
| 5.409.3.2 Verification of compliance. | A5.409.3.2 Verification of compliance. |
| N/A | A5.409.4 Whole building life cycle assessment of additional impacts. |
| N/A | A5.409.4.1 Impacts to be considered. |
| SECTION 5.410 (Relocated to 5.403 above.) | N/A |
| Division 5.5 – Environmental Quality | Division A5.5 – Environmental Quality |
| SECTION 5.501 – GENERAL | SECTION A5.501 – GENERAL |
| 5.501.1 Scope. | 5.501.1 Scope. |
| SECTION 5.502 – DEFINITIONS | SECTION A5.502 – DEFINITIONS |
| 5.502.1 Definitions. | A5.502.1 Definitions. |
| SECTION 5.503 – FIREPLACES | SECTION A5.503 – FIREPLACES (RESERVED) |
| 5.503.1 General. | N/A |
| 5.503.1.1 Woodstoves. | N/A |
| SECTION 5.504 – POLLUTANT CONTROL | SECTION A5.504 – POLLUTANT CONTROL |
| 5.504.1 Temporary ventilation. | A5.504.1 Indoor air quality (IAQ) during construction. |
| N/A | A5.504.1.1 and A5.504.1.2 |
| 5.504.2 Reserved. 5.504.2 5.504.7 Environmental tobacco smoke (ETS) control. | A5.504.2 IAQ postconstruction. |
| N/A | A5.504.2.1 IAQ testing. |
| N/A | A5.504.2.1.1 Maximum levels of contaminants. |
| N/A | A5.504.2.1.2 Test protocols. |
| N/A | A5.504.2.1.3 Noncomplying building areas. |
| 5.504.3 Covering of duct openings and protection of mechanical equipment during construction. | A5.504.3 A5.504.5 Hazardous particulates and chemical pollutants. |
| N/A | A5.504.3.1 A5.504.5.1 Entryway systems. |
| N/A | A5.504.3.2 A5.504.5.2 Isolation of pollutant sources. |
| 5.504.4 Finish material pollutant control. | A5.504.4 Finish material pollutant control voluntary measures. |
| 5.504.4.1 Adhesives, sealants and caulks. | A5.504.4.1 A5.504.4.5.1 No added formaldehyde Tier 1. |
| TABLE 5.504.4.1.1 TABLE 5.504.4.1 – ADHESIVE VOC LIMIT | N/A |
| TABLE 5.504.4.1.2 TABLE 5.504.4.2 – SEALANT VOC LIMIT | N/A |
| 5.504.4.2 5.504.4.8 Acoustical ceilings and wall panels. | A5.504.4.2 A5.504.4.7 Resilient flooring systems, Tier 1. |
| 5.504.4.2.1 5.504.4.8.1 Verification of compliance. | A5.504.4.2.1 A5.504.4.7.1 Resilient flooring systems, Tier 2. |
| N/A | A5.504.4.2.2 A5.504.4.7.2 Verification of compliance. |
| 5.504.4.3 Paints and coatings. | A5.504.4.3 A5.504.4.8 Thermal insulation, Tier 1. |
| TABLE 5.504.4.3 – VOC CONTENT LIMITS FOR ARCHITECTURAL COATINGS | N/A |
| 5.504.4.3.1 Aerosol paints and coatings. | A5.504.4.3.1 A5.504.4.8.1 Verification of compliance. |
| 5.504.4.3.2 Verification. | N/A |
| 5.504.4.4 Carpet systems. | N/A |
| 5.504.4.4.1 Carpet cushion. | N/A |
| 5.504.4.4.2 Carpet adhesive. | N/A |
| 5.504.4.5 Composite wood products. | N/A |
| TABLE 5.504.4.5 – FORMALDEHYDE LIMITS | N/A |
| 5.504.4.5.1 Early compliance. Reserved. 5.504.4.5.1 5.504.4.5.3 Documentation. | N/A |
| 5.504.4.6 Resilient flooring systems. | N/A |
| 5.504.4.6.1 Verification of compliance. | N/A |
| 5.504.4.7 Thermal insulation. | N/A |
| 5.504.4.7.1 Verification of compliance. | N/A |
| 5.504.5 Filters. | N/A |
| 5.504.5.1 Labeling. | N/A |
| 5.504.6 Reserved. | N/A |
| SECTION 5.505 – INTERIOR MOISTURE CONTROL | SECTION A5.505 – INTERIOR MOISTURE CONTROL (RESERVED) |
| 5.505.1 Indoor moisture control. | N/A |
| SECTION 5.506 – INDOOR AIR QUALITY | SECTION A5.506 – INDOOR AIR QUALITY (RESERVED) |
| 5.506.1 Outside air delivery. | N/A |
| 5.506.2 Carbon dioxide (CO2) monitoring. | N/A |
| 5.506.3 Carbon dioxide (CO2) monitoring in classrooms. | N/A |
| SECTION 5.507 – ENVIRONMENTAL COMFORT | SECTION A5.507 – ENVIRONMENTAL COMFORT |
| 5.507.1 Reserved. 5.507.2 Reserved. 5.507.3 Reserved. 5.507.1 5.507.4 Acoustical control. | A5.507.1 A5.507.5 Acoustical control [DSA-SS]. |
| 5.507.1.1 5.507.4.1 Exterior noise transmission, prescriptive method. | N/A |
| 5.507.1.1.1 5.507.4.1.1 Noise exposure where noise contours are not readily available. | N/A |
| 5.507.1.2 5.507.4.2 Performance method. | N/A |
| 5.507.1.2.1 5.507.4.2.1 Site features. | N/A |
| 5.507.1.2.2 5.507.4.2.2 Documentation of compliance. | N/A |
| 5.507.1.3 5.507.4.3 Interior sound transmission. | N/A |
| N/A | A5.507.2 Daylight. |
| N/A | A5.507.3 Views. |
| N/A | A5.507.3.1 Interior office spaces. |
| N/A | A5.507.3.2 Multi-occupant spaces. |
| N/A | A5.507.4 A5.507.1 Lighting and thermal comfort controls. |
| N/A | A5.507.4.1 A5.507.1.1 and |
| N/A | A5.507.4.2 A5.507.1.2 |
| SECTION 5.508 – OUTDOOR AIR QUALITY | SECTION A5.508 – OUTDOOR AIR QUALITY |
| 5.508.1 Ozone depletion and greenhouse gas reductions. | A5.508.1 Ozone depletion and greenhouse gas reduction voluntary measures. |
| 5.508.1.1 Chlorofluorocarbons (CFCs). | A5.508.1.1 A5.508.1.3 Hydrochlorofluorocarbons (HCFCs). |
| 5.508.1.2 Halons. | A5.508.1.2 A5.508.1.4 Hydrofluorocarbons (HFCs). |
| 5.508.2 Supermarket refrigerant leak reduction. | N/A |
| 5.508.2.1 Refrigerant piping. | N/A |
| 5.508.2.1.1 Threaded pipe. | N/A |
| 5.508.2.1.2 Copper pipe. | N/A |
| 5.508.2.1.2.1 Anchorage. | N/A |
| 5.508.2.1.3 Flared tubing connections. | N/A |
| 5.508.2.1.4 Elbows. | N/A |
| 5.508.2.2 Valves. | N/A |
| 5.508.2.2.1 Pressure relief valves. | N/A |
| 5.508.2.2.1.1 Pressure detection. | N/A |
| 5.508.2.2.2 Access valves. | N/A |
| 5.508.2.2.2.1 Valve caps. | N/A |
| 5.508.2.2.2.2 Seal caps. | N/A |
| 5.508.2.2.2.2.1 Chain tethers. | N/A |
| 5.508.2.3 Refrigerated service cases. | N/A |
| 5.508.2.3.1 Coil coating. | N/A |
| 5.508.2.4 Refrigerant receivers. | N/A |
| 5.508.2.5 Pressure testing. | N/A |
| 5.508.2.5.1 Minimum pressure. | N/A |
| 5.508.2.5.2 Leaks. | N/A |
| 5.508.2.5.3 Allowable pressure change. | N/A |
| 5.508.2.6 Evacuation. | N/A |
| 5.508.2.6.1 First vacuum. | N/A |
| 5.508.2.6.2 Second vacuum. | N/A |
| 5.508.2.6.3 Third vacuum. | N/A |
| N/A | Division A5.6 – Voluntary Tiers |
| N/A | SECTION A5.601 – CALGreen TIER 1 AND TIER 2 |
| N/A | TABLE A5.601 NONRESIDENTIAL BUILDINGS: Green Building Standards Code Proposed Performance Approach |
| N/A | A5.601.1 Scope. |
| N/A | A5.601.2 CALGreen Tier 1. |
| N/A | A5.601.2.1 Prerequisites. |
| N/A | A5.601.2.2 Energy performance. |
| N/A | A5.601.2.3 Tier 1. |
| N/A | A5.601.2.4 Voluntary measures for Tier 1. |
| N/A | A5.601.3 CALGreen Tier 2. |
| N/A | A5.601.3.1 Prerequisites. |
| N/A | A5.601.3.2 Energy performance. |
| N/A | A5.601.3.3 Tier 2. |
| N/A | A5.601.3.4 Voluntary measures for Tier 2. |
| N/A | A5.601.4 Compliance verification. |
| N/A | A5.602 – CALGreen VERIFICATION GUIDELINES MANDATORY MEASURES CHECKLIST (Table – Not Shown) |
| N/A | A5.602.1 – CALGreen VERIFICATION GUIDELINES TIER 1 CHECKLIST (Table – Not Shown) |
| N/A | A5.602.1 – CALGreen VERIFICATION GUIDELINES TIER 1 CHECKLIST (Table – Not Shown) |
| N/A | A5.602.2 – CALGreen VERIFICATION GUIDELINES TIER 2 CHECKLIST (Table – Not Shown) |