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[bookmark: _Hlk200621048]The state agency shall draft the regulations in plain, straightforward language, avoiding technical terms as much as possible and using a coherent and easily readable style. The agency shall draft the regulation in plain English. A notation shall follow the express terms of each regulation listing the specific statutes authorizing the adoption and listing specific statutes being implemented, interpreted, or made specific (Government Code Section 11346.2(a)(1)).
[bookmark: _Hlk110847738]If using assistive technology, please adjust your settings to recognize underline, strikeout and ellipsis.

LEGEND for EXPRESS TERMS 
· Existing California language appears upright.
· Proposed amendments appear in underline and strikeout.
· Ellipses ( ...) indicate existing text remains unchanged.
· [bookmark: _Hlk200620172]Rationale: The justification for the change is shown after each section or series of related changes.
[bookmark: _Hlk200620384]
DRAFT EXPRESS TERMS 
AGENDA ITEM 3e
CHAPTER 5 NONRESIDENTIAL MANDATORY MEASURES,
DIVISION 5.5 – ENVIRONMENTAL QUALITY,
SECTION 5.508 – OUTDOOR AIR QUALITY
5.508.1 Reserved. Ozone depletion and greenhouse gas reductions. Installations of HVAC, refrigeration and fire suppression equipment shall comply with Sections 5.508.1.1 and 5.508.1.2.
5.508.1.1 Chlorofluorocarbons (CFCs). Install HVAC, refrigeration and fire suppression equipment that do not contain CFCs.
5.508.1.2 Halons. Install HVAC, refrigeration and fire suppression equipment that do not contain Halons.
RATIONALE: 
[bookmark: _Hlk200633914][bookmark: _Hlk199254919][bookmark: _Hlk200633868]BSC-CG is proposing to repeal requirements prohibiting installation of equipment containing Chlorofluorocarbons (CFCs) and Halons. This proposal will remove unnecessary code language. 
BSC staff coordinated with the California Air Resources Board (CARB) and DSA to determine the relevancy and application of Section 5.508.1 regarding the installation of HVAC and refrigeration equipment that do not contain CFCs and Halons. Based on information from CARB staff, CFC and halon systems for new installations have already been prohibited for a few decades under CARB and federal regulations. While there are still a small number of existing CFC/halon systems in operation that may allow recycled CFCs, they are not affected by the requirements in Section 5.508.1 for new installations.
CALGreen CEVW Workshop #2 (10-29-2026)
