# A5.602.2
CALGreen VERIFICATION GUIDELINES
TIER 2 CHECKLIST
2019 Edition

Application: This checklist shall be used for nonresidential projects that meet the following: new construction, or building additions of 1,000 square feet or greater, or building alterations

with a permit valuation of $200,000 or more pursuant to Section 301.3, AND are adopting Tier 2 voluntary measures.

Note: All applicable mandatory requirements in Chapter 5 shall be met prior to applying Tier 2 voluntary measures.

Instructions:

Comply with all Tier 2 prerequisite measures from the various categories shown on the table below. Add a “Y” to all mandatory and Tier 2 prerequisite measures in the appropriate columns.

Select the required number of additional electives from those categories shown on the table below and add a “Y” on the selected elective and add an “N” on the rest.

Count the total number of Tier 2 prerequisite measures plus the additional electives and write down the total number at the end of the checklist. Determine if the required number of

Tier 2 measures have been selected to achieve Tier 2 compliance.

Y = Yes (section has been selected and/or included)

N = No (section has not been selected and/or included)

O = Other (provide explanation)

[N] = New construction pursuant to Section 301.3

[A] = Additions and/or Alterations pursuant to Section 301.3

# Chapter 5 DIVISIONS

## DIVISION 5.1 Planning and Design
(Select three electives from this Division)

| Requirement | SECTION TITLE | CODE SECTION | Y | N | O | PLAN SHEET, SPEC, OR ATTACH REFERENCE |
| --- | --- | --- | --- | --- | --- | --- |
| Mandatory | Storm water pollution prevention for projects that disturb less than 1 acre of land | 5.106.1 through 5.106.2 |  |  |  |  |
| Mandatory | Short-term bicycle parking (with exception) | 5.106.4.1.1 |  |  |  |  |
| Mandatory | Long-term bicycle parking | 5.106.4.1.2 through 5.106.4.1.5 |  |  |  |  |
| Mandatory | Designated parking for clean air vehicles | 5.106.5.2 |  |  |  |  |
| Tier 2 Prerequisite | Designated parking—10% of parking capacity w/ parking stall markings and stall identification | A5.106.5.1, A5.106.5.1.2, A5.106.5.1.3, A5.106.5.1.4 |  |  |  |  |
| Mandatory | Parking stall marking | 5.106.5.2.1 |  |  |  |  |
| Mandatory | Single charging space requirements | 5.106.5.3.1 |  |  |  |  |
| Mandatory | Multiple charging space requirements [N] | 5.106.5.3.2 |  |  |  |  |
| Tier 2 Prerequisite | Electric vehicle (EV) charging [N] with associated electrical panel identification and designated parking allowance | A5.106.5.3, A5.106.5.3.1, A5.106.5.3.3, A5.106.5.3.4 |  |  |  |  |
| Mandatory | EV charging space calculation [N] (with exceptions) | 5.106.5.3.3 |  |  |  |  |
| Mandatory | [N] Identification | 5.106.5.3.4 |  |  |  |  |
| Mandatory | [N] Future charging spaces | 5.106.5.3.5 |  |  |  |  |
| Mandatory | Light pollution reduction [N] (with exceptions and notes) | 5.106.8 |  |  |  |  |
| Mandatory | Grading and paving (exception for additions and alterations not altering the drainage path) | 5.106.10 |  |  |  |  |
| Tier 2 Prerequisite | Cool roof (A5.106.11.2.2): SRI 82 when ≤ 2:12, SRI 27 when > 2:12 | A5.106.11.2 |  |  |  |  |
| Elective | Community connectivity | A5.103.1 |  |  |  |  |
| Elective | Brownfield or greyfield site redevelopment or infill area development | A5.103.2, A5.103.2.1 |  |  |  |  |
| Elective | Reduce development footprint and optimize open space | A5.104.1, A5.104.1.1, A5.104.1.2, A5.104.1.3 |  |  |  |  |
| Elective | Disassemble and reuse existing building structure (75%) with exceptions | A5.105.1.1 |  |  |  |  |
| Elective | Disassemble and reuse existing nonstructural elements (50%) with exceptions | A5.105.1.2 |  |  |  |  |
| Elective | Salvage | A5.105.1.3 |  |  |  |  |
| Elective | Storm water design | A5.106.2, A5.106.2.1, A5.106.2.2 |  |  |  |  |
| Elective | Low Impact Development (LID) | A5.106.3, A5.106.3.1, A5.106.3.2 |  |  |  |  |
| Elective | Changing rooms with note | A5.106.4.3 |  |  |  |  |
| Elective | Parking capacity with reduced parking capacity option | A5.106.6, A5.106.6.1 |  |  |  |  |
| Elective | Exterior wall shading with fenestration and/or opaque wall area option | A5.106.7, A5.106.7.1, A5.106.7.2 |  |  |  |  |
| Elective | Heat island effect | A5.106.11 |  |  |  |  |

## DIVISION 5.2 Energy Efficiency

| Requirement | SECTION TITLE | CODE SECTION | Y | N | O | PLAN SHEET, SPEC, OR ATTACH REFERENCE |
| --- | --- | --- | --- | --- | --- | --- |
| Mandatory | Meet the minimum energy efficiency standard | 5.201.1 |  |  |  |  |
| Tier 2 Prerequisite | Energy performance—outdoor lighting power 90% of Part 6 | A5.203.1.1.1 |  |  |  |  |
| Tier 2 Prerequisite | If applicable, service for water heating in restaurants of 8,000 sf or greater | A5.203.1.1.2 |  |  |  |  |
| Tier 2 Prerequisite | Energy budget 90% or 85% of Part 6 calculated value of allowance | A5.203.1.2.2 |  |  |  |  |
| Elective | On-site renewable energy (with documentation) | A5.211.1, A5.211.1.1 |  |  |  |  |
| Elective | Green power | A5.211.3 |  |  |  |  |
| Elective | Elevators with car lights and fan | A5.212.1.1, A5.212.1.1.1 |  |  |  |  |
| Elective | Escalators | A5.212.1.2 |  |  |  |  |
| Elective | Controls that reduce energy | A5.212.1.4 |  |  |  |  |
| Elective | Steel framing | A5.213.1 |  |  |  |  |

## DIVISION 5.3 Water Efficiency and Conservation
(Select three electives from this Division)

| Requirement | SECTION TITLE | CODE SECTION | Y | N | O | PLAN SHEET, SPEC, OR ATTACH REFERENCE |
| --- | --- | --- | --- | --- | --- | --- |
| Mandatory | Separate meters (new buildings or additions > 50,000 sf that consume more than 100 gal/day) | 5.303.1.1 |  |  |  |  |
| Mandatory | Separate meters (for tenants in new buildings or additions that consume more than 1,000 gal/day) | 5.303.1.2 |  |  |  |  |
| Tier 2 Prerequisite | Water reduction Tier 2 — 20% or 25% savings over the “water use baseline” in Table A5.303.2.2 | A5.303.2.3.2 or A5.303.2.3.3 |  |  |  |  |
| Mandatory | Water closets shall not exceed 1.28 gallons per flush (gpf) | 5.303.3.1 |  |  |  |  |
| Mandatory | Wall-mounted urinals shall not exceed 0.125 gpf | 5.303.3.2.1 |  |  |  |  |
| Mandatory | Floor-mounted urinals shall not exceed 0.5 gpf | 5.303.3.2.2 |  |  |  |  |
| Mandatory | Single showerhead shall have maximum flow rate of 1.8 gpm (gallons per minute) at 80 psi | 5.303.3.3.1 |  |  |  |  |
| Mandatory | Multiple showerheads serving one shower shall have a combined flow rate of 1.8 gpm at 80 psi | 5.303.3.3.2 |  |  |  |  |
| Mandatory | Nonresidential lavatory faucets | 5.303.3.4.1 |  |  |  |  |
| Mandatory | Kitchen faucets | 5.303.3.4.2 |  |  |  |  |
| Mandatory | Wash fountains | 5.303.3.4.3 |  |  |  |  |
| Mandatory | Metering faucets | 5.303.3.4.4 |  |  |  |  |
| Mandatory | Metering faucets for wash fountains | 5.303.3.4.5 |  |  |  |  |
| Mandatory | Food waste disposers | 5.303.4.1 |  |  |  |  |
| Mandatory | Areas of additions or alterations | 5.303.5 |  |  |  |  |
| Mandatory | Standards for plumbing fixtures and fittings | 5.303.6 |  |  |  |  |
| Mandatory | Outdoor water use in landscape areas (with notes) | 5.304.1 |  |  |  |  |
| Elective | Nonpotable water systems for indoor use | A5.303.2.3.4 |  |  |  |  |
| Elective | Appliances and fixtures for commercial application | A5.303.3 |  |  |  |  |
| Elective | Nonwater supplied urinals | A5.303.4.1 |  |  |  |  |
| Elective | Dual plumbing | A5.303.5 |  |  |  |  |
| Elective | Outdoor potable water use | A5.304.2 |  |  |  |  |
| Elective | Restoration of areas disturbed by construction | A5.304.6 |  |  |  |  |
| Elective | Previously developed sites (with exception) | A5.304.7 |  |  |  |  |
| Elective | Graywater irrigation system | A5.304.8 |  |  |  |  |
| Elective | Nonpotable water systems | A5.305.1 |  |  |  |  |
| Elective | Irrigation systems | A5.305.2 |  |  |  |  |

## DIVISION 5.4 Material Conservation and Resource Efficiency
(Select three electives from this Division)

| Requirement | SECTION TITLE | CODE SECTION | Y | N | O | PLAN SHEET, SPEC, OR ATTACH REFERENCE |
| --- | --- | --- | --- | --- | --- | --- |
| Tier 2 Prerequisite | Recycled content for 15% of total material cost | A5.405.4, A5.405.4.1 through A5.405.4.5 |  |  |  |  |
| Mandatory | Weather protection | 5.407.1 |  |  |  |  |
| Mandatory | Moisture control: sprinklers | 5.407.2.1 |  |  |  |  |
| Mandatory | Moisture control: exterior door protection | 5.407.2.2.1 |  |  |  |  |
| Mandatory | Moisture control: flashing | 5.407.2.2.2 |  |  |  |  |
| Mandatory | Construction waste management—comply with either: Sections 5.408.1.1, 5.408.1.2, 5.408.1.3 or more stringent local ordinance | 5.408.1.1, 5.408.1.2, 5.408.1.3 |  |  |  |  |
| Mandatory | Construction waste management: documentation | 5.408.1.4 |  |  |  |  |
| Mandatory | Universal waste [A] | 5.408.2 |  |  |  |  |
| Mandatory | Excavated soil and land clearing debris (100% reuse or recycle) | 5.408.3 |  |  |  |  |
| Tier 2 Prerequisite | Enhanced construction waste reduction (80%—Tier 2 with verification) | A5.408.3.1, A5.408.3.1.2 |  |  |  |  |
| Mandatory | Recycling by occupants (with exception) | 5.410.1 |  |  |  |  |
| Mandatory | Recycling by occupants: additions (with exception) | 5.410.1.1 |  |  |  |  |
| Mandatory | Recycling by occupants: sample ordinance | 5.410.1.2 |  |  |  |  |
| Mandatory | Commissioning new buildings (≥ 10,000 sf) [N] | 5.410.2 |  |  |  |  |
| Mandatory | Owner’s or owner representative’s Project Requirements (OPR) [N] | 5.410.2.1 |  |  |  |  |
| Mandatory | Basis of Design (BOD) [N] | 5.410.2.2 |  |  |  |  |
| Mandatory | Commissioning plan [N] | 5.410.2.3 |  |  |  |  |
| Mandatory | Functional performance testing [N] | 5.410.2.4 |  |  |  |  |
| Mandatory | Documentation and training [N] | 5.410.2.5 |  |  |  |  |
| Mandatory | Systems manual [N] | 5.410.2.5.1 |  |  |  |  |
| Mandatory | Systems operation training [N] | 5.410.2.5.2 |  |  |  |  |
| Mandatory | Commissioning report [N] | 5.410.2.6 |  |  |  |  |
| Mandatory | Testing and adjusting for new buildings < 10,000 sf or new systems that serve additions or alterations [A] | 5.410.4 |  |  |  |  |
| Mandatory | System testing plan for renewable energy, landscape irrigation and water reuse [A] | 5.410.4.2 |  |  |  |  |
| Mandatory | Procedures for testing and adjusting | 5.410.4.3 |  |  |  |  |
| Mandatory | Procedures for HVAC balancing | 5.410.4.3.1 |  |  |  |  |
| Mandatory | Reporting for testing and adjusting | 5.410.4.4 |  |  |  |  |
| Mandatory | Operation and maintenance (O&M) manual | 5.410.4.5 |  |  |  |  |
| Mandatory | Inspection and reports | 5.410.4.5.1 |  |  |  |  |
| Elective | Wood framing or OVE (with note) | A5.404.1, A5.404.1.1, A5.404.1.2 |  |  |  |  |
| Elective | Regional materials | A5.405.1 |  |  |  |  |
| Elective | Bio-based materials | A5.405.2 |  |  |  |  |
| Elective | Rapidly renewable materials | A5.405.2.2 |  |  |  |  |
| Elective | Reused materials with note | A5.405.3 |  |  |  |  |
| Elective | Cement and concrete: cement | A5.405.5.1 |  |  |  |  |
| Elective | Cement and concrete: concrete with SCM & Mix design equation | A5.405.5.2, A5.405.5.2.1, A5.405.5.2.1.1 |  |  |  |  |
| Elective | Cement and concrete: additional means of compliance | A5.405.5.3, A5.405.5.3.1, A5.405.5.3.1.1,A5.405.5.3.1.2, A5.405.5.3.2, A5.405.5.3.2.1, A5.405.5.3.2.2, A5.405.5.3.2.3, A5.405.5.3.2.4 |  |  |  |  |
| Elective | Choice of materials | A5.406.1, A5.406.1.1, A5.406.1.2, A5.406.1.3 |  |  |  |  |
| Elective | Life cycle assessment: general | A5.409.1 |  |  |  |  |
| Elective | Whole building life cycle assessment | A5.409.2, A5.409.2.1, A5.409.2.2 |  |  |  |  |
| Elective | Materials and system assemblies | A5.409.3 |  |  |  |  |
| Elective | Substitution for prescriptive standards | A5.409.4 |  |  |  |  |
| Elective | Verification of compliance | A5.409.5 |  |  |  |  |

## DIVISION 5.5 Environmental Quality
(Select three electives from this Division)

| Requirement | SECTION TITLE | CODE SECTION | Y | N | O | PLAN SHEET, SPEC, OR ATTACH REFERENCE |
| --- | --- | --- | --- | --- | --- | --- |
| Mandatory | Fireplaces | 5.503.1 |  |  |  |  |
| Mandatory | Woodstoves | 5.503.1.1 |  |  |  |  |
| Mandatory | Temporary ventilation | 5.504.1 |  |  |  |  |
| Mandatory | Covering of ducts openings and protection of mechanical equipment during construction | 5.504.3 |  |  |  |  |
| Mandatory | Adhesives, sealants, and caulks | 5.504.4.1 |  |  |  |  |
| Mandatory | Paints and coatings | 5.504.4.3 |  |  |  |  |
| Mandatory | Aerosol paints and coatings | 5.504.4.3.1 |  |  |  |  |
| Mandatory | Aerosol paints and coatings: verification | 5.504.4.3.2 |  |  |  |  |
| Mandatory | Carpet systems | 5.504.4.4 |  |  |  |  |
| Mandatory | Carpet cushion | 5.504.4.4.1 |  |  |  |  |
| Mandatory | Carpet adhesives per Table 5.504.4.1 | 5.504.4.4.2 |  |  |  |  |
| Mandatory | Composite wood products | 5.504.4.5 |  |  |  |  |
| Mandatory | Composite wood products: documentation | 5.504.4.5.3 |  |  |  |  |
| Mandatory | Resilient flooring systems | 5.504.4.6 |  |  |  |  |
| Mandatory | Resilient flooring: verification of compliance | 5.504.4.6.1 |  |  |  |  |
| Tier 2 Prerequisite | Resilient flooring systems, Tier 2 (with verification of compliance) | A5.504.4.7, A5.504.4.7.2 |  |  |  |  |
| Tier 2 Prerequisite | Thermal insulation, Tier 2 (with verification of compliance) | A5.504.4.8, A5.504.4.8.2 |  |  |  |  |
| Mandatory | Filters (with exceptions) | 5.504.5.3 |  |  |  |  |
| Mandatory | Filters: labeling | 5.504.5.3.1 |  |  |  |  |
| Mandatory | Environmental tobacco smoke (ETS) control | 5.504.7 |  |  |  |  |
| Mandatory | Indoor moisture control | 5.505.1 |  |  |  |  |
| Mandatory | Outside air delivery | 5.506.1 |  |  |  |  |
| Mandatory | Carbon dioxide (CO2) monitoring | 5.506.2 |  |  |  |  |
| Mandatory | Acoustical control (with exception) | 5.507.4 |  |  |  |  |
| Mandatory | Exterior noise transmission, prescriptive method (with exceptions) | 5.507.4.1 |  |  |  |  |
| Mandatory | Noise exposure where noise contours are not readily available | 5.507.4.1.1 |  |  |  |  |
| Mandatory | Performance method | 5.507.4.2 |  |  |  |  |
| Mandatory | Site features | 5.507.4.2.1 |  |  |  |  |
| Mandatory | Documentation of compliance | 5.507.4.2.2 |  |  |  |  |
| Mandatory | Interior sound transmission (with note) | 5.507.4.3 |  |  |  |  |
| Mandatory | Ozone depletion and greenhouse gas reductions | 5.508.1 |  |  |  |  |
| Mandatory | Chlorofluorocarbons (CFCs) | 5.508.1.1 |  |  |  |  |
| Mandatory | Halons | 5.508.1.2 |  |  |  |  |
| Mandatory | Supermarket refrigerant leak reduction for retail food stores 8,000 square feet or more | 5.508.2 through 5.508.2.6.3 |  |  |  |  |
| Elective | Indoor air quality (IAQ) during construction | A5.504.1, A5.504.1.1, A5.504.1.2 |  |  |  |  |
| Elective | IAQ postconstruction | A5.504.2 |  |  |  |  |
| Elective | IAQ testing | A5.504.2.1, A5.504.2.1, A5.504.2.1.2, A5.504.2.1.3 |  |  |  |  |
| Elective | No added formaldehyde Tier 1 (with notes) | A5.504.4.5.1 |  |  |  |  |
| Elective | Acoustical ceilings and wall panels (with verification of compliance) | A5.504.4.9, A5.504.4.9.1 |  |  |  |  |
| Elective | Hazardous particulates and chemical pollutants | A5.504.5 |  |  |  |  |
| Elective | Entryway systems | A5.504.5.1 |  |  |  |  |
| Elective | Isolation of pollutant sources | A5.504.5.2 |  |  |  |  |
| Elective | Lighting and thermal comfort controls | A5.507.1, A5.507.1.1 through A5.507.1.2 |  |  |  |  |
| Elective | Daylight | A5.507.2 |  |  |  |  |
| Elective | Views | A5.507.3 |  |  |  |  |
| Elective | Interior office spaces | A5.507.3.1 |  |  |  |  |
| Elective | Multi-occupant spaces (with exceptions) | A5.507.3.2 |  |  |  |  |
| Elective | Hydrochlorofluorocarbons (HCFCs) | A5.508.1.3 |  |  |  |  |
| Elective | Hydrofluorocarbons (HFCs) | A5.508.1.4 |  |  |  |  |

## Additional Electives

| Requirement | SECTION TITLE | CODE SECTION | Y | N | O | PLAN SHEET, SPEC, OR ATTACH REFERENCE |
| --- | --- | --- | --- | --- | --- | --- |
| Additional Measures | Select 3 additional elective measures from any division | Enter Section #s: 1. 2. 3. |  |  |  |  |

| Total number of elective measures required for Tier 2 is: | 25 |
| --- | --- |
| Enter the total number of elective measures selected: |  |

| Documentation Author's/Responsible Designer's Declaration Statement Check the appropriate box(es) on the list below. □ Mandatory: I attest that the mandatory portion of this Tier 2 checklist is accurate and complete. □ Tier 2 compliant: I attest that the total number of voluntary measures selected meet or exceed the total number required to achieve Tier 2 compliance. □ Partial Tier 2 compliant: I attest that the total number of voluntary measures selected do not meet the total number required to achieve Tier 2 compliance: however, partial Tier 2 compliance has been achieved. |  |
| --- | --- |
| Signature: |  |
| Company: | Date: |
| Address: | License: |
| City/State/Zip: | Phone: |