Item 5A. Toolkit Revisions and Updates

Accessibility Construction Inspection Checklist

Page: 3

Note 1 [ROUGH FORM FOUNDATION INSPECTION]

Author: Debbie Wong

Add: “11B-303.5”

Recommendation: "11B-303.1, 11B-303.5"

Page: 4

Note 1 [VERIFY ROUGH PLUMBING...]

Author: Debbie Wong

Delete: "Both high and low"

Recommendation: “Plumbing for Drinking Fountains and Bottle Filling Stations.”

Note 2 [FINAL INSPECTION CHECKLIST, EXTERIOR ROUTES]

Author: Mehdi Shadyab

Revise: “Installation and color of required detectable warnings.”

Recommendation: “Color and Contrast of Detectable Warnings”

Page: 5

Note 1 [PARKING]

Author: Mehdi Shadyab

Revise: “Slope of accessible parking spaces and access aisles.”

Recommendation: “Detectable warnings in parking spaces and access aisle shall not be permitted.”

Note 2 [DOORS]

Author: Mehdi Shadyab

Revise: “Bevel landings each side of doors.”

Recommendation: “Detectable warnings at floor or ground surface within required maneuvering clearances shall not be permitted.”

Page: 6

Note 1 [PLUMBING/RESTROOMS]

Author: Mehdi Shadyab

Revise: “11B-6032”

Recommendation: “Correct section number is: 11B-603.2”

Note 2 [PLUMBING/RESTROOMS]

Author: Debbie Wong

Revise: “Drinking fountains.”

Recommendation: “Drinking fountains and bottle filling stations.”