2017 TOP 10 VIOLATIONS

(OVERALL)

| Rank # | Key Code | Violation Description | Total Number of Violations | Percent of Total |
| --- | --- | --- | --- | --- |
| 1 | 11 | Parking: parking lot does not contain the minimum number of accessible parking spaces | 1,792 | 17% |
| 2 | 16 | Accessible Route and Entry: curb ramps or entrance ramps are non-compliant or non-existent. | 1,091 | 10% |
| 3 | 12 | Parking: the existing parking spaces are not compliant. | 947 | 9% |
| 4 | 15 | Accessible Route and Entry: routes to and from the parking lot or public right-of-way are not accessible. | 830 | 8% |
| 5 | 14 | Parking: van-accessible parking, van access aisles and/or loading zones are non-compliant or non-existent. | 645 | 6% |
| 6 | 26 | Access within Public Facility: heights of surfaces such as counters, bars, and tables, for example, are non-compliant. | 608 | 6% |
| 7 | 13 | Parking: signage in parking lot is non-compliant. For example, spaces need to be designated as reserved by a sign showing the symbol of accessibility. | 504 | 5% |
| 8 | 44 | General Violations: accessible features are not maintained. | 434 | 4% |
| 9 | 18 | Accessible Route and Entry: handles, pulls, latches, locks, or other operating devices are not accessible. | 405 | 4% |
| 10 | 20 | Access within Public Facility: access aisles or path of travel within building are not accessible. | 367 | 3% |

Total:	7,623		72%

2017 TOP 10 VIOLATIONS

(ESTABLISHMENTS SERVING FOOD OR DRINK)

| Rank # | Key Code | Violation Description | Total Number of Violations | Percent of Total |
| --- | --- | --- | --- | --- |
| 1 | 26 | Access within Public Facility: heights of surfaces such as counters, bars, and tables, for example, are non-compliant. | 237 | 9% |
| 2 | 16 | Accessible Route and Entry: curb ramps or entrance ramps are non-compliant or non-existent. | 197 | 8% |
| 3 | 12 | Parking: the existing parking spaces are not compliant. | 192 | 8% |
| 4 | 11 | Parking: parking lot does not contain the minimum number of accessible parking spaces | 189 | 7% |
| 5 | 8 | Height and Clearance: height of top and bottom of counters/sinks are not accessible, plumbing insufficiently covered, coat racks too high, light switch too high. | 140 | 5% |
| 6 | 15 | Accessible Route and Entry: routes to and from the parking lot or public right-of-way are not accessible. | 137 | 5% |
| 7 | 1 | Bathrooms: entry doors are not accessible or not on an accessible route. | 119 | 5% |
| 8 | 44 | General Violations: accessible features are not maintained. | 114 | 4% |
| 9 | 14 | Parking: van-accessible parking, van access aisles and/or loading zones are non-compliant or non-existent. | 113 | 4% |
| 10 | 5 | Bathrooms: lavatories and mirrors are not accessible. | 110 | 4% |

Total		2,571		60%

2017 TOP 10 VIOLATIONS

(SALES OR RENTAL ESTABLISHMENTS)

| Rank # | Key Code | Violation Description | Total Number of Violations | Percent of Total |
| --- | --- | --- | --- | --- |
| 1 | 11 | Parking: parking lot does not contain the minimum number of accessible parking spaces | 792 | 17% |
| 2 | 16 | Accessible Route and Entry: curb ramps or entrance ramps are non-compliant or non-existent. | 541 | 12% |
| 3 | 12 | Parking: the existing parking spaces are not compliant. | 423 | 9% |
| 4 | 15 | Accessible Route and Entry: routes to and from the parking lot or public right-of-way are not accessible. | 381 | 8% |
| 5 | 14 | Parking: van-accessible parking, van access aisles and/or loading zones are non-compliant or non-existent. | 251 | 5% |
| 6 | 13 | Parking: signage in parking lot is non-compliant. For example, spaces need to be designated as reserved by a sign showing the symbol of accessibility. | 238 | 5% |
| 7 | 18 | Accessible Route and Entry: handles, pulls, latches, locks, or other operating devices are not accessible. | 225 | 5% |
| 8 | 26 | Access within Public Facility: heights of surfaces such as counters, bars, and tables, for example, are non-compliant. | 214 | 5% |
| 9 | 20 | Access within Public Facility: access aisles or path of travel within building are not accessible. | 212 | 5% |
| 10 | 44 | General Violations: accessible features are not maintained. | 180 | 4% |

Total		4,666		74%

2017 TOP 10 VIOLATIONS

(SERVICE ESTABLISHMENTS)

| Rank # | Key Code | Violation Description | Total Number of Violations | Percent of Total |
| --- | --- | --- | --- | --- |
| 1 | 11 | Parking: parking lot does not contain the minimum number of accessible parking spaces | 890 | 31% |
| 2 | 12 | Parking: the existing parking spaces are not compliant. | 342 | 12% |
| 3 | 16 | Accessible Route and Entry: curb ramps or entrance ramps are non-compliant or non-existent. | 300 | 10% |
| 4 | 15 | Accessible Route and Entry: routes to and from the parking lot or public right-of-way are not accessible. | 281 | 10% |
| 5 | 14 | Parking: van-accessible parking, van access aisles and/or loading zones are non-compliant or non-existent. | 264 | 9% |
| 6 | 13 | Parking: signage in parking lot is non-compliant. For example, spaces need to be designated as reserved by a sign showing the symbol of accessibility. | 164 | 6% |
| 7 | 26 | Access within Public Facility: heights of surfaces such as counters, bars, and tables, for example, are non-compliant. | 107 | 4% |
| 8 | 44 | General Violations: accessible features are not maintained. | 101 | 4% |
| 9 | 20 | Access within Public Facility: access aisles or path of travel within building are not accessible. | 63 | 2% |
| 10 | 30 | General Public Equipment: gas pumps, automatic teller machines, or fare machines are not compliant. | 52 | 2% |

Total		2,907		88%