STATE OF CALIFORNIA

BUILDING STANDARDS COMMISSION


​​
45-DAY EXPRESS TERMS

FOR

PROPOSED BUILDING STANDARDS

OF THE

DIVISION OF THE STATE ARCHITECT (DSA-AC)

REGARDING PROPOSED CHANGES TO

THE CALIFORNIA EXISTING BUILDING CODE

CALIFORNIA CODE OF REGULATIONS, TITLE 24, PART 10
2016 CALIFORNIA EXISTING BUILDING CODE

TRIENNIAL CODE CYCLE

	LEGEND FOR EXPRESS TERMS

1. Existing California amendments or code language being modified are in italics when they appear in the model code text: All such language appears in italics, modified language is underlined. 
2. New California amendments:  All such language appears underlined and in italics.

3. Repealed text:  All such language appears in strikeout.


45-DAY EXPRESS TERMS



DSA-AC proposes to amend specific portions of the 2015 International Existing Building Code and adopt into the 2016 California Existing Building Code, as indicated.



CHAPTER 1

SCOPE AND ADMINISTRATION

DIVISION I

CALIFORNIA ADMINISTRATION



ITEM 1.00

CHAPTER 1, DIVISION I – MATRIX ADOPTION TABLE

	Adopting Agency
	DSA-AC

	Adopt entire California Chapter
	

	Adopt entire California Chapter as amended (amended Sections listed below)
	

	Adopt only those Sections that are listed below
	X

	Chapter / Section
	
	

	1.9.1
	
	X

	1.9.1.1
	
	X




ITEM 1.01
(begin underline) SECTION 1.9

DIVISION OF THE STATE ARCHITECT

1.9.1 Division of the State Architect ─ Access Compliance.

Buildings or facilities where accessibility is required for applications listed in California Code of Regulations, Title 24, Part 2 (California Building Code), Chapter 1, Section 1.9.1 regulated by the Division of the State Architect–Access Compliance shall comply with Title 24, Part 2 , Chapter 11A or 11B, as applicable under authority cited by CA Government Code Section 4450 and in reference cited by CA Government Code Sections 4450 through 4461, 12955.1(c), and CA Health and Safety Code Sections 18949.1, 19952 through 19959.

1.9.1.1 Adopting agency identification. Division of the State Architect-Access Compliance amendments in this code appear preceded with the acronym [DSA-AC]. (end underline)


CHAPTER 4

PRESCRIPTIVE COMPLIANCE METHOD



ITEM 4.00

CHAPTER 4 ─ MATRIX ADOPTION TABLE

	Adopting Agency
	DSA-AC

	Adopt entire Chapter
	

	Adopt entire Chapter as amended (amended Sections listed below)
	

	Adopt only those Sections that are listed below
	X

	Chapter / Section
	
	

	410 (1st paragraph below title only)
	
	X




ITEM 4.01

SECTION 410

ACCESSIBILITY FOR EXISTING BUILDINGS

(begin underline) [DSA-AC] Buildings or facilities where accessibility is required for applications listed in Title 24, Part 2, California Building Code, Chapter 1, Section 1.9.1 regulated by the Division of the State Architect-Access Compliance shall comply with Title 24, Part 2, California Building Code, Chapter 11A or Chapter 11B, as applicable. (end underline)
410.1 Scope. ... 



ITEM 6.01

WITHDRAWN



ITEM 7.01

WITHDRAWN



ITEM 8.01

WITHDRAWN



ITEM 9.01

WITHDRAWN



ITEM 10.01

WITHDRAWN



ITEM 11.01

WITHDRAWN



ITEM 15.01

WITHDRAWN



Notation

Authority: Government Code Section 4450. 

References: Government Code Sections 4450 through 4461, and 12955.1(c) and Health and Safety Code Sections 18949.1, 19952 through 19959.
	
	
	

	
	
	


DGS BSC TP-103 (Rev. 7/14) 45-Day Express Terms

  August 3, 2015
Rulemaking file #03-15 - Part #10 – 2016 Tri Code Cycle
1 of 3
2016 Part 10 – 45-Day-Express-Terms.doc
DGS-DSA-Access Compliance




