## Slide 1: Common Errors and Omissions
Presenter: U.S. Access Boardmember, Scott J. Windley

## Slide 2: Session agenda
Scoping
Building Blocks
Accessible Routes
General Site & Building Elements
Plumbing Elements & Facilities
Communication Elements & Features
Special Rooms, Spaces, & Elements
Built-in Elements
Maintenance & Policy
Questions?

## Slide 3: introduction
The errors and omissions presented today are by no means definitive.
What is presented here are common errors that we have experienced in:
  Technical Assistance questions
  Questions during training sessions

## Slide 4: Chapter 2: Scoping Chapter 3: Building Blocks

## Slide 5: Elevator Exception § 206.2.3
The elevator exception is mistakenly thought to be an AND condition instead of and OR condition.

## Slide 6: Level of changes § 303
One of the threshold configurations is not correct.

## Slide 7: Level Changes § 303
The one with the abrupt edge at the top is incorrect.

## Slide 8: Protruding Objects § 307 (1 of 2)
Overhead Objects and Wall Mounted Objects
  80 inches above head
  0 to 27 inches are within can sweep

## Slide 9: Protruding Objects § 307 (2 of 2)
Many things can become protruding objects that were not intended to be; or were not when first installed.

## Slide 10: Reach Ranges § 308 (1 of 3)
The thing to remember with reach is to think about it from a seated position by someone who is not able to bend their body into strange angles.

## Slide 11: Reach Ranges § 308 (2 of 3)
Many designers are not aware of the horizontal aspect of reach limits (which can be even more limited depending on an individual persons abilities).

## Slide 12: Reach Ranges § 308 (3 of 3)
Many times reach ranges for accessibility are not thought of when some equipment or devices are installed. Example: gas pumps

## Slide 13: Chapter 4: Accessible Routes

## Slide 14: Accessible Routes § 403.5.1
Items impeding the accessible route: signs, utility poles, street trees, structural columns etc.

## Slide 15: Curb Ramp Landing § 406.4
No landing at the top of perpendicular curb ramps
  No space available (grass or a building)
  Object at top of ramp (fire hydrant, utility, etc.)

## Slide 16: Or how to make your curb ramp completely unusable

## Slide 17: Curb Ramps with Handrails?
Curb ramps should never need handrails (nor are they required) even when they are longer than 6 feet.

## Slide 18: Temporary Routes
Many temporary routes do not provide for the needs of all users like:
  No curb ramp on or off sidewalk
  No delineated route or accessible signage

## Slide 19: Temporary routes
Examples of temporary curb ramp and good delineation of a temporary route

## Slide 20: Door Opening Force § 404.2.9
Interior door closers must be adjustable to 5 pounds of force or less.

## Slide 21: Chapter 5: general site and building elements

## Slide 22: Accessible Parking on Shortest Accessible Route § 208.3.1
There may be shorter pedestrian routes that are not accessible

## Slide 23: Van Parking Spaces § 208.2.4
Insufficient space to deploy lift at car only space

## Slide 24: Van Parking Spaces § 208.2.4
One for every six accessible spaces or fraction thereof.

## Slide 25: Passenger Loading Zone § 503.4
Loading zone not at same level as vehicle pull-up space.

## Slide 26: Passenger Loading Zone § 503.4
Rear lift gates.
Transfers to and from cars.

## Slide 27: Passenger Loading Zone § 503.4
Loading zone at SAME level as vehicle pull-up space

## Slide 28: Chapter 6: plumbing elements and facilities

## Slide 29: Insufficient Space Beside Accessible Water Closet
Lavatory overlap no longer permitted §604.3

## Slide 30: Water Closet Clearance § 604.2
Allows space for side transfers.

## Slide 31: Water Closet Clearance § 604.3.2
Exception for residential units still permits encroachment

## Slide 32: Side Wall Grab Bar at Water Closets § 604.5.1
Both dimensions from rear wall are critical.

## Slide 33: Large Roll Toilet Dispensers Obstruct Use § 604.7 & § 609.3
They just don’t fit!

## Slide 34: Provisions Affecting Dispensers Locations
Dispenser Outlet Location for Recessed Dispensers § 604.7
Spacing of Grab Bars § 609.3

## Slide 35: TP Dispenser Location
Grab bar height (33”-36”) and clearances further limit location of non-recessed dispensers.

## Slide 36: Diaper Changing Table Location § 604.3.2

## Slide 37: Diaper Changing Table Location
Strongly encourage and recommend locating the baby changing table outside of the accessible toilet compartment.

## Slide 38: Seats § 607.3 & § 608.3
Bars cannot obstruct seat use

## Slide 39: Tub Seat in Bathtub § 610.2
Free standing – does NOT meet Standards
Fastens to rim of tub - meets Standards

## Slide 40: Shower Seats § 610.3
Folding seat securely fixed to wall.

## Slide 41: Shower Seats § 610
Adequate reinforcing must be provided § 610.4

## Slide 42: Shower Seats § 610.3
Seat placement more than 3 inches from entry § 610.3

## Slide 43: Shower Seats § 610.3.2
Seat installed incorrectly § 610.3.2

## Slide 44: Parallel Approach to a Sink
§ 606.2 Clear Floor Space
EXCEPTION: A parallel approach permitted to a kitchen sink where cook top or conventional range is NOT provided.

## Slide 45: Five percent of non-kitchen Sinks Must Have Forward Approach § 212.3
Knee and Toe Clearance § 606.2

## Slide 46: Sinks § 212.3
Mop or Service Sink Exception

## Slide 47: Chapter 7: Communication elements and features

## Slide 48: Directional Sign to the Accessible Entrance § 216.6

## Slide 49: Directional Signs to Accessible Entrances § 216.6
ISA label at accessible locations
Directional signs at inaccessible locations

## Slide 50: Directional Signs to Accessible Entrances § 216.6
Strategic placement of directional sign.

## Slide 51: Designations § 216.2
1991 Standards – 60” to centerline of sign
Where to Measure the Room Sign Height?

## Slide 52: Tactile Signs
Cane detection of doorways consistent location needed.

## Slide 53: Installation Height§ 703.4
Figure 703.4.1 Height of tactile character above finish floor or ground.

## Slide 54: “Access” Blue and White is Not Required by Standards
On pavement ISA painted white with blue back ground.
picture of paint cans and a brush

## Slide 55: Symbols§ 703.7.2
Contrast - light-on-dark or dark-on-light §703.7.1
Non-glare finish § 703.7.1
Text (where provided): visual access § 703.5

## Slide 56
§ 703.7.2 Symbols
Any contrasting colors permitted check state and local code for additional requirements.

## Slide 57: Chapter 8: SPECIAL ROOMS, SPACES AND ELEMENTS

## Slide 58: FEATURES § 222 & § 803
Bench is not provided or lacks the required features.

## Slide 59: Dressing Benches § 903
Clear floor or ground space at both the end and parallel to bench §803.4/§903

## Slide 60: Dressing Benches § 903
Adequate back support must be provided §803.4/§903.

## Slide 61: Communication Features for Transient Lodging Guest Rooms § 224.4
MUST be Permanent room features.
NO. Kits do not meet requirements of 2010 Standard.

## Slide 62: Notification Devices § 806.3.1
“Where emergency warning systems are provided, alarms complying with 702 shall be provided.”

## Slide 63: Chapter 9: BUILT-IN ELEMENTS

## Slide 64: Dining and Work Surfaces § 902.3
The height of dining and work surfaces shall not exceed 34 inches and provide forward approach with knee clearance.
Commonly not provided at Bars.

## Slide 65: Benches § 903
Benches at bus stops and other non-bathing or dressing locations are NOT required to meet 903 requirements

## Slide 66: Sales and Service Counter § 904.4
The height of sales and service counters shall provide a parallel or forward approach and shall not exceed 36 inches.

## Slide 67: maintenance

## Slide 68: Maintenance / Policy (1OF 3)
Accessibility elements can be misused if no one is diligent about keeping them available.

## Slide 69: Maintenance / PolIcY (2 OF 3)
Snow removal IS a maintenance obligation of Title II and Title III entities.

## Slide 70: Maintenance / PolIcY (3 OF 3)
Free standing objects impeding the necessary width of an accessible route.

## Slide 71: Technical Guides on the Standards
Available on the Board’s website.

## Slide 72: U.S Access Board
(800) 872-2253 (voice)
(800) 993-2822 (TTY)
E-mail: ta@access-board.gov
www.access-board.gov