DSA PRESENTATION TRANSCRIPT
DSA and Proposition 39, January 31, 2014

Slide Presentation Transcript: DSA and Proposition 39, January 31, 2014

Slide 1
DSA and Proposition 39 

January 31, 2014 

Division of the State Architect: "100+ Years of California Architecture."

Slide 2

PROPOSITION 39 

DSA collaborated with the California Energy Commission on Guidelines RE: 

· Triggers for Required DSA Review 

· Structural 

· Fire and Life Safety 

· Access 

· Structural Exemptions and Exceptions 

· Access Related Exemptions 

Slide 3
Governing Document per SB 73: 

Proposition 39: California Clean Energy Jobs Act - 2013 Program Implementation Guidelines 

Adopted by California Energy Commission, December 19, 2013 
Slide 4 
DSA Reference on Page 31 of CEC Guidelines: 
Energy Efficiency Project Construction Compliance Requirements, 

Division of the State Architect (DSA) 

Certain eligible energy measures funded by Proposition 39 might be exempt or excluded from DSA review and approval for structural safety, depending on the scope of work and estimated construction cost. In addition, some eligible energy projects may not be required to include accessibility upgrades outside the scope of work area. 

To help LEAs determine the various requirements for eligible energy measures, and possible exemptions, the DSA provides resources and guidelines on its website at: 

http://www.dgs.ca.gov/dsa/Programs/progSustainability/prop39.aspx.  

Slide 5
Page 31 of CEC Guidelines DSA excerpt (continued): 

Energy Efficiency Project Construction Compliance Requirements, Division of the State Architect (DSA) 

LEAs are advised to consider DSA requirements early in their planning for Proposition 39-eligible energy projects and contact the appropriate DSA Regional Office with jurisdiction over the area in which the project is located. 
http://www.dgs.ca.gov/dsa/AboutUs/contact.aspx. 
Slide 6
STANDARD EXEMPTIONS 

DSA review and approval is not required for alteration or reconstruction projects: 
· When estimated construction cost is less than $40,268.17 (No design review by DSA is required) 

or 

· When estimated construction cost is between $40,268.17 and $161,072.67 and the Design Professional confirms that there is no Structural, Fire/Life Safety or Access work in the project. 

Slide 7
CBC: TITLE 24, PART 2 

California Code of Regulations, Title 24, Part 2 (the CBC) when alterations or additions are made to existing buildings. If the existing “path of travel” elements do not comply with current code provisions, upgrades are required to the area of the work and designated elements serving the area that is being altered. Upgrades to the current “path of travel” are required as follows: 

· If cost of the project is < $143,303, then cost of compliance is limited to 20 percent of the adjusted construction cost. 

· If the cost of the project is ≥ $143,303, no limit to the cost of compliance.* 

*If unreasonable hardship is determined by enforcing agency, there must be compliance by equivalent facilitation to the greatest extent possible. The cost of compliance shall not be < 20 percent of adjusted construction cost. 

Slide 8
CBC: 11B-202.4 EXCEPTIONS 

11B-202.4 Path of Travel Requirements in Alterations, Additions and Structural Repairs. When alterations or additions are made to existing buildings ….an accessible path of travel….shall be provided. 

Exceptions: 

· 7. Projects consisting only of heating, ventilation, air conditioning, reroofing, electrical work not involving placement of switches and receptacles, cosmetic work that does not affect items regulated by this code, such as painting, equipment not considered to be a part of the architecture of the building or area, such as computer terminals and office equipment shall not be required to comply with 11B-202.4. unless they affect the usability of the building or facility. 

· ALTERATION [DSA-AC] A change, addition or modification in construction, change in occupancy or use, or structural repair to an existing building or facility. Alterations include, but are not limited to, remodeling, renovation, rehabilitation, reconstruction, historic restoration, resurfacing of circulation paths or vehicular ways, changes or rearrangement of the structural parts or elements, and changes or rearrangement in the plan configuration of walls and full-height partitions. Normal maintenance, reroofing, painting or wallpapering, or changes to mechanical and electrical systems are not alterations unless they affect the usability of the building or facility. 

Slide 9

ACCESS RELATED EXEMPTIONS 

Graphic image of first part of table showing Access-Related Exemptions; see "Proposition 39 Projects: Table 2" (http://www.dgs.ca.gov/dsa/Programs/progSustainability/prop39/table2.aspx). 
Slide 10
ACCESS RELATED EXEMPTIONS (Continued)
Graphic image of second part of table showing Access-Related Exemptions; see "Proposition 39 Projects: Table 2" (http://www.dgs.ca.gov/dsa/Programs/progSustainability/prop39/table2.aspx). 
Slide 11
DISTRICT’S CHOICE: 

· Utilize Exemptions/Exceptions and bypass DSA 

or 

· Obtain acknowledgment of Exemption/Exception compliance through DSA Over the Counter (OTC) Review 

Slide 12 
PARALLEL TRACKS 

· Submit to CEC for energy plan review 
· Meet with DSA for “over the counter” review 

Slide 13
Chart of DSA Proposition 39 process showing CEC Track, DSA Track, and Implementation Track
Slide 14 

DSA Proposition 39 Process Diagram, Tracks A through F; see online version at http://www.documents.dgs.ca.gov/dsa/green/DSAProp39Flowchart.pdf. 
Slide 15

DSA Procedure for Proposition 39 Projects: 
· Visit DSA website for information and instructions. 

· Contact Regional Office to request an OTC appointment. 

· Download and complete form DSA 7 from website. 

· Submit plans and form DSA 7 electronically to DSA. 

· Bring check for $400.00 to appointment. 

· If project complies with DSA Exemptions/Exceptions, DSA will issue a signed DSA Review Acknowledgment and place in Proposition 39 DSAbox with plans. 

· At completion of construction, Project Inspector will submit DSA Form 999 into Proposition 39 DSAbox. 

Slide 16
Form DSA 7 – Application for Concurrence: Project is Exempt 
To access form DSA 7; download from the DSA website at http://www.dgs.ca.gov/dsa/Forms.aspx. 

Slide 17 
QUESTIONS? 

Contact: DSA Regional Managers 

Leroy Tam (Oakland) 

(510) 622-3109 

leroy.tam@dgs.ca.gov  

Dan Levernier (Sacramento) 

(916) 323-3013 

dan.levernier@dgs.ca.gov  

Doug Humphrey, AIA (Los Angeles) 

(213) 897-4092 

douglas.humphrey@dgs.ca.gov  

Craig Rush (San Diego) 

(858) 674-5413 

craig.rush@dgs.ca.gov  

End of Presentation



Page 1 of 1
DIVISION OF THE STATE ARCHITECT
DEPARTMENT OF GENERAL SERVICES
STATE OF CALIFORNIA


Page 4 of 6
DIVISION OF THE STATE ARCHITECT
DEPARTMENT OF GENERAL SERVICES
STATE OF CALIFORNIA

