

DSA Code Amendment development

| Tracking |
| --- |
| Date Received: - |
| DSA Tracking Number: 11/23/2020 |
| Date Reviewed: 12/09/2020 |
| Status: Under consideration |

| Applicable Code |
| --- |
| Applicable Code Section(s):CALGreen Chapter 2Section 202 |
| Topic:Definitions: EV Capable Space |

## Current Code Language

**None.**

## Suggested Text of Proposed Amendment

**EV CAPABLE SPACE.** Electrical panel capacity and space to support a minimum 40-ampere, 208/240-volt branch circuit for each EV parking space, and the installation of raceways, both underground and surface mounted, to support the EVSE.

## Code Text if Adopted

**EV CAPABLE SPACE.** Electrical panel capacity and space to support a minimum 40-ampere, 208/240-volt branch circuit for each EV parking space, and the installation of raceways, both underground and surface mounted, to support the EVSE.

## Rationale

The amendment to this definition will eliminate the redundant language defining an EV capable space in Chapter 5.

## DSA Comments

XXX