## Access Instructions
DSA Access Compliance
Plan Submittal for Modernization Projects
To be completed for modernization projects only. This form must be completed and submitted to the Division of the State Architect (DSA) if the excessive cost hardship grant for accessibility and fire code requirements pursuant to School Facility Program (SFP) Regulation Section 1859.83(f) is going to be requested for this project. Check the appropriate box(es) in each category for all accessibility work shown in the submitted plans and specifications. Identify the location of the work on the plans in the Plan Reference Column. Insert the estimated quantity, unit type (i.e. square foot, linear foot, etc.) unit cost, and total cost to complete the work. If the work indicated exceeds the minimum work necessary to receive the DSA approval, identify the quantity of the excess work and cost to complete the additional work. Lines have been provided for any additional work not listed. Examples of work that would be eligible compared to work that would not be eligible include:
Example 1:
When replacing an existing water closet to comply with the required height of 17” to 19” for an accessible water closet, only the costs associated with the water closet(s) required to be accessible are eligible for supplemental funding; other water closets may be replaced as part of a modernization project but the associated costs are not eligible for supplemental funding.
Example 2:
When conducting a modernization project at a school gymnasium, alterations to make the gymnasium toilet rooms accessible are triggered by the gymnasium work and would be eligible for supplemental funding. However, upgrades to toilet rooms that do not serve the school gymnasium (i.e. toilet rooms in a library building undergoing no alterations) are not triggered by the gymnasium work; these other toilet rooms may be upgraded as part of a modernization project but the associated costs are not eligible for supplemental funding.
The additional work, like the work to the toilet rooms in the library as cited in example two, would need to be identified as work exceeding the minimum work necessary and the total costs for both the minimum and excess work would need to be identified. School districts may still use modernization funds to complete the additional access compliance work.
This form will be reviewed and signed by the DSA and will be required to be submitted to the OPSC with the district's complete application for modernization funding if the excessive cost hardship grant is requested.

## Access
Project Name:
DSA Access Compliance | [7 empty] | District:
Plan Submittal for Modernization Projects | [7 empty] | County:
DSA Number:
[5 empty] | Quantity | [5 empty] | Total Cost
|  |  |  | Plan Ref. | Minimum Work | Additional Work | Unit |  | Unit Cost |  | Minimum Work |  | Additional Work
A. | Accessible Route of Travel
| 1. |  | Grind down or build up surface to ¼” vertical or ½” beveled transitions |  |  |  |  | $ |  | $ |  | $
| 2. |  | Provide guardrails at >30” drop offs |  |  |  |  | $ |  | $ |  | $
| 3. |  | Provide warning curbs at >4” drop offs |  |  |  |  | $ |  | $ |  | $
| 4. |  | Alter/replace gratings with >½” openings in the direction of travel |  |  |  |  | $ |  | $ |  | $
| 5. |  | Relocate or modify wall mounted objects with the bottom edge between 27” and 80” AFF which protrude more than 4” into the pedestrian circulation area |  |  |  |  | $ |  | $ |  | $
| 6. |  | Relocate or modify post or pylon mounted objects with the bottom edge between 27” and 80” AFF which overhang more than 12” |  |  |  |  | $ |  | $ |  | $
| 7. | [6 empty] | $ |  | $ |  | $
| 8. | [6 empty] | $ |  | $ |  | $
| 9. | [6 empty] | $ |  | $ |  | $
| 10. | [6 empty] | $ |  | $ |  | $
B. | Accessible Parking, Passenger Loading, and Bus Stops
| 1. |  | Restripe, reconfigure, or reconstruct parking to provide required number of compliant standard- and van-accessible stalls |  |  |  |  | $ |  | $ |  | $
| 2. |  | Restripe or reconfigure parking so accessible stalls are on the shortest accessible route to the accessible entrance |  |  |  |  | $ |  | $ |  | $
| 3. |  | Restripe or reconfigure parking which serves accessible entrances to several buildings or areas so accessible stalls are dispersed. |  |  |  |  | $ |  | $ |  | $
| 4. |  | Restripe or reconfigure parking so PWDs need not travel behind parked cars other than their own |  |  |  |  | $ |  | $ |  | $
| 5. |  | Restripe or reconfigure parking to provide 5’ or 8’ wide access aisles |  |  |  |  | $ |  | $ |  | $
| 6. |  | Remove built-up ramps within parking access aisles |  |  |  |  | $ |  | $ |  | $
| 7. |  | Provide accessible parking stall signs |  |  |  |  | $ |  | $ |  | $
| 8. |  | Provide site entrance / “tow away” signs |  |  |  |  | $ |  | $ |  | $
| 9. |  | Remove barriers to provide 98” minimum vertical clearance at accessible parking stalls and at the vehicle routes to and from these stalls |  |  |  |  | $ |  | $ |  | $
| 10. |  | Restripe, reconfigure, or reconstruct passenger loading zones to provide at least one accessible passenger loading zone |  |  |  |  | $ |  | $ |  | $
| 11. |  | Remove built-up ramps within accessible passenger loading zone |  |  |  |  | $ |  | $ |  | $
| 12. |  | Provide identifying signage at accessible passenger loading zone |  |  |  |  | $ |  | $ |  | $
| 13. |  | Provide a 36” deep band of detectable warning surface at blended transitions |  |  |  |  | $ |  | $ |  | $
| 14. |  | Alter existing bus stop to provide an accessible route to the bus stop pad and an 8’ long x 5’ wide bus stop pad with a maximum 2% cross slope. |  |  |  |  | $ |  | $ |  | $
| 15. |  | Alter existing bus stop shelter to provide 30” x 48” clear floor space completely within the shelter, an accessible route to the bus stop pad, and an accessible route connecting to an accessible site circulation accessible route |  |  |  |  | $ |  | $ |  | $
| 16. |  | Provide on-street accessible parking per Caltrans Std. Plans A90A and A90B |  |  |  |  | $ |  | $ |  | $
| 17. | [6 empty] | $ |  | $ |  | $
| 18. | [6 empty] | $ |  | $ |  | $
| 19. | [6 empty] | $ |  | $ |  | $
| 20. | [6 empty] | $ |  | $ |  | $
C. | Curb Ramps and Pedestrian Crossings
| 1. |  | Provide a 36” deep band of detectable warning surface at blended transitions / hazardous vehicular locations |  |  |  |  | $ |  | $ |  | $
| 2. |  | Provide compliant detectable warning surface at existing curb ramp |  |  |  |  | $ |  | $ |  | $
| 3. |  | Remove built-up ramps which project into vehicular traffic lanes |  |  |  |  | $ |  | $ |  | $
| 4. |  | Construct or reconstruct compliant curb ramp |  |  |  |  | $ |  | $ |  | $
| 5. |  | Alter upper and/or lower landing area at existing curb ramp |  |  |  |  | $ |  | $ |  | $
| 6. |  | Construct new or alter existing clear ground space at existing pedestrian signal push button |  |  |  |  | $ |  | $ |  | $
| 7. |  | Relocate existing pedestrian signal push button to accessible height or location |  |  |  |  | $ |  | $ |  | $
| 8. |  | Replace existing pedestrian signal push button with accessible unit |  |  |  |  | $ |  | $ |  | $
| 9. | [6 empty] | $ |  | $ |  | $
| 10. | [6 empty] | $ |  | $ |  | $
| 11. | [6 empty] | $ |  | $ |  | $
| 12. | [6 empty] | $ |  | $ |  | $
D. | Walks and Sidewalks
| 1. |  | Grind down or build up surface to ¼” vertical or ½” beveled transitions |  |  |  |  | $ |  | $ |  | $
| 2. |  | Replace existing walk or sidewalk in non-compliant areas |  |  |  |  | $ |  | $ |  | $
| 3. |  | Alter existing walk or sidewalk to provide 60” x 60” or T-shaped passing space(s) at reasonable intervals not to exceed 200’ |  |  |  |  | $ |  | $ |  | $
| 4. |  | Alter existing walk or sidewalk at driveway to provide 48” min. surface with 2% max. cross slope |  |  |  |  | $ |  | $ |  | $
| 5. |  | Replace existing walk with a ramp where the running slope exceeds 5% |  |  |  |  | $ |  | $ |  | $
| 6. |  | Provide level maneuvering areas at existing doors and gates |  |  |  |  | $ |  | $ |  | $
| 7. |  | Provide guardrails at >30” drop offs |  |  |  |  | $ |  | $ |  | $
| 8. |  | Provide warning curbs at >4” drop offs |  |  |  |  | $ |  | $ |  | $
| 9. |  | Alter/replace gratings with >½” openings in the direction of travel |  |  |  |  | $ |  | $ |  | $
| 10. | [6 empty] | $ |  | $ |  | $
| 11. | [6 empty] | $ |  | $ |  | $
| 12. | [6 empty] | $ |  | $ |  | $
| 13. | [6 empty] | $ |  | $ |  | $
E. | Accessible Ramps
| 1. |  | Provide new compliant ramp |  |  |  |  | $ |  | $ |  | $
| 2. |  | Replace existing non-compliant ramp |  |  |  |  | $ |  | $ |  | $
| 3. |  | Alter existing non-compliant ramp |  |  |  |  | $ |  | $ |  | $
| 4. |  | Alter existing non-compliant ramp landing |  |  |  |  | $ |  | $ |  | $
| 5. |  | Provide level landing / maneuvering area at doors and gates |  |  |  |  | $ |  | $ |  | $
| 6. |  | Alter or replace existing non-compliant handrails |  |  |  |  | $ |  | $ |  | $
| 7. |  | Alter handrail extension so it does not project into the accessible route of travel or create a hazard |  |  |  |  | $ |  | $ |  | $
| 8. |  | Provide guardrails at >30” drop offs |  |  |  |  | $ |  | $ |  | $
| 9. |  | Alter existing guardrail so a 4” diameter sphere can not pass |  |  |  |  | $ |  | $ |  | $
| 10. |  | Provide warning curbs or guide rail at >4” drop offs |  |  |  |  | $ |  | $ |  | $
| 11. | [6 empty] | $ |  | $ |  | $
| 12. | [6 empty] | $ |  | $ |  | $
| 13. | [6 empty] | $ |  | $ |  | $
| 14. | [6 empty] | $ |  | $ |  | $
F. | Doors and Gates
| 1. |  | Alter existing door/gate to provide accessible threshold, hardware and/or closer |  |  |  |  | $ |  | $ |  | $
| 2. |  | Alter existing door/gate to provide 10” smooth surface at bottom of push side |  |  |  |  | $ |  | $ |  | $
| 3. |  | Install offset hinges to provide 32” clear width |  |  |  |  | $ |  | $ |  | $
| 4. |  | Provide an accessible door/gate adjacent to existing revolving door or turnstile |  |  |  |  | $ |  | $ |  | $
| 5. |  | When a required exit is not accessible, provide directional signage indicating nearest accessible exit or area of refuge |  |  |  |  | $ |  | $ |  | $
| 6. |  | Alter or reconstruct existing floor to provide required level landing/maneuvering space on each side of door |  |  |  |  | $ |  | $ |  | $
| 7. |  | Adjust existing door closer to achieve compliant door operating pressure |  |  |  |  | $ |  | $ |  | $
| 8. |  | Install automatic or power-assisted door operator and push button operator in compliant location |  |  |  |  | $ |  | $ |  | $
| 9. |  | Relocate existing automatic or power-assisted door operator to a compliant location |  |  |  |  | $ |  | $ |  | $
| 10. | [6 empty] | $ |  | $ |  | $
| 11. | [6 empty] | $ |  | $ |  | $
| 12. | [6 empty] | $ |  | $ |  | $
| 13. | [6 empty] | $ |  | $ |  | $
G. | Corridors, Hallways, and Vestibules
| 1. |  | Grind down or build up surface to ¼” vertical or ½” beveled transitions |  |  |  |  | $ |  | $ |  | $
| 2. |  | Replace existing corridor, hallway, or vestibule in non-compliant areas |  |  |  |  | $ |  | $ |  | $
| 3. |  | Alter existing corridor, hallway, or vestibule to provide 60” x 60” or T-shaped passing space(s) at reasonable intervals not to exceed 200’ |  |  |  |  | $ |  | $ |  | $
| 4. |  | If the existing corridor, hallway, or vestibule has a running slope exceeding 5%, alter to comply with all requirements for ramps |  |  |  |  | $ |  | $ |  | $
| 5. |  | Provide level maneuvering areas at existing doors |  |  |  |  | $ |  | $ |  | $
| 6. |  | Relocate or modify wall mounted objects with the bottom edge between 27” and 80” AFF which protrude more than 4” into the pedestrian circulation area |  |  |  |  | $ |  | $ |  | $
| 7. |  | Relocate or modify post or pylon mounted objects with the bottom edge between 27” and 80” AFF which overhang more than 12” |  |  |  |  | $ |  | $ |  | $
| 8. |  | Alter or relocate existing vestibule door(s) to provide 48” min. between two hinged or pivoted doors swinging into the space |  |  |  |  | $ |  | $ |  | $
| 9. | [6 empty] | $ |  | $ |  | $
| 10. | [6 empty] | $ |  | $ |  | $
| 11. | [6 empty] | $ |  | $ |  | $
| 12. | [6 empty] | $ |  | $ |  | $
H. | Stairs and Steps
| 1. |  | Alter or reconstruct existing stair to provide required width, rise, run, nosing, contrasting strip, headroom, handrails, and guards |  |  |  |  | $ |  | $ |  | $
| 2. |  | Alter existing interior stair to provide required contrasting strip at top landing and bottom tread |  |  |  |  | $ |  | $ |  | $
| 3. |  | Alter existing exterior stair to provide required contrasting strip at top landing and all treads |  |  |  |  | $ |  | $ |  | $
| 4. |  | Replace existing handrails with new compliant handrails |  |  |  |  | $ |  | $ |  | $
| 5. |  | Relocate existing handrails to correct height |  |  |  |  | $ |  | $ |  | $
| 6. |  | Modify handrail to provide required extension at the top and bottom |  |  |  |  | $ |  | $ |  | $
| 7. |  | Modify handrail extension so it does not project into the accessible route of travel or create a hazard |  |  |  |  | $ |  | $ |  | $
| 8. |  | Provide guardrails at >30” drop offs |  |  |  |  | $ |  | $ |  | $
| 9. |  | Alter existing guardrail so a 4” diameter sphere can not pass |  |  |  |  | $ |  | $ |  | $
| 10. |  | Install cane-detectable barrier when existing stair creates a hazardous overhead obstruction |  |  |  |  | $ |  | $ |  | $
| 11. | [6 empty] | $ |  | $ |  | $
| 12. | [6 empty] | $ |  | $ |  | $
| 13. | [6 empty] | $ |  | $ |  | $
| 14. | [6 empty] | $ |  | $ |  | $
I. | Elevators
| 1. |  | Modify existing architecture to provide accessible route to existing elevator |  |  |  |  | $ |  | $ |  | $
| 2. |  | Install new elevator |  |  |  |  | $ |  | $ |  | $
| 3. |  | Modify existing elevator to increase cab size |  |  |  |  | $ |  | $ |  | $
| 4. |  | Modify existing elevator to provide handrail within cab |  |  |  |  | $ |  | $ |  | $
| 5. |  | Modify existing elevator to relocate controls to an accessible height |  |  |  |  | $ |  | $ |  | $
| 6. |  | Modify existing elevator to provide illuminated control buttons |  |  |  |  | $ |  | $ |  | $
| 7. |  | Modify existing elevator to provide tactile sign information |  |  |  |  | $ |  | $ |  | $
| 8. |  | Modify existing elevator to provide audible signal |  |  |  |  | $ |  | $ |  | $
| 9. | [6 empty] | $ |  | $ |  | $
| 10. | [6 empty] | $ |  | $ |  | $
| 11. | [6 empty] | $ |  | $ |  | $
| 12. | [6 empty] | $ |  | $ |  | $
J. | Wheelchair Lifts
| 1. |  | Modify existing architecture to provide accessible route to existing lift |  |  |  |  | $ |  | $ |  | $
| 2. |  | Install new lift |  |  |  |  | $ |  | $ |  | $
| 3. | [6 empty] | $ |  | $ |  | $
| 4. | [6 empty] | $ |  | $ |  | $
| 5. | [6 empty] | $ |  | $ |  | $
| 6. | [6 empty] | $ |  | $ |  | $
K. | Public Telephones
| 1. |  | Relocate telephone or alter architecture to provide an accessible route to, and clear floor space, including alcove space if applicable, at the required accessible telephones |  |  |  |  | $ |  | $ |  | $
| 2. |  | Provide cane detectable warning where an existing telephone protrudes into pedestrian circulation area |  |  |  |  | $ |  | $ |  | $
| 3. |  | Provide new telephone with volume control |  |  |  |  | $ |  | $ |  | $
| 4. |  | Provide new text telephone (TTY), shelf, and electrical outlet |  |  |  |  | $ |  | $ |  | $
| 5. | [6 empty] | $ |  | $ |  | $
| 6. | [6 empty] | $ |  | $ |  | $
| 7. | [6 empty] | $ |  | $ |  | $
| 8. | [6 empty] | $ |  | $ |  | $
L. | Drinking Fountains
| 1. |  | Relocate drinking fountain or alter architecture to provide an accessible route to, and clear floor space, including alcove space if applicable, at the required accessible drinking fountain |  |  |  |  | $ |  | $ |  | $
| 2. |  | Replace existing single drinking fountain with new hi-low drinking fountain |  |  |  |  | $ |  | $ |  | $
| 3. | [6 empty] | $ |  | $ |  | $
| 4. | [6 empty] | $ |  | $ |  | $
| 5. | [6 empty] | $ |  | $ |  | $
| 6. | [6 empty] | $ |  | $ |  | $
M. | Sanitary Facilities
| 1. |  | Alter architecture to provide an accessible route, turning space, and clear floor spaces at accessible fixtures |  |  |  |  | $ |  | $ |  | $
| 2. |  | Reconfigure existing toilet partitions and partition door to create an accessible toilet compartment |  |  |  |  | $ |  | $ |  | $
| 3. |  | Reconfigure existing toilet partitions and partition door to create a semi-ambulant toilet compartment |  |  |  |  | $ |  | $ |  | $
| 4. |  | Remove a toilet and reconfigure existing toilet partitions and partition door to create an accessible toilet compartment |  |  |  |  | $ |  | $ |  | $
| 5. |  | Replace toilet |  |  |  |  | $ |  | $ |  | $
| 6. |  | Replace toilet controls |  |  |  |  | $ |  | $ |  | $
| 7. |  | Provide new or relocate existing grab bars in an accessible or semi-ambulant toilet compartment |  |  |  |  | $ |  | $ |  | $
| 8. |  | Replace or relocate existing accessories within an accessible toilet compartment |  |  |  |  | $ |  | $ |  | $
| 9. |  | Reconfigure existing partitions to provide compliant clearance at urinal |  |  |  |  | $ |  | $ |  | $
| 10. |  | Relocate or replace urinal |  |  |  |  | $ |  | $ |  | $
| 11. |  | Alter, replace, or relocate existing counter and/or lavatory |  |  |  |  | $ |  | $ |  | $
| 12. |  | Alter or replace existing lavatory controls |  |  |  |  | $ |  | $ |  | $
| 13. |  | Replace or relocate existing toilet room accessories |  |  |  |  | $ |  | $ |  | $
| 14. |  | Alter or replace existing shower enclosure, controls, and hand-held sprayer unit |  |  |  |  | $ |  | $ |  | $
| 15. |  | Replace or relocate existing seat and grab bars in accessible shower |  |  |  |  | $ |  | $ |  | $
| 16. |  | Alter or replace existing bathtub, controls, and hand-held sprayer unit |  |  |  |  | $ |  | $ |  | $
| 17. |  | Replace or relocate existing seat and grab bars in accessible bathtub |  |  |  |  | $ |  | $ |  | $
| 18. |  | Alter, replace, or install new, accessible lockers |  |  |  |  | $ |  | $ |  | $
| 19. |  | Alter, replace, or install new accessible dressing bench |  |  |  |  | $ |  | $ |  | $
| 20. |  | Alter architecture to provide an accessible route, turning space, and clear floor spaces at accessible lockers and dressing bench |  |  |  |  | $ |  | $ |  | $
| 21. | [6 empty] | $ |  | $ |  | $
| 22. | [6 empty] | $ |  | $ |  | $
| 23. | [6 empty] | $ |  | $ |  | $
| 24. | [6 empty] | $ |  | $ |  | $
N. | Alarms
| 1. |  | Provide new or relocate existing visual alarm signals to comply with NFPA 72 as amended in Title 24, Part 2, Chapter 35 and the ADA Standards |  |  |  |  | $ |  | $ |  | $
| 2. |  | Provide new or relocate existing visual alarm signals in all common-use areas |  |  |  |  | $ |  | $ |  | $
| 3. |  | Provide new or relocate existing fire alarm initiating device (pull box) at appropriate height, on an accessible route, and where a person in a wheelchair would not be forced to reach of an obstruction greater than 10” deep. |  |  |  |  | $ |  | $ |  | $
| 4. |  | Replace existing fire alarm initiating device (pull box) with model that does not require tight grasping, pinching, or twisting of the wrist |  |  |  |  | $ |  | $ |  | $
| 5. | [6 empty] | $ |  | $ |  | $
| 6. | [6 empty] | $ |  | $ |  | $
| 7. | [6 empty] | $ |  | $ |  | $
| 8. | [6 empty] | $ |  | $ |  | $
O. | Signage
| 1. |  | Provide directional signs indicating the direction to accessible parking, buildings, or outside facilities |  |  |  |  | $ |  | $ |  | $
| 2. |  | Provide "Tow-away" signs at parking lot entrance (or at stall) |  |  |  |  | $ |  | $ |  | $
| 3. |  | Provide accessible parking signs, including van signs |  |  |  |  | $ |  | $ |  | $
| 4. |  | Provide International Symbol of Accessibility (ISA) at accessible passenger loading zones |  |  |  |  | $ |  | $ |  | $
| 5. |  | Provide International Symbol of Accessibility at all accessible entrances |  |  |  |  | $ |  | $ |  | $
| 6. |  | Provide directional signage at all inaccessible entrances, directing persons to the nearest accessible entrance |  |  |  |  | $ |  | $ |  | $
| 7. |  | Provide Assistive Listening System (ALS) sign indicating availability of ALS, posted in a prominent place such as reception counter or ticket booth |  |  |  |  | $ |  | $ |  | $
| 8. |  | Provide raised letters/California Contracted Grade 2 Braille EXIT signs at all exit doors (in addition to the overhead/low-level illuminated exit signs) |  |  |  |  | $ |  | $ |  | $
| 9. |  | Provide California restroom symbols (circle/triangle) on door leaf, (including ISA if restroom is wheelchair accessible) |  |  |  |  | $ |  | $ |  | $
| 10. |  | Provide restroom identification sign on wall including raised letters, California Contracted Grade 2 Braille, and if desired, a gender pictogram |  |  |  |  | $ |  | $ |  | $
| 11. |  | Provide International Symbol of Accessibility at accessible seating: aisle seats, companion seats, and wheelchair spaces at bleachers are to each be identified by a sign or marker. Signage notifying patrons of the availability of such seats posted at the ticket office |  |  |  |  | $ |  | $ |  | $
| 12. |  | Provide area of evacuation assistance identification. Sign shall be illuminated when exit sign illumination is required. Include evacuation instructions in each area for evacuation assistance |  |  |  |  | $ |  | $ |  | $
| 13. |  | Provide volume control sign at telephones |  |  |  |  | $ |  | $ |  | $
| 14. |  | Provide TTY identification signage and/or TTY directional signage |  |  |  |  | $ |  | $ |  | $
| 15. |  | Provide building directory or lobby signage informing building users that specific sanitary facilities and/or elevators for public use have been remodeled |  |  |  |  | $ |  | $ |  | $
| 16. |  | Provide warning signs at inaccessible exits indicating the closest accessible exit and signage indicating the direction to areas of rescue assistance |  |  |  |  | $ |  | $ |  | $
| 17. |  | Provide enclosed stairway signage |  |  |  |  | $ |  | $ |  | $
| 18. |  | Provide elevator and elevator lobby signage |  |  |  |  | $ |  | $ |  | $
| 19. |  | Provide platform lift signage |  |  |  |  | $ |  | $ |  | $
| 20. |  | Provide evacuation plans |  |  |  |  | $ |  | $ |  | $
| 21. |  | Provide No Smoking & Cleaner Air signage |  |  |  |  | $ |  | $ |  | $
| 22. |  | Provide exterior wayfinding signs, beginning at pedestrian entrances, bus stops, parking lots, and drop off points, where the accessible route of travel deviates from the regular route |  |  |  |  | $ |  | $ |  | $
| 23. |  | Provide interior wayfinding signs, where the accessible route of travel diverges from the regular route and where one is not immediately visible from the other |  |  |  |  | $ |  | $ |  | $
| 24. |  | Provide raised letters/California Contracted Grade 2 Braille identification signs for permanent rooms and spaces |  |  |  |  | $ |  | $ |  | $
| 25. | [6 empty] | $ |  | $ |  | $
| 26. | [6 empty] | $ |  | $ |  | $
P. | Assembly Use Areas
| 1. | Assistive Listening Systems (ALS)
|  | a) | Provide ALS in all assembly areas, conference rooms, and meeting areas |  |  |  |  | $ |  | $ |  | $
|  | b) | Provide a permanently installed ALS for each room/space which: accommodates at least 50 persons or has an audio-amplification system; and has fixed seating |  |  |  |  | $ |  | $ |  | $
|  | c) | [5 empty] | $ |  | $ |  | $
|  | d) | [5 empty] | $ |  | $ |  | $
| 2. | Auditoriums, Assembly Halls, Theaters, and Related Facilities
|  | a) | In fixed or semi-permanent seating areas, provide wheelchair spaces, companion seats, semi-ambulant seats, and transfer or aisle seats |  |  |  |  | $ |  | $ |  | $
|  | b) | Where the seating capacity in fixed or semi-permanent seating areas exceeds 300, provide accessible wheelchair spaces in more than one location |  |  |  |  | $ |  | $ |  | $
|  | c) | Provide accessible routes of travel from wheelchair spaces to performing areas including stages, arena floors, dressing rooms, locker rooms and other spaces used by performers, and public restrooms |  |  |  |  | $ |  | $ |  | $
|  | d) | Make accessible and provide an accessible route of travel to stages, enclosed and unenclosed platforms, orchestra pits, and preparation areas |  |  |  |  | $ |  | $ |  | $
|  | e) | Modify existing ticket booths, refreshment stands, and concession stands to make the employee and customer sides accessible |  |  |  |  | $ |  | $ |  | $
|  | f) | In amphitheaters, provide warning curb or rails where abrupt changes in level between the accessible route of travel and adjacent seating areas exceed 4” in height |  |  |  |  | $ |  | $ |  | $
|  | g) | Provide perimeter guardrails, or walls, or fences (42” min high) at elevated seating areas that are more than 30” above the ground |  |  |  |  | $ |  | $ |  | $
EXCEPTION: Guardrails at the front of the front row of seats that are not located at the end of an aisle and where there is no cross aisle may have a height of 26” and need not meet the 4” max spacing requirement, however, a mid-rail shall be installed
[8 empty] | $ |  | $ |  | $
[8 empty] | $ |  | $ |  | $
| 3. | Stadiums, Grandstands, Bleachers, Athletic Pavilions, Gymnasiums, and Miscellaneous Sport-Related Facilities
|  | a) | In fixed or semi-permanent seating areas, provide wheelchair spaces, companion seats, semi-ambulant seats, and transfer or aisle seats |  |  |  |  | $ |  | $ |  | $
EXCEPTION: At folding bleachers where wheelchair spaces are provided by a cut back in the first rows, and when DSA finds that integrated companion fixed seats cannot be obtained:
1) Provide a 24”x48” clear space for companion seating next to each 33”x48” wheelchair space, with identifying signage on the companion seat
2) Provide an ISA on the floor or on the front face of the lowest bleacher row in front of space to identify the wheelchair space
3) The number of wheelchair accessible seats must be dispersed equally for each side and cannot be clustered into one location
|  | b) | Where the seating capacity in fixed or semi-permanent seating areas exceeds 300, provide accessible wheelchair spaces in more than one location |  |  |  |  | $ |  | $ |  | $
|  | c) | Provide accessible routes of travel from wheelchair spaces to all participation and activity areas including: |  |  |  |  | $ |  | $ |  | $
1) Tennis, racquetball and handball courts
2) Gymnasium floor areas and general exercise rooms
3) Basketball, volleyball, badminton courts, and bowling lanes
4) Swimming pool deck areas and swimming pools
5) Athletic team rooms and facilities, playing fields and running tracks
6) Club rooms (home and guest)
7) Sanitary and locker facilities (home and guest)
8) Baseball/softball player dugout
|  | d) | Modify existing ticket booths, refreshment stands, and concession stands to make the employee and customer sides accessible. |  |  |  |  | $ |  | $ |  | $
|  | e) | Provide pool lift with rigid seat and armrests or ramp to independently access and egress the swimming pool |  |  |  |  | $ |  | $ |  | $
|  | f) | Provide vertical access to press boxes, announcer booths and similar facilities |  |  |  |  | $ |  | $ |  | $
|  | g) | Provide perimeter guardrails, or walls, or fences (42” min high) at elevated seating areas that are more than 30” above the ground. |  |  |  |  | $ |  | $ |  | $
EXCEPTION: Guardrails at the front of the front row of seats that are not located at the end of an aisle and where there is no cross aisle may have a height of 26” and need not meet the 4” max spacing requirement, however, a mid-rail shall be installed
|  | h) | Modify existing bleachers / grandstands to the open vertical space between footboards does not exceed 9” when footboards are more than 30” above the ground |  |  |  |  | $ |  | $ |  | $
|  | i) | [5 empty] | $ |  | $ |  | $
|  | j) | [5 empty] | $ |  | $ |  | $
| 4. | Dining, Banquet, and Bar Facilities
|  | a) | Provide new ramps for accessibility to all floors, levels, and mezzanines |  |  |  |  | $ |  | $ |  | $
|  | b) | Provide 1 accessible seating space for each 20 seats per functional area |  |  |  |  | $ |  | $ |  | $
|  | c) | Where accessible seating is designed for fixed tables and counters, provide knee clearance |  |  |  |  | $ |  | $ |  | $
|  | d) | Where food or drink is served at counters exceeding 34” in height, provide a minimum length of 60” accessible seating |  |  |  |  | $ |  | $ |  | $
|  | e) | Provide accessible maneuvering space behind each wheelchair space |  |  |  |  | $ |  | $ |  | $
|  | f) | Provide accessible route of travel to wheelchair seating space |  |  |  |  | $ |  | $ |  | $
|  | g) | Provide 36” min. wide (42” preferred) food service aisles |  |  |  |  | $ |  | $ |  | $
|  | h) | At food service aisles, provide tray slides at 34” AFF max. |  |  |  |  | $ |  | $ |  | $
|  | i) | Provide at least 50% of each type of self-service shelves to be within reach ranges |  |  |  |  | $ |  | $ |  | $
|  | j) | Provide accessible doors to all food preparation areas |  |  |  |  | $ |  | $ |  | $
|  | k) | Provide accessibility at all toilets, locker and powder rooms |  |  |  |  | $ |  | $ |  | $
|  | l) | [5 empty] | $ |  | $ |  | $
|  | m) | [5 empty] | $ |  | $ |  | $
| 5 | Religious Facilities
|  | a) | Provide access to sanctuaries, assembly areas, platforms, choir rooms, performing areas, and sanitary facilities |  |  |  |  | $ |  | $ |  | $
|  | b) | Provide access to raised platforms, choir rooms, choir lofts, performing areas, and other similar areas. |  |  |  |  | $ |  | $ |  | $
|  | c) | Provide accessible doors to all classrooms and offices |  |  |  |  | $ |  | $ |  | $
|  | d) | [5 empty] | $ |  | $ |  | $
|  | e) | [5 empty] | $ |  | $ |  | $
Q. | Business and Mercantile Use Areas
| 1. | Office Buildings, Personal and Public Service Facilities
|  | a) | Business and Professional Office Facilities
|  |  | 1) Provide accessibility to and in client, visitor, office areas and related sanitary facilities |  |  |  |  | $ |  | $ |  | $
|  |  | 2) Provide accessibility to and in conference rooms, counseling rooms or cubicles and similar areas |  |  |  |  | $ |  | $ |  | $
|  |  | 3) Provide 36” min. wide clear access in employee work areas |  |  |  |  | $ |  | $ |  | $
|  |  | 4) Provide accessibility to and in professional medical an dental offices |  |  |  |  | $ |  | $ |  | $
|  |  | 5) |  |  |  |  | $ |  | $ |  | $
|  |  | 6) |  |  |  |  | $ |  | $ |  | $
|  | b) | Personal and Public Service Facilities
|  |  | 1) Provide accessibility to and in client, visitor, office areas and related sanitary facilities |  |  |  |  | $ |  | $ |  | $
|  |  | 2) Provide 36” min, wide clear access in employee work areas |  |  |  |  | $ |  | $ |  | $
|  |  | 3) Provide accessibility to and at automated teller machines |  |  |  |  | $ |  | $ |  | $
|  |  | 4) |  |  |  |  | $ |  | $ |  | $
|  |  | 5) |  |  |  |  | $ |  | $ |  | $
|  | c) | Public Utility Facilities
|  |  | 1) Provide accessibility to and in office areas, meeting rooms and similar areas, and related sanitary facilities |  |  |  |  | $ |  | $ |  | $
|  |  | 2) Provide accessibility to and in public tour areas where the public tours proceed through or about a facility, or where the public is permitted to walk. |  |  |  |  | $ |  | $ |  | $
|  |  | 3) Provide accessibility to and at visitor overlook facilities, orientation areas and similar public-use areas, and related sanitary facilities |  |  |  |  | $ |  | $ |  | $
|  |  | 4) |  |  |  |  | $ |  | $ |  | $
|  |  | 5) |  |  |  |  | $ |  | $ |  | $
|  | d) | Police Department, Law Enforcement, Fire Department, and Courtrooms
|  |  | 1) Provide accessibility to and at office areas, conference rooms, classrooms, dormitories, dispatch rooms and similar areas, and related sanitary facilities |  |  |  |  | $ |  | $ |  | $
|  |  | 2) Provide accessibility to and at detention-area visitor rooms |  |  |  |  | $ |  | $ |  | $
|  |  | 3) Provide accessibility to and in at least one detention cell facility and supporting sanitary facilities |  |  |  |  | $ |  | $ |  | $
|  |  | 4) Provide accessibility to and at courtroom areas including the judge’s chambers and bench, counsel tables, jury box, witness stand, and public seating area |  |  |  |  | $ |  | $ |  | $
|  |  | 5) |  |  |  |  | $ |  | $ |  | $
|  |  | 6) |  |  |  |  | $ |  | $ |  | $
|  | e) | Sales Establishments
|  |  | 1) Provide accessibility to and at general sales, display, and office areas, and related sanitary facilities. |  |  |  |  | $ |  | $ |  | $
|  |  | 2) Provide wheelchair access to sales employee work stations and customer sides of sales or checkout stations |  |  |  |  | $ |  | $ |  | $
|  |  | 3) Provide required accessible sales and service counters, teller windows, and information counters at 28” – 34” AFF, 36” width |  |  |  |  | $ |  | $ |  | $
|  |  | 4) Where seated service is conducted, provide counters and fixed tables with required knee and toe clearances |  |  |  |  | $ |  | $ |  | $
|  |  | 5) Remove or modify theft-prevention barriers and any other device used to prevent the removal of shopping carts which is a barrier to access or egress to people in wheelchairs |  |  |  |  | $ |  | $ |  | $
|  |  | 6) Provide 5%, but not less than one, accessible fitting / dressing rooms for each type of use in each cluster of dressing rooms |  |  |  |  | $ |  | $ |  | $
|  |  | 7) Provide 36” min. wide circulation aisles when displays and similar fixtures and equipment are only on one side of the aisle. |  |  |  |  | $ |  | $ |  | $
|  |  | 8) Provide 44” min. wide circulation aisles when displays and similar fixtures and equipment are on both sides of the aisle. |  |  |  |  | $ |  | $ |  | $
|  |  | 9) Provide 32” min. clear door opening at all storage areas. |  |  |  |  | $ |  | $ |  | $
|  |  | 10) |  |  |  |  | $ |  | $ |  | $
|  |  | 11) |  |  |  |  | $ |  | $ |  | $
R. | Educational Use Areas
| 1. |  | Provide access to all laboratories, preparatory rooms, dark rooms, computer rooms, equipment rooms, equipment rooms, teaching facility cubicles, study carrels, libraries, and similar areas. |  |  |  |  | $ |  | $ |  | $
[8 empty] | $ |  | $ |  | $
[8 empty] | $ |  | $ |  | $
| 2. | Area-specific Requirements
|  | a) | Laboratories
|  |  | 1) Modify existing or install new workstation(s) to provide 5% accessible workstations of each type used in labs, science, home economics and other similar specialized classrooms |  |  |  |  | $ |  | $ |  | $
|  |  | 2) Modify existing or install new workstation(s) to provide 5% accessible workstations of each type used in laboratories, preparation rooms, supply rooms, dry rooms, cold rooms, walk-in freezers, sterile rooms, small research laboratories, and other areas containing specialized equipment |  |  |  |  | $ |  | $ |  | $
|  |  | 3) Modify existing or install new fixture(s) and/or equipment to provide at least one of each type of sink and other specialized equipment (fume hoods, microscopes, emergency eyewash/showers, etc) to be accessible |  |  |  |  | $ |  | $ |  | $
|  |  | 4) Modify existing or install new station to provide at least one of each type of teaching or demonstration station to be accessible |  |  |  |  | $ |  | $ |  | $
|  |  | 5) |  |  |  |  | $ |  | $ |  | $
|  |  | 6) |  |  |  |  | $ |  | $ |  | $
|  | b) | Teaching Facility Cubicles, Study Carrels, Computer Classrooms and Darkrooms
|  |  | 1) Modify existing or install new workstation(s) to provide 5% accessible workstations of each type used in teaching facilities (cubicles, study carrels, computer stations, language labs, medical and dental stations, audio-visual, typing labs, art studios, vocational shops, spray booths, darkrooms, etc.) |  |  |  |  | $ |  | $ |  | $
|  |  | 2) Modify existing or install new station to provide at least one of each type of teaching or demonstration station to be accessible |  |  |  |  | $ |  | $ |  | $
|  |  | 3) Modify existing or install new accessible darkroom door |  |  |  |  | $ |  | $ |  | $
|  |  | 4) |  |  |  |  | $ |  | $ |  | $
|  |  | 5) |  |  |  |  | $ |  | $ |  | $
|  | c) | Libraries
|  |  | 1) Modify existing or install new workstation(s) to provide 5% accessible workstations of each type used in libraries (cubicles, reading/study carrels, computer stations, etc.) |  |  |  |  | $ |  | $ |  | $
|  |  | 2) Modify existing or install new item(s) to provide accessible service/information/checkout counters, book drop, book stacks, shelves, display tables/cabinets, card files, equipment, copy machines, etc. |  |  |  |  | $ |  | $ |  | $
|  |  | 3) |  |  |  |  | $ |  | $ |  | $
|  |  | 4) |  |  |  |  | $ |  | $ |  | $
|  | d) | Playgrounds
|  |  | 1) Modify existing or provide new accessible route to playground and play equipment |  |  |  |  | $ |  | $ |  | $
|  |  | 2) Modify existing or provide new accessible surface under and around playground equipment |  |  |  |  | $ |  | $ |  | $
|  |  | 3) Modify existing or provide new accessible play components |  |  |  |  | $ |  | $ |  | $
|  |  | 4) |  |  |  |  | $ |  | $ |  | $
|  |  | 5) |  |  |  |  | $ |  | $ |  | $
I certify as the architect of record for the project or the appropriate design professional, that the information provided on this form represents all the work shown on the architectural plans for access compliance and includes the minimum work necessary in order for the project to be approved by the DSA.
Architect of record or Design Professional (print name) License Number
Signature Date
To be completed by DSA Only:
Per my review, the following items exceed the minimum amount work necessary for the project to be approved:
The DSA Access Compliance has reviewed this project and acknowledges that the accessibility scope of work as indicated in the list above appears to be contained in the construction documents submitted, and that such scope contains only the minimum work necessary (unless otherwise noted) in order to approve the project by the DSA/Access Compliance.
DSA Reviewer: Date
Note: DSA does not verify accuracy of the listed construction costs related to the indicated scope of work.

## FLS Instructions
DSA Fire and Life Safety
Plan Submittal for Modernization Projects
To be completed for modernization projects only. This form must be completed and submitted to the Division of the State Architect (DSA) if the excessive cost hardship grant for accessibility and fire code requirements pursuant to School Facility Program (SFP) Regulation Section 1859.83(f) is going to be requested for this project. Check the appropriate box(es) in each category for all fire and life safety work shown in the submitted plans and specifications. Identify the location of the work on the plans in the Plan Reference column. Insert the estimated quantity, unit type (i.e. square foot, linear foot, etc.) unit cost and total cost to complete the work. If the work indicated exceeds the minimum work necessary to receive the DSA approval, identify the quantity of the excess work and estimated cost to complete the excess work. Lines have been provided for any additional categories not listed. School districts may still use modernization funds to complete the additional fire and life safety work that is above the minimum work required.
This form will be reviewed and signed by the DSA and will be required to be submitted to the OPSC with the district's complete application for modernization funding if the excessive cost harship grant is requested.

## FLS
DSA Fire and Life Safety
Plan Submittals for Modernization Projects
Project Name:
District:
* NEW CAMPUS = Campus established after 1 July 2002 | [7 empty] | County:
* OLD CAMPUS = Campus established prior to 1 July 2002 | [7 empty] | DSA Number:
Note: Modernizations include additions to existing buildings and complete new buildings on "new" campuses
The following items may require or cause repair, additions or reconfigurations,
additional materials and/or labor, other items may also generate these requirements.
Variations and Scope of Work will determine if additional requirements are needed.
Contact the DSA for verification of required items not defined below.
[7 empty] | Quantity | [5 empty] | Total Cost
[6 empty] | Plan Ref. | Minimum Work | Additional Work | Unit |  | Unit Cost |  | Minimum Work |  | Additional Work
| Part 1 | Possible requirements on any Modernization project:
| 1.01 | Fire Alarm upgrade in area being modernized | [7 empty] | $ |  | $ |  | $
1. If modernization is to a New Campus, then all areas being worked in will be required to
|  | have an automatic detection (Heat and Smoke Detection) fire alarm system. | [7 empty] | $ |  | $ |  | $
|  | a. Requires additional/new fire alarm Battery Backup and Voltage Drop Calculations | [7 empty] | $ |  | $ |  | $
2. If modernization is to an Existing Campus and the construction value is $200,000.00
or more, then all areas being affected by the modernization shall have the automatic
|  | fire alarm system upgrade or reconfiguration. | [7 empty] | $ |  | $ |  | $
|  | a. Requires additional/new fire alarm Battery Backup and Voltage Drop Calculations | [7 empty] | $ |  | $ |  | $
| 1.02 | Fire Alarm upgraded or added to new campus or in area being added (includes new
|  | building(s). | [7 empty] | $ |  | $ |  | $
1. Requires new fire alarm Battery Backup and Voltage Drop Calculations and complete
|  | fire alarm submittal including component package | [7 empty] | $ |  | $ |  | $
| 1.03 | Wall reconfigured or moved - Fire Resistive Construction required | [7 empty] | $ |  | $ |  | $
| 1.04 | Ceiling reconfigured or replaced - Fire Resistive Construction Required | [7 empty] | $ |  | $ |  | $
| 1.05 | New exit doors or systems required | [7 empty] | $ |  | $ |  | $
| 1.06 | New exit hardware required on new doors | [7 empty] | $ |  | $ |  | $
| 1.07 | New exit hardware required on existing doors | [7 empty] | $ |  | $ |  | $
| 1.08 | If campus has Kitchen Hood Fire Suppression System (Type I Commercial Hood) it
|  | must be upgraded to UL 300 compliant system (Wet-chemical system is most common). | [7 empty] | $ |  | $ |  | $
| 1.09 | Change of Occupancy Type may require change of Construction Type. | [7 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
| Part 2 | Automatic Fire Sprinkler System existing or being added: |  |  | Complete Building Additions
to a "New Campus" must have Automatic Fire Sprinkler Systems.
Additions or modernizations to existing buildings with an existing Automatic Fire Sprinkler ,
System, must have Automatic Fire Sprinkler Systems reconfigured to serve new
configurations or additions.
| 2.01 | Civil Plans:
| A | Additional Fire Hydrant(s) needed and locations(s)? (Min. Private main size = 6") | [7 empty] | $ |  | $ |  | $
| B | Additional Fire Department access gates needed? | [7 empty] | $ |  | $ |  | $
| C | Type of hardware and locks on all vehicle and pedestrian gates correct? (See Specs.) | [7 empty] | $ |  | $ |  | $
| D | Type of hardware on gates in Path of Egress have Panic Hardware | [7 empty] | $ |  | $ |  | $
| E | Soils report is provided for Thrust Blocks? | [7 empty] | $ |  | $ |  | $
| F | Correct clearance is provided around hydrants? (Minimum 3 feet around) | [7 empty] | $ |  | $ |  | $
|  | 1. Move Hydrant(s) required. | [7 empty] | $ |  | $ |  | $
| G | Water mains, thrust blocks and hydrants provided and correct size? | [7 empty] | $ |  | $ |  | $
|  | 1. Add mains | [7 empty] | $ |  | $ |  | $
|  | 2. Add hydrants | [7 empty] | $ |  | $ |  | $
|  | 3. Add thrust blocks | [7 empty] | $ |  | $ |  | $
|  | 4. Add Post Indicator Valves (PIV) and Fire Department Connections (FDC) | [7 empty] | $ |  | $ |  | $
|  | 5. Label PIV/FDC'S - indicate building being served. | [7 empty] | $ |  | $ |  | $
| H | New or Existing Underground Piping required to be wrapped (highly corrosive soils) | [7 empty] | $ |  | $ |  | $
| I | New backflow preventer(s) or double detector check valve(s) required? | [7 empty] | $ |  | $ |  | $
| J | Protected walls and openings required? (Distances to Real, Assumed, or New Property Lines.) | [7 empty] | $ |  | $ |  | $
| K | Modernization affects the building fronting directly on a public street or an | [7 empty] | $ |  | $ |  | $
|  | exit discharge not less than 20' in width? | [7 empty] | $ |  | $ |  | $
|  | 1. Provide additional exit discharge width | [7 empty] | $ |  | $ |  | $
|  | 2. Add additional exits/entry ways to building to front on public way or exit discharge | [7 empty] | $ |  | $ |  | $
|  | 3. Add or change door hardware, type and size. | [7 empty] | $ |  | $ |  | $
| L | Side yards compromised with area separation wall, fire wall or party wall. | [7 empty] | $ |  | $ |  | $
1. Not allowed to build in required sideyard - relocate new building or remove obstruction
|  | feature(s) | [7 empty] | $ |  | $ |  | $
|  | 2. Existing building or feature must be removed or relocated | [7 empty] | $ |  | $ |  | $
| 2.02 | Architectural Plans: Occupancy Changes
| A | Occupancy separations or fire barriers for walls, ceilings, floors, openings provided as needed? | [7 empty] | $ |  | $ |  | $
|  | 1. Add new fire resistive construction or different construction type | [7 empty] | $ |  | $ |  | $
|  | 2. Add new or upgrade fire protection for openings | [7 empty] | $ |  | $ |  | $
|  | 3. Add new Occupancy Separations or Fire Barriers Walls, Ceilings, Floors, | [7 empty] | $ |  | $ |  | $
|  | to meet new or reconfigured spaces. | [7 empty] | $ |  | $ |  | $
| B | Adequate exits for types of occupancies and occupant loads? | [7 empty] | $ |  | $ |  | $
|  | 1. Add additional exits and space correctly. | [7 empty] | $ |  | $ |  | $
|  | 2. Add or change door hardware including self-closures as needed. (Panic Hardware?) | [7 empty] | $ |  | $ |  | $
3. Add new Occupancy Separations or Fire Barriers Walls, Ceilings, Floors, to meet new
|  | or reconfigured spaces. | [7 empty] | $ |  | $ |  | $
|  | 4. Exit doors swing in the correct direction? | [7 empty] | $ |  | $ |  | $
|  | 5. Exit Corridor required | [7 empty] | $ |  | $ |  | $
|  | 6. Exit Passageway required | [7 empty] | $ |  | $ |  | $
|  | 7. Exit balcony required | [7 empty] | $ |  | $ |  | $
|  | 8. Exit stairway required | [7 empty] | $ |  | $ |  | $
|  | 9. Change Rating of doors/add fire resistive doors and smoke seals. | [7 empty] | $ |  | $ |  | $
| 2.03 | Means of Egress:
| A | General:
|  | 1. Additional exits required? | [7 empty] | $ |  | $ |  | $
|  | 2. Where more than one exit is required the additional exits are spaced correctly apart? | [7 empty] | $ |  | $ |  | $
|  | 3. Is the required exit widths accommodated by the existing size and number of exit doors? | [7 empty] | $ |  | $ |  | $
|  | 4. Travel distance to exits are within maximum allowable travel distances? | [7 empty] | $ |  | $ |  | $
|  | 5. Exiting through adjoining rooms is within CBC and other requirements? | [7 empty] | $ |  | $ |  | $
| B | Corridors:
|  | 1. Fire resistance rated? (Does modernization affect existing corridor or create new corridor?) | [7 empty] | $ |  | $ |  | $
|  | 2. Penetrations/openings into corridor protected? | [7 empty] | $ |  | $ |  | $
|  | a. Doors with smoke seals and self-closures? | [7 empty] | $ |  | $ |  | $
|  | b. Windows | [7 empty] | $ |  | $ |  | $
|  | c. HVAC | [7 empty] | $ |  | $ |  | $
|  | d. Other | [7 empty] | $ |  | $ |  | $
|  | e. Transoms are removed and infilled as fire-resistive construction. | [7 empty] | $ |  | $ |  | $
|  | f. Doors exiting into corridor 20 minute rated? | [7 empty] | $ |  | $ |  | $
|  | 3. Fire/Smoke dampers in HVAC Ducts: | [7 empty] | $ |  | $ |  | $
|  | a. Required at Occupancy, Fire Partition, Fire Barrier, Smoke Barrier Walls, | [7 empty] | $ |  | $ |  | $
|  | or other rated walls, floors, ceilings or assemblies. | [7 empty] | $ |  | $ |  | $
|  | b. Required at Area Separation, Party, and Fire Walls. | [7 empty] | $ |  | $ |  | $
|  | c. Required wherever a duct penetrates and serves the corridor. | [7 empty] | $ |  | $ |  | $
e. Fire/Smoke Dampers are powered in the open position - Provided dedicated
|  | electrical circuit. | [7 empty] | $ |  | $ |  | $
|  | 4. Exit signs and directional exit signs are adequate and in the correct locations? | [7 empty] | $ |  | $ |  | $
|  | 5. Emergency lighting if serving a room with 100 occupant load or more? | [7 empty] | $ |  | $ |  | $
|  | 6. Interior finishes and flame spread development within allowable limits? | [7 empty] | $ |  | $ |  | $
|  | 7. Doors opening into Corridor must not block more than half of Corridor width. | [7 empty] | $ |  | $ |  | $
|  | a. Doors may be recessed into adjoining room/space with an alcove. | [7 empty] | $ |  | $ |  | $
|  | 8. Rated doors are provide where necessary to provide separate atmospheres for exiting? | [7 empty] | $ |  | $ |  | $
| C | Stairways: Items that may cause repair, additions or reconfigurations
|  | 1. Rise and run correct? | [7 empty] | $ |  | $ |  | $
|  | 2. Landings are correct dimensions and locations? | [7 empty] | $ |  | $ |  | $
|  | 3. Width is calculated with occupant loads served for each floor? | [7 empty] | $ |  | $ |  | $
|  | 4. Emergency lighting provided if required on floor? | [7 empty] | $ |  | $ |  | $
|  | 5. Interior finishes and flame spread development are within allowable?. | [7 empty] | $ |  | $ |  | $
|  | 6. If located on exterior of more than 2 stories, are openings protected as per CBC 1003.3.3.10? | [7 empty] | $ |  |  |  | $
|  | 7. If more than four stories in height, are the stairways identified? | [7 empty] | $ |  | $ |  | $
8. If more than four stories in height, is there a roof access in at least one stairway?
|  | (Is it identified?) | [7 empty] | $ |  | $ |  | $
|  | 9. Enclosed usable space under stairway? | [7 empty] | $ |  | $ |  | $
|  | a. One-Hour Fire-Resistive Construction required, includes floor/ceiling assembly. | [7 empty] | $ |  | $ |  | $
|  | 10.An approved barrier is indicated to prevent entrance to basement from stairwell? | [7 empty] | $ |  | $ |  | $
| D | Horizontal Exit:
|  | 1. The wall serving the horizontal exit is constructed as per a two-hour occupancy separation? | [7 empty] | $ |  | $ |  | $
2. Openings in horizontal exit are protected by one and one-half hour
|  | (90 minute) door assemblies? | [7 empty] | $ |  | $ |  | $
|  | 3. Assemblies are maintained self-closing or automatic closing by smoke detector? Both sides. | [7 empty] | $ |  | $ |  | $
| E | Exit Passageways:
|  | 1. Construction a minimum of one-hour fire-resistive construction (399 feet or less in length)? | [7 empty] | $ |  | $ |  | $
|  | 2. Construction a minimum of two-hour fire-resistive construction (400 feet or more in length)? | [7 empty] | $ |  | $ |  | $
|  | 3. Doors with one and one-half hour fire-protection rating? | [7 empty] | $ |  | $ |  | $
|  | 4. Required width maintained? | [7 empty] | $ |  | $ |  | $
|  | 5. Only normally occupied rooms exit into the Exit Passageway? | [7 empty] | $ |  | $ |  | $
|  | a. Additional exiting may be required. | [7 empty] | $ |  | $ |  | $
|  | b. Existing exiting may be reconfigured. | [7 empty] | $ |  | $ |  | $
| F | Path of Egress (Exterior Exit Path):
1. All requirements from Section 2.01 D plus the required width is maintained to a public way
|  | or to Safe Dispersal Area? | [7 empty] | $ |  | $ |  | $
|  | a. Additional width required. | [7 empty] | $ |  | $ |  | $
|  | b. Additional Safe Dispersal Areas required, with Path of Egress included. | [7 empty] | $ |  | $ |  | $
|  | c. Panic Hardware provided on all gates in Path of Egress. | [7 empty] | $ |  | $ |  | $
| G | Ramps:
|  | 1. Width correct? | [7 empty] | $ |  | $ |  | $
|  | 2. Slope correct? | [7 empty] | $ |  | $ |  | $
|  | 3. Landings correct? | [7 empty] | $ |  | $ |  | $
|  | 4. Handrails correct? | [7 empty] | $ |  | $ |  | $
|  | 5. Guardrails required and built correctly? | [7 empty] | $ |  | $ |  | $
| H | Exit Court:
|  | 1. Exit width Minimum of 44" ? | [7 empty] | $ |  | $ |  | $
|  | 2. If serving 10 or more and less than 10' wide: | [7 empty] | $ |  | $ |  | $
|  | a. Court walls protected up to 10' high with a minimum of 1 hour fire-resistive construction? | [7 empty] | $ |  | $ |  | $
|  | b. Openings in the court walls protected by 3/4-hour fire-protection? | [7 empty] | $ |  | $ |  | $
|  | c. Exit way, walls and ceiling (if so configured) 1-hour rated. | [7 empty] | $ |  | $ |  | $
| 2.04 | Roof:
| A | Rating is correct for new roof or repair area? | [7 empty] | $ |  | $ |  | $
| B | Area Separation parapet is constructed correctly? (Min. 30" high.) | [7 empty] | $ |  | $ |  | $
| C | Openings near parapet are correct distances away and correct rating if needed? | [7 empty] | $ |  | $ |  | $
|  | 1. Move openings (vents, drains, etc) | [7 empty] | $ |  | $ |  | $
| D | Roof overhang is not encroaching within unallowable area to property line or side yards? | [7 empty] | $ |  | $ |  | $
|  | 1. No more than 1/3 the distance to the real or assumed property lines. | [7 empty] | $ |  | $ |  | $
|  | 2. May not encroach more than 12 inches where opening protection is required | [7 empty] | $ |  | $ |  | $
|  | (must be 1-hour rated or Heavy Timber construction if within opening protection requirement). | [7 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
| Part 3 | Grandstand/Bleachers:
| A | Row spacing correct? | [7 empty] | $ |  | $ |  | $
| B | Rise between rows correct? | [7 empty] | $ |  | $ |  | $
| C | Aisles provided as per CBC 1008.5.4.1 & 1008.5.4.3? | [7 empty] | $ |  | $ |  | $
| D | Dead end aisles with backrests does not exceed 20 feet. | [7 empty] | $ |  | $ |  | $
| E | Cross aisles required where rows exceed 16 in bleachers without backrests
|  | (first row at grade level not counted in row calculation). | [7 empty] | $ |  | $ |  | $
| F | A cross aisle of a minimum of 54" is provided? | [7 empty] | $ |  | $ |  | $
| G | Height of bleachers is within the allowable? | [7 empty] | $ |  | $ |  | $
| H | Construction type is within the allowable? | [7 empty] | $ |  | $ |  | $
| I | Storage or other usable space allowed under seats? (Min. 1-hour rated construction.) | [7 empty] | $ |  | $ |  | $
| J | Roof height a minimum of 15' above highest aisle or aisle access way? CBC 1008.7 | [7 empty] | $ |  | $ |  | $
| K | Exits within maximum travel distance? | [7 empty] | $ |  | $ |  | $
| L | Emergency lighting provided? | [7 empty] | $ |  | $ |  | $
| M | Safe dispersal areas provided as required? | [7 empty] | $ |  | $ |  | $
| N | Adequate number and width of exits provided? | [7 empty] | $ |  | $ |  | $
| O | Correct hardware on exits and exit gates? (Sliding / oversized gates allowed if constantly manned
|  | during events or occupied) | [7 empty] | $ |  | $ |  | $
| P | Emergency notification system in place as required? (Fire Alarm) | [7 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
| Part 4 | Legitimate Stage:
| 4.01 | Basic Construction:
| A | Within allowable area for type of construction? CBC 405.3 | [7 empty] | $ |  | $ |  | $
| B | Within allowable height? (50' or more) | [7 empty] | $ |  | $ |  | $
| C | Occupancy separation provided as required? (Procinium curtain / wall.) | [7 empty] | $ |  | $ |  | $
| D | Adequate exits and exit widths? | [7 empty] | $ |  | $ |  | $
| E | Location of exits as per CBC? | [7 empty] | $ |  | $ |  | $
| G | If in excess of 1,000 square feet or stage height is 50 feet or greater, a smoke
|  | removal system is in place? | [7 empty] | $ |  | $ |  | $
| H | Two or more roof vents are provided near the center of the stage area? | [7 empty] | $ |  | $ |  | $
|  | 1. Manual operating system provided. | [7 empty] | $ |  | $ |  | $
| I | Rigging is noted as deferred approval? | [7 empty] | $ |  | $ |  | $
| J | Fire Curtain installed? | [7 empty] | $ |  | $ |  | $
| K | Audience curtain flame retardant? | [7 empty] | $ |  | $ |  | $
|  | 1. All Curtains have State Fire Marshal seal sewn into hem of fabric? | [7 empty] | $ |  | $ |  | $
| 4.02 | Misc. Requirements:
| A | A proscenium wall is provided? | [7 empty] | $ |  | $ |  | $
| B | Gridirons, fly galleries and pinrails are as per code? | [7 empty] | $ |  | $ |  | $
| C | Back drops and curtain materials are flame-retardant with CSFM seal? | [7 empty] | $ |  | $ |  | $
|  | 1. Back drops and curtain materials do not obstruct exits. | [7 empty] | $ |  | $ |  | $
|  | 2. Back drops and curtain materials do not obstruct fire alarm appliances (visual and/or audible). | [7 empty] | $ |  | $ |  | $
| D | If in excess of 1,000 square feet or stage height is greater than 50 feet, an automatic | [7 empty] | $ |  | $ |  | $
|  | sprinkler system is required. | [7 empty] | $ |  | $ |  | $
| E | A Class II Standpipe is provided on each side of the stage if audience is + 1,000,. | [7 empty] | $ |  | $ |  | $
| F | Portable fire extinguishers are provided on each side of the stage. | [7 empty] | $ |  | $ |  | $
| G | Exiting from stage is adequate? | [7 empty] | $ |  | $ |  | $
| H | If storage space is provided beneath the stage, is it constructed correctly? (Min. 1-hour or AFSS) | [7 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
| Part 5 | Conversion to make Multi-Purpose Room
| 5.01 | General Construction Requirements:
| A | One-hour Occupancy separation walls provided where required? | [7 empty] | $ |  | $ |  | $
|  | 1. Between Cooking Kitchen/Multi-Purpose Room ( | [7 empty] | $ |  | $ |  | $
|  | 2. See CBC Table 3-B for other Occupancy Separation requirements. | [7 empty] | $ |  | $ |  | $
|  | 3. Warming Kitchens/Multi-Purpose Room 1-hour separation not required | [7 empty] | $ |  | $ |  | $
| B | Rated assemblies provided in openings to occupancy separations? | [7 empty] | $ |  | $ |  | $
| C | Calculated occupant load includes bleacher seating? | [7 empty] | $ |  | $ |  | $
| D | Adequate exits and exiting width? | [7 empty] | $ |  | $ |  | $
| E | Emergency lighting is provided to public way? | [7 empty] | $ |  | $ |  | $
| F | Exit and exit directional signs are provided and have back-up emergency power supply? | [7 empty] | $ |  | $ |  | $
| G | Interior finish is within allowable flame spread? | [7 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
| 5.02 | Misc. Requirements:
| A | A maximum occupant load sign is provided and in correct location? | [7 empty] | $ |  | $ |  | $
|  | 1. Required in every area with an Occupant Load of 50 or more regardless of classification. | [7 empty] | $ |  | $ |  | $
| B | Fire extinguishers are provided in correct rating and locations? | [7 empty] | $ |  | $ |  | $
|  | 1. One in each classroom. | [7 empty] | $ |  | $ |  | $
|  | 2. One on each side of a stage or platform. | [7 empty] | $ |  | $ |  | $
|  | 3. Type 4A;40B:C required for: | [7 empty] | $ |  | $ |  | $
|  | a. Science Laboratories | [7 empty] | $ |  | $ |  | $
|  | b. Wood, Metal, Auto Shops or other areas with higher hazards. | [7 empty] | $ |  | $ |  | $
|  | 4. Type "K" required for Cooking Kitchens | [7 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
| Part 6 | Upgrading Hood to include UL300 Fire Suppression System:
| 6.01 | Hood Fire Suppression Systems
| A | Verify existing hood system is a Class I system and has a one-hour duct enclosure. | [7 empty] | $ |  | $ |  | $
| B | Verify the vent to the outside is in acceptable location. | [7 empty] | $ |  | $ |  | $
| C | Verify that cleanouts are provided along the length of the duct. | [7 empty] | $ |  | $ |  | $
| D | Convert Dry-Chemical System to Wet-Chemical System. | [7 empty] | $ |  | $ |  | $
| 6.02 | UL 300 Hood Fire Suppression System
| A | Verify that the system is a listed UL 300 system. | [7 empty] | $ |  | $ |  | $
| B | Check the drawings and Specs for: | [7 empty] | $ |  | $ |  | $
|  | 1. Location of piping and discharge nozzles | [7 empty] | $ |  | $ |  | $
|  | 2. Type and number of nozzles. | [7 empty] | $ |  | $ |  | $
|  | 3. Mounting height from the hazard. | [7 empty] | $ |  | $ |  | $
|  | 4. Direction of flow from nozzle. | [7 empty] | $ |  | $ |  | $
|  | 5. Verify a minim of 6 inches overhang on all sides of the hazards is provided. | [7 empty] | $ |  | $ |  | $
|  | 6. Verify correct size,& type of all pipe lengths and fittings. | [7 empty] | $ |  | $ |  | $
|  | 7. Verify adequate propellant is provided. | [7 empty] | $ |  | $ |  | $
|  | 8. Verify adequate extinguishing agent is provided. | [7 empty] | $ |  | $ |  | $
|  | 9. Verify flow point numbers do not exceed allowable for pipe size, extinguishment, & equipment. | [7 empty] | $ |  | $ |  | $
|  | 10. Verify protective caps are provided for the discharge nozzles. | [7 empty] | $ |  | $ |  | $
11. Verify that the manual pull alarm is located within 30 feet of cooking equipment
|  | and connected to main alarm panel and sound | [7 empty] | $ |  | $ |  | $
|  | an alarm throughout and to the Central Station if applicable. | [7 empty] | $ |  | $ |  | $
| C | Check floor plan of kitchen: | [7 empty] | $ |  | $ |  | $
|  | 1. Verify location of manual activation device is in correct location and height in path of egress. | [7 empty] | $ |  | $ |  | $
|  | 2. Verify gas/electric shut off valve when system is activated. | [7 empty] | $ |  | $ |  | $
|  | 3. Verify that a Type "K" portable fire extinguisher is provided and located correctly. (Within 30') | [7 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
| Part 7 | Portable Buildings:
| 7.01 | Temporary (3 years or less):
| A | May be on a temporary or permanent foundation. | [7 empty] | $ |  | $ |  | $
| B | Manual Pull Fire Alarm and two way communication if 20' or more from other buildings
|  | or in a cluster. | [7 empty] | $ |  | $ |  | $
|  | 1. Automatic Detection System may be installed to match existing system. | [7 empty] | $ |  | $ |  | $
|  | 2. May be a "Stand Alone" (Manual or Fully Automatic Detection) system. | [7 empty] | $ |  | $ |  | $
| C | Need to go to State Allocation Board (SAB) via OPSC after 3 years for an extension
|  | of up to an additional three years. | [7 empty] | $ |  | $ |  | $
1. If extension is granted, portable building(s) has/have no other requirements until
|  | extension expires. | [7 empty] | $ |  | $ |  | $
2. If extension is denied or extension expires:
a. Portable Building(s) must be removed from site (moving the portable building
|  |  | to another location on the same site in not allowed) | [6 empty] | $ |  | $ |  | $
i. If the Portable Building is moved to a different campus then a new
|  |  |  | "Temporary" (3 years or less) status is initiated. | [5 empty] | $ |  | $ |  | $
b. If on an "Existing" campus Automatic Detection (Heat and Smoke Detection)
for Fire Alarm is Required to be installed/retrofitted.
|  |  | c. If on an "New" campus, Automatic Detection (Heat and Smoke Detection) and an | [6 empty] | $ |  | $ |  | $
|  |  | Automatic Fire Sprinkler System is required to be installed/retrofitted. | [6 empty] | $ |  | $ |  | $
| 7.02 | Permanent (3 years or more):
| A | If on a "New" campus, Automatic Fire sprinkler system and Automatic Fire Detection
|  | Fire Alarm system installation is required. | [7 empty] | $ |  | $ |  | $
| B | If on an "Existing" campus, Automatic Fire Detection system
|  | Fire Alarm system installation is required. | [7 empty] | $ |  | $ |  | $
1. If more than 25 feet from other buildings, two way communication, permanently mounted,
|  | must be provided with the main administration office. | [7 empty] | $ |  | $ |  | $
2. If less than 25 feet from other buildings, the system must be incorporated into the existing Fire
|  | Alarm System. | [7 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
[10 empty] | $ |  | $ |  | $
I certify as the architect of record for the project or the appropriate design professional, that the information provided on this form represents all the work shown on the architectural plans for fire and life safety and includes the minimum work necessary in order for the project to be approved by the DSA.
Architect of record or Design Professional (print name) License Number
Signature Date
To be completed by DSA Only:
Per my review, the following items exceed the minimum amount work necessary for the project to be approved:
The DSA Fire and Life Safety has reviewed this project and acknowledges that the fire and life safety scope of work as indicated in the list above appears to be contained in the construction documents submitted, and that such scope contains only the minimum work necessary (unless otherwise noted) in order to approve the project by the DSA/Fire and Life Safety.
DSA Reviewer: Date
Note: DSA does not verify accuracy of the listed construction costs related to the indicated scope of work.