# Fixtures and Leak Repair Grant Guidelines

# Fixtures

Fixtures are highest priority in grant scoring criteria

- The following are grant eligible:

  - Replacement of toilets using more than 1.6 gallons per flush

  - Installation of waterless urinals and low flow urinals

  - Installation Installing motion sensor-activated faucets, water efficient faucets and faucet aerators

  - Replacement of low flow showerheads with a flow rate greater than 1.8 gallons per minute

  - Installation of shut off valves.

  - Replacement of pre-rinse spray valves flowing at more than 1.6 gallons per minute

  - Installation of other water saving fixtures on a case-by-case basis.

# Leak Detection and Repair

Leak detection and repair are highest priority in grant scoring criteria

- All leak detection apparatus is eligible.

- All fixture leak repair work is eligible such as leaking toilets and dripping faucets.

- Other leak repair work is eligible on a case-by-case basis.