| Facility Type | Owners’ ZNE Responsibilities | Tenant’s ZNE Role |
| --- | --- | --- |
| - State Owned Existing Building | - Assess energy efficiency (Source EUI) and compare with ZNE target EUI to determine needed increased efficiency needed to meet targets. - Utilize Energy Star Portfolio Manager for data - Can utilize ZNE calculator - May be able to utilize department roadmap facility data sheets - Reference Energy Efficiency Targets Matrix - Determine which buildings in portfolio to pursue and achieve ZNE by 2025 in 50% of department building area. - Some may already meet efficiency target - Determine energy efficiency projects/efforts to improve efficiency to reach targets. - Utilize alternative financing if operation budgets are not available - (ESCo’s, GS $Mart, OBF, etc.) - The DGS Energy Efficiency Retrofit Program can help departments identify and achieve energy efficiency reductions on existing buildings. - Evaluate facility rooftops and sites for on-site renewable energy generation capacity. - Procure if possible to install as much as possible on-site, or through Power Purchase Agreement (PPA). - Consider other options for balance of renewable energy. - If over-generation is needed to offset gas or other energy use, consider EV charging as option to use excess generation, since it does not count toward ZNE loads. | - Procure energy-efficient office equipment to reduce plug loads. - Operate energy-saving data controls to automatically shut down computers and monitors when not in use. - Conserve energy by following thermostat set points, turning out lights when not in use, closing blinds in summer to reduce solar gain, etc. - Comply with Standard Operating Efficiency Procedures (SAM Section 1805.3) as applicable and within control of tenant. |

| Facility Type | Owners’ ZNE Responsibilities | Tenant’s ZNE Role |
| --- | --- | --- |
| - New or major renovation building beginning design | - DGS will conduct these tasks for departments without building authority and working under DGS authority. Owners with their own authority are responsible for the following efforts. - ZNE specialist to be integral part of project A&E team from beginning. - Verify project exceeding T-24 by 15% min., or higher if cost effective - Evaluate and consider applicable energy-saving measures in design (optimal insulation of building envelope and efficient glazing & roofing, efficient HVAC systems, natural ventilation & daylight, monitoring-based commissioning, etc.) - Evaluate site and building orientation to optimize on-site solar generation, including massing and landscape design. - Assess capacity of building and/or site to generate on-site renewable offsetting facility energy load. - Include ZEV charging, as appropriate, to potentially use excess energy generation needed to offset natural gas use. - Consider option to eliminate natural gas use. - Ensure that electrical conduits and panel capacity is installed to likely future points of renewables, regardless if not purchased or installed now. | - Consider utilizing energy saving office structures and layouts that lead to improved efficiency (hoteling, shared/open office layout, etc.) - Consider ultra-low energy use office equipment (laptops, tablets, virtual servers, eliminating personal printers, etc.) - Include ZNE in facility requests, budget packages and long-term facility planning. |

| Facility Type | Owners’ ZNE Responsibilities | Tenant’s ZNE Role |
| --- | --- | --- |
| - New or major renovation building already in design or construction | - DGS will conduct these tasks for departments without building authority and working under DGS authority. Owners with their own authority are responsible for the following efforts. - Verify building efficiency is exceeding T-24 by 15% or more. If possible, and cost effective, increase efficiency through design even further. - Conduct renewable energy resource analysis of building and site to see what solar access and/or wind resources may be available to site. - If renewable energy systems are not available to site, consider partnering with neighboring property owner or community solar program. - To the extent possible, design the roof structure and/or parking areas for the eventual installation of renewable energy system. - Design the mechanical/electrical rooms to include space for future installation of inverters and additional electrical/plumbing equipment. - Design and install conduits/chases for eventual wiring/plumbing required for connecting renewable energy systems to mechanical/electrical rooms. | - Consider & implement as many energy efficiency measures and practices as practical from new and existing building lists above. |
| - Build-to-suit lease beginning design | - Include in site evaluation and lease agreements the same criteria as for new or major renovation projects beginning design. | Consider & implement as many energy efficiency measures and practices as practical from new and existing building lists above. |
| - Build-to-suit lease already in design or construction | - Include in site evaluation and lease agreements the same criteria as new or major renovation building already in design or construction to the extent possible. | Consider & implement as many energy efficiency measures and practices as practical from new and existing building lists above. |